A graph showing the amount of water usage

Description automatically generated

2023 – Purple

2022 – Red 2021 – Yellow

2020 – Blue 2019 – Green

October 2023

A graph of a number of people

Description automatically generated with medium confidence

**Water Department Information for October**

* Our overall water consumption is higher than compared to past years.
* Aspen Grove wet-well levels are averaging 7.74 feet for October 2023 which is down from last month. This time last year for October 2022, our average was 5.70 feet. The average is 2 feet higher this year compared to last.
* Unaccounted water
  + Upper Pressure Zone
    - We will have more accurate number next month. We had the source meters calibrated.
  + Lower/Stewart Zone
    - Our team has been replacing meters as we get them in. Doing a fantastic job! We are starting to put in cellular endpoints as we get them.
* Stewart Spring rehab is 100 percent complete.
* Infiltration Sampling has begun. Once a month for 6 months
* Endress Hauser did a verification/calibration check on the meters at the Stewart Tank and Conifer Tank
* Sundance master meters are installed.

**Wastewater Department Information for October**

* We have three labs for October. BOD was over limits on one of the labs. Rest was within limits.
* The Plant upgrade is moving forward we are at the 60% design should be done in the next week.
* Working with Sundance to get the drain field radio back up and running.
* Plant is running great still operating on one side.

A graph of a graph

Description automatically generated with medium confidence

|  |  |
| --- | --- |
| AVERAGE DAILY FLOW (GPD) | 24,641 |
| HIGHEST DAILY FLOW (GPD) | 32,206 |

A graph of a graph

Description automatically generated with medium confidence