2023 – Purple

2022 – Red    2021 – Yellow

2020 – Blue   2019 – Green

October 2023

Water Department Information for October

- Our overall water consumption is higher than compared to past years.

- Aspen Grove wet-well levels are averaging 7.74 feet for October 2023 which is down from last month. This time last year for October 2022, our average was 5.70 feet. The average is 2 feet higher this year compared to last.

- Unaccounted water

  - Upper Pressure Zone

    - We will have more accurate number next month. We had the source meters calibrated.

  - Lower/Stewart Zone

    - Our team has been replacing meters as we get them in. Doing a fantastic job! We are starting to put in cellular endpoints as we get them.

- Stewart Spring rehab is 100 percent complete.

- Infiltration Sampling has begun. Once a month for 6 months

- Endress Hauser did a verification/calibration check on the meters at the Stewart Tank and Conifer Tank

- Sundance master meters are installed.

Wastewater Department Information for October

- We have three labs for October. BOD was over limits on one of the labs. Rest was within limits.

- The Plant upgrade is moving forward we are at the 60% design should be done in the next week.

- Working with Sundance to get the drain field radio back up and running.

- Plant is running great still operating on one side.

| AVERAGE DAILY FLOW (GPD) | 24,641 |
| --- | --- |
| HIGHEST DAILY FLOW (GPD) | 32,206 |