2024 – Light Blue     2023 – Purple

2022 – Red    2021 – Yellow

2020 – Blue   2019 – Green

January 2024

C

F

S

C

F

S

Water Department Information for January

- Our overall water consumption is higher compared to this time last year.

- Aspen Grove wet-well levels are averaging 5.9 feet for January 2024 which is a half a foot down from last month. This time last year for January 2023, our average was 4.6 feet. The average is higher this year compared to last.

- Stewart Spring is averaging 56.26 gpm for January 2024.This time last year it was averaging 0 gpm for January 2023.

- Stewart spring overflow is running just above 32 gpm for the month of January

- Unaccounted water

  - Upper Pressure Zone

  - Lower/Stewart Zone

- We have 100 meters on order.

- Infiltration Sampling has begun. Once a month for 6 months

Wastewater Department Information for January

- We have two labs for January. BOD and TSS were out of limits on the 9th of January. Rest were within limits.

- The Plant upgrade is moving forward.

- Working with Sundance to get the drain field radio back up and running.

Grease traps cleaned on Dec. 27th of 2023 and on Jan 28th of 2024.

| AVERAGE DAILY FLOW (GPD) | 29,888 |
| --- | --- |
| HIGHEST DAILY FLOW (GPD) | 37,937 |