# REQUEST FOR PROPOSALS REROOFING SERVICES

DUE: Thursday, March 21, 2024, at 2 pm Mountain Standard Time

TITLE:  Reroof for the City Senior Center

PROJECT MANAGER: Tyrel Stark

Sealed proposals are here by solicited and will be received at the City Recorder’s Office located at 505 East 2600 North, North Ogden, Utah between the hours of 8 am and 5pm, Monday through Thursday, and 8am-1 pm on Friday, but no later than 2 pm on Thursday, March 21, 2024, for the requirements specified herein:

# Reroof Specifications

Approximately 148 squares of shingles to be replaced. The contractor is responsible for verifying.

Recover existing shingles.

Install new wide-face metal (not Aluminum) drip edge Six nails required per shingle.

High profile 8” rapid ridge

- Architectural H-30	$	Including all items above

- Architectural H-50	$	Including all items above

Prior to submitting a proposal, each contractor shall examine and thoroughly familiarize themselves with all the existing conditions, including all applicable laws, ordinances, rules, and regulations that may affect the work.

Contractors shall visit the site and ascertain by any reasonable means all conditions that might affect the work.

# Submittal

The original and one (1) copy of this entire request for proposal document package shall be signed and submitted completely including the original and one (1) copy of the proposal data or attachments offered. Original shall be noted or stamped “Original.”

# ALL PROPOSALS MUST BE SUBMITTED TO THE CITY RECORDER’S OFFICE NO LATER THAN 2 pm, March 21, 2024.