Request for Bids (RFB) 
Soliciting Body: Salina City
Project Title: Salina City Park Improvements
Project Funding: May be funded in part through HUD Community Services Block (CDBG) or other federal funding
Anticipated Project Start Date: October 2025 
Due Date: December 12th, 2024: 1:00 PM MST. 


Overview
[bookmark: _heading=h.30j0zll]Salina City is seeking Competitive Sealed Bids (CSB) for a procurement of upgrades and improvements to the Salina City Park. Salina City will select one (1) Supplier to provide equipment, materials and labor for the project as outlined in this RFB.

Project requirements
Salina City is seeking to make upgrades and improvements to the Salina City Park, located at 329 West 400 North Salina UT. 84654. This project will include all activities to purchase and install items below or similar items that could also be used to meet ADA compliance.
· Engineering services for design and project management.
· Park lighting, including lighting around the pickleball courts and lighting in the pavilion.
· 3 shaded benches - These will be roughly 6 feet in length and double sided and adjacent to the pickleball courts.
· 2 new bathrooms - Construction of 2 new bathrooms approximately 150 square feet
· 1 digital sign - This includes the installation of a new digital sign approximately 4 feet wide and 3 feet high. 
· 2 new pickleball courts - Construction of 2 new pickleball courts to be installed under a 2,000 sq. ft. bowery, which should be included in the bids. Pickleball Court bids should include sports flooring, nets and poles. Each pickleball court should be at least 800 sq. ft. in size.
· 20 picnic tables - These will be 8-foot rectangular picnic tables.
· 6 sets of bleachers-Each bleacher set should have 4 ros and be 21’ across that seats 56. Bleachers will have 2” x 10” aluminum planks.
Note: if adding ADA elements within the project, specify within the scope the ADA request such as specifying the bathroom will be ADA accessible.
Quality of system components, quality of design, handicapped accessibility, inclusiveness, cost, appropriateness to location and target demographic must be taken into consideration in the design of the proposed system. Salina City requires contractors to provide playground equipment that meets or exceeds all current federal standards, including ADA requirements. All installed parts must be of a commercial grade and quality. No residential grade equipment will be accepted.
The bid submitted needs to list the designed components being proposed for the park improvements and updates, as well as a time frame for completion once notified of award. Bidders should include structure and component model numbers, materials, color choices and recommendations, estimated lifetime of equipment including manufacturers’ warranty, and any other relevant descriptive information. Bidders are encouraged to take accessibility into account in their designs.

Preferred Project Options 
· All equipment elements must demonstrate the highest level of durability in materials and finishes selected in consideration of health and safety.
· "Green" construction practices and materials are highly desired.
· Structures and elements should be unique to the parks so as not to duplicate others in the greater area.

Scope of Work and Terms and Conditions
The proposed Scope of Work has been attached to this Request for Bids (RFB). Bidders should review the Scope of Work before submitting their responses to the Application requirements to ensure the Bidder’s capability to meet all project and funding requirements. Additional items that may be out for bid that are not included in this scope of work are NOT considered part of this project, but rather may be noted for information purposes.
The selected Bidder for this project is required to comply with the attached Terms and Conditions, attached Scope of work, and requirements of the CDBG funding source, including but are not limited to, compliance with HUD 4010 Federal Labor Standards, Section 3 of the Housing and Development Act of 1968, Build America, Buy America (BABA), and Department of Labor Davis-Bacon Wage Rates.

Post Award Document Requirements The following documents may be required after notification of the bid award, prior to the execution of the agreement:
1. Worker’s Compensation Insurance
2. Comprehensive General Liability Insurance
3. Transportation Insurance
4. Business Licensing
5. Performance and Payment Bonds

Attachments 
Attachment A:  HUD 4010 Federal Labor Standards
Attachment B:  Section 3 of the Housing and Development Act of 1968
Attachment C:  Build America, Buy America (BABA)
Attachment D: Department of Labor Davis-Bacon Wage Rates

Contacts  

Salina City
Attn: Ashlee Larsen
90 W Main
Salina City, Utah 84654
435-529-7304
ashlee@salinacity.org

Submission Instructions
1. Two hard copies of bids must be submitted to City Clerk, Ashlee Larsen at Salina City Clerk's Office by December 12th, 2024: 1:00 PM MST, at the address listed above.
2. Submitted bids must be addressed as follows:
Bid for Salina City Park Project
Attn: Salina City Ashlee Larsen
3. Outline the bid format. Two hard copies of bids shall be submitted in the following format:
a. Project Name
b. Supplier Name
c. Certification that Bidder will meet CDBG Guidelines, including previous experience of the Supplier
d. Designs showing all safety precautions necessary for this project
e. Warranty and insurance capabilities
f. Certification of understanding and compliance with the Davis-Bacon Act and non-discrimination requirements outlined in the Terms and Conditions
g. Project Cost of Proposal and Project Timeline
h. Any additional information related to scoring criteria
i. Minimum of two references of installations similar to this project. References shall include the name of the project, location, contact information including phone number, and general cost of installation.
j. Certified Check, Cashier’s Check, or Bid Bond

Additional Submission Information
1. Bidder must bear the cost of preparing and submitting a bid for this RFB. By submitting a bid for this project, Bidders acknowledge Salina City is exempt from any liability for costs incurred by unsuccessful bidders in the preparation of a competitive sealed bid.
2. Bids must include a bid price for each design presented in the proposal.
a. Bids must list the cost of equipment, materials, and labor separately.
b. Prices shall include freight on board (FOB), freight paid by the Bidder to the job site.
3. Bid amounts shall be guaranteed for not less than sixty (60) days after the Bids submittal deadline date.
4. Failure to comply with any part of the RFB may result in disqualification of the bid.
5. Late bids will not be accepted.
6. Bids that do not include all required documentation may not be considered complete and may be denied.
7. Salina City may request the correction of immaterial omissions during review. Bidders must respond within the time period provided in the request.
8. By submitting an application, the Bidder acknowledges and agrees that the requirements, Scope of Work, and the evaluation process outlined in this RFB are understood, fair, equitable, and are not unduly restrictive. Any exceptions to the content of this RFB must be addressed prior to the application deadline. The Bidder further acknowledges they have read the RFB, including Terms and Conditions and all attached or referenced documents.
9. Salina City is an Equal Employment Opportunity Entity. Qualified women, veterans, minority, and handicapped individuals are strongly encouraged to submit bids.

Bonding
[bookmark: _heading=h.1fob9te]Each Bid must be accompanied by a Certified Check, Cashier’s Check, or Bid Bond payable to Salina City in an amount not less than ten percent (10%) of the total bid amount. The successful Supplier shall furnish approved Performance and Payment Bonds, each in the amount of one hundred percent (100%) of the bid amount. 

Addenda
Addenda shall be published within a reasonable time (at least 5 days prior to the application due date), to allow Bidders to consider the addenda when preparing applications. Minor addenda and urgent circumstances may require a shorter period of time. 

Evaluation and Award
1. Bids will be evaluated on a competitive basis, with award being made to the lowest qualified Bidder(s) whose CSB is determined to best meet the objectives of Salina City], taking into consideration all factors set forth in this RFB and outlined in the attached Evaluation Score Sheet.
2. Following the submission of all CSB submittals, a Selection Meeting, made up of the Council and the Mayor will be held at December 12th, 2024: 1:00 PM MST, in the Salina City Hall located at 90 W Main Salina City, Utah 84654. This meeting will be open to the public. All sealed bids shall be opened by the Mayor or designated representative in the above listed open public meeting, before one or more witnesses, at the time and place indicated in this bid packet.
3. This RFB is conducted in accordance with Utah State Procurement Code and Rule. Salina City will negotiate an agreement with the successful Bidder based on fair and reasonable compensation for the scope of work and services proposed.
4. Tied bids may be resolved using any reasonable criteria and at the sole discretion of Salina City.
5. Salina City may reject any and all responses deemed unqualified, unsatisfactory or inappropriate at the sole discretion of Salina City.
6. Salina City reserves the right to reject any and all bids or withdraw this offer at any time.
7. Bidders must be available to answer clarifying questions during the grant review period.
8. Bidders must be available for presentations upon request.
9. Bids will be evaluated by a selection committee based on the following criteria:
a. Bids will be evaluated by a selection committee based on the following criteria & points:
i. CSB Proposed Cost & Timeline (20 Points)
ii. CSB addresses presented scope of work (20 Points)
iii. CSB Statement to meet CDBG guidelines (20 Points)
iv. CSB Safety precautions, warrantee and insurance capabilities (20 Points)
v. Overall Quality of CSB and references (20 Points)
vi. Maximum Points: 100
b. 
10. Organizations previously receiving funding from Salina City should be in good standing to be considered under this RFB.
11. Submitted CSBs will be open to public inspection under the guidelines of the Government Records Access and Management Act (GRAMA). The entire application will be open unless bidder requests in writing that trade secrets/proprietary data be protected.  A GRAMA Claim of Business Confidentiality must be submitted prior to the submission deadline.

SUBMISSION CHECKLISTS
			
	Pre-Application Checklist

	
· 
	Unique Entity Identifier (UEI) number and Registration with SAM.gov (status must be active prior to receiving an executed agreement)

	· 
	Obtain or prepare project bond for CSB




	Application Checklist

	· 
	Proposed description, photos, and plans addressing RFB requirements

	· 
	Designs showing safety precautions necessary for the project

	
· 

	Compliance statement meeting CSBG Guidelines, including prior Bidder experience

	· 
	Warranty and Insurance information and documentation 

	· 
	Compliance statement for applicable regulations, including Davis-Bacon and non-discrimination

	· 
	Project Timeline

	· 
	Cost Proposal

	· 
	Minimum of two references of comparable installations 

	· 
	Certified Check, Cashier’s Check, or Bid Bond for an amount not less than 10% of the total bid amount




Appendix A-D:
Please see the attached documentation:
A. Davis Bacon Wages
B. HUD Form 4010
C. Section 3 Construction Clause
D. BABA Materials - Clause and & Acknowledgement Page
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