## Sheet1
Appendix A - Specifications
# | Property: | W.Distr: | Type: | Depth: | Size: | Cage: | M.L. Drain | S&W | Iso. Vlv. | Mstr. Vlv. and Wire | Hydromtr. | Flow Snsr. and Wire | Address:
1 | Accord Center | G.H. | DC | 4.5' | 3" | X | X |  | X | X |  | X | 5353 W. 3100 S.
2 | Bangerter Sign | G.H. | DC |  | 1.5" | X |  | X |  | X |  | X | 4000 W. Lake Park Blvd. (2400 S.)
3 | Bridal Farms Park (North) | G.H. | DC |  | 1.5" | X |  | X |  | X |  | X | 6687 W. Bridal Farms Rd. (3940 S.)
4 | Bridal Farms Park (South) | G.H. | DC |  | 1" | X |  | X |  |  |  |  | 6687 W. Bridal Farms Rd. (3940 S.)
5 | Centennial Park (East) | G.H. | DC | 6' | 6" | X | X |  | X |  |  |  | 5405 W. 3100 S.
6 | Centennial Park (West) | G.H. | DC | 8' | 6" | X | X |  | X |  |  |  | 5405 W. 3100 S.
7 | City Hall | G.H. | DC |  | 2" | X |  | X |  | X |  | X | 3617 S. 2700 W.
8 | City Park | G.H. | DC | 5.5' | 4" | X | X |  | X |  |  |  | 3405 S. 4400 W.
9 | City Park | G.H. | DC | 5.5' | 4" | X | X |  | X |  |  |  | 4585 W. 3500 S.
10 | Country Meadows Park | G.H. | DC | 5' | 4" | X | X |  | X |  | X |  | 4155 West 3980 South
11 | Fassio Farms Park | G.H. | DC | 6' | 3" | X | X |  | X | X |  | X | 5200 W. Rancho Vista Ln. (3720 S.)
12 | Fire Station #74 | G.H. | DC |  | 1.5" | X |  | X |  |  |  |  | 5545 W. 3100 S.
13 | Hillsdale Park | G.H. | DC |  | 4" | X | X |  | X |  | X |  | 3170 S. Tess Ave.
14 | Hunter Ridge Park | G.H. | DC |  | 2" | X |  | X |  | X |  | X | 5694 W. Hunter Hollow Cr.(4383 S.)
15 | Ironwood Park | G.H. | DC | 6' | 2" | X |  | X |  | X |  | X | 4563 S. Early Duke St. (5080 W.)
16 | Jordan River Trail (JRT) | G.H. | DC |  | 3" |  | X |  | X | X |  | X | 1021 W. 2320 S.
17 | *Kingspointe Park | G.H. | RP |  | 3" | X |  | X |  | X |  | X | 1330 W. Rothchild Dr.
18 | *Maple Meadows Park | G.H. | RP |  | 2" | X |  | X |  | X |  | X | 2550 W. 3360 S.
19 | *Meadowlands Park | G.H. | RP | 6.5' | 3" | X |  | X |  |  |  | X | 3210 S. Waterleaf Way (5945 W.)
20 | Parkway Park | G.H. | DC | 6' | 4" | X | X |  | X |  | X |  | 3405 West Parkway Blvd.
21 | Scottsdale Park (East) | G.H. | DC |  | 2" | X |  | X |  | X |  | X | 3100 South 3690 West
22 | *Scottsdale Park (West) | G.H. | RP |  | 3" | X | X |  |  |  |  | X | 3745 West 3100 South
23 | Trailblazer Park (Pocket Park) | G.H. | DC |  | 1.5" | X |  | X |  |  |  | X | 3163 S. Trailblazer Cove (6675 W.)
24 | Westview Park | G.H. | DC |  | 2" | X |  | X |  | X |  | X | 6036 W. 4100 S.
25 | Woodledge Park | G.H. | DC |  | 3" | X | X |  | X | X |  | X | 5220 W. Early Duke Dr. (4310 S.)
26 | W. Valley Perform Arts Center | G.H. | DC |  | 2" | X |  | X |  |  |  |  | 3333 South Decker Lake Dr.
27 | Z-Park | G.H. | DC | 4.5' | 3" | X | [5 empty] | X | 6898 W. Hunter Valley Dr. (3130 S.)
28 | 6200 S. Streetscape West Side | K.I.D | DC |  | 2" | X |  | X |  | X |  | X
29 | 6200 S. Streetscape West Side Corner | K.I.D | DC |  | 1" | X |  | X |  | X |  | X
30 | 6200 S. Streetscape East Side | K.I.D | DC |  | 2" | X |  | X |  | X |  | X
31 | 6200 S. Streetscape East Side Corner | K.I.D | DC |  | 1" | X |  | X |  | X |  | X
Yellow = DC Backflow Preventer in Vaults
Blue = RP Backflow preventers in Vaults
Green = DC Backflows in Valve Boxes
Orange = DC above ground that need switched to RP
Reduced Pressure Principle Assembly
Size: 1" - 6"
Brand: Apollo, Febco, Watts, Zurn Wilkins(Or Equivalent)
Stop & Waste
Size: 1" - 2"
Brand: A.Y. McDonald, Leemco (or Equivalent)
Any Pipe Size 2.5" or bigger must have a Ductile Iron Gate Valve on the upstream side of the Backflow Preventer and a Quick Coupler on the downstream side of the Backflow Preventer.
Nibco Model Gate Valve (Or Equivalent)
Quick Coupler Rain Bird Model 44-LRC with Matching Key (Or Equivalent)
Flow Meter
Size: 1"- 4"
Brand: Flomec QS200, Rain Bird FS400P (Or Equivalent)
Hydrometer
Size: 4"- 6"
Brand: Netafim (Or Equivalent)
Master Valve
Size: 1.5" - 4"
Brand: Rainbird PEB
Cage
Brand: Strong Box (Or Equivalent)