

          Lake Point Improvement District

7856 Mountain View Road

Lake Point, Utah 84074

APPROVED MINUTES DECEMBER 2025
The Lake Point Improvement District held its regularly scheduled Business meeting on December 5, 2024 at 7:00 p.m. at the Broken Arrow Conference Room at 8960 Clinton Landing Road, Lake Point Utah.  The agenda is as follows:

1.
Call to Order 

Chairman to call the meeting to come to order @:  7:11 pm

Motion:  Brady
Seconded:  Ryan

Roll Call:
Todd   Brady   Jared   Ryan

Treasurer:  Terre Marshall


Operator:  Keith Fryer   Engineer:  AJ was absent.    Guests:   None
2.
Public Concerns or Comments 

None














3.
Approval of Minutes


Business Meetings – November 2024


Comments or corrections:  None



Approval of the minutes for the Business Meetings of November 2024



Motion: Ryan;    Seconded:   Brady;    In Favor: 4;   Opposed:   0;   Motion Carries:  Yes
4.
Financial Reports


A.
Approval of Bills – 2024



Comments:  Terre reviewed each check draft for approval




Corrections/comments:  None




ACH Merchant processing fee


$       49.42


     .
Motion to approve; Checks 4627 - 4629 + ACH fees $49.42;   Total: $4560.34




Pre-Approve checks: 
Checks: 4630 - 4635
(Board member annual compensation)







    Motion: Jared;    Seconded:  Brady; In Favor:  4;   Opposed:  0;   Motion Carries: Yes


B.
Chartway Checking Accounts




Rate Payer 
$25,436.20
 



Impact Fee
$17,255.79


C.
Budget Report – 2024



Total Income

 $ 280441.00         87.6 % of budget         ($320,258.42)      



Total Expenses
 $ 129405.04        102.2% of budget          ($128,644.73)




Net ordinary income  
 $ 151035.96          78.0% of budget           ($193,613.69) 



Balance Report –2024


D.  
 LPID Rate Payer and Impact Fee checking accounts funds transfer authorization:  





Impact Fee Checking: $0.00;     Rate Payer Checking   $0.00


E.
Review of "Application of Sewer Connection"    



The Application for a Domestic Sewer Lateral connection now requires the applicant to 



submit a copy of the house lot drawing to the District engineer for approval.  The 




engineer reviews the only drawing at a cost of $300 per review and upon approval, 



submits his approval letter to the District treasurer who intern submits it to the City 



recorder.  



The Lake Point City Building Permit Civic Review procedure is required by other 



municipal service districts within the city, but is not used by Lake Point Improvement 



District.  In addition to the $300 cost of the present procedure, there is no cost to the 



District to use the City Civic Review procedure.
5.
2025 LPID Budget 


A.
A draft of the tentative 2025 LPID budget was reviewed by the Trustees in the October 



meeting and no comments were received from the public.


B.
Revisions:  The District allocated $3000 to the purchase its own company computer.  A 



computer backup system was also budgeted in 2025.



C.
The final budget was reviewed by the Board and any revisions noted:



The purchase of a new computer for the treasurer was increased from $2000 to $3000




A motion by Brady; to adopt the tentative 2025 budget as presented:



Motion: Brady;   Seconded: Todd;   In Favor:   4;   Opposed:  0; Motion Carries: Yes
```


2024 LPID Budget




Due to a number of expenditure over runs in 2024, the 2024 budget must be amended to 



correct the cost over runs to balance the budget.   An amended budget will be available 



for review and adoption in the January Board meeting.
6.
Operations Reports


A.
UPDES Compliance Report






September
October
November
Limits



Influent BOD   = 
221

205

205

ppm




Influent TSS     = 
235

248

213

ppm



Effluent BOD   =   
26

18

19

(limit is 45ppm).




Effluent TSS     =   
43

27

30

(limit is 45 ppm) 




pH    

  =       
8.9

8.8

8.9

(limit >6.0<9.0)




Coliform:   
  =        <1

<1

<1

limit is 128)




Influent Flow    =     
0.363

0.358

0.370

mgd



Effluent Flow    =     
0.234

0.263

0.203

mgd



Effluent parameters were within permits including the effluent TSS at 30 mg/l. Aeration 



time is 4 hours/day for the month of November primarily for mixing in cell #1.  Cell #2 



had a reduced algae bloom and Cell #3 was clear except for precipitated calcium 




carbonate. (White cloudiness, little algae)



B.
Influent flow increased from 0.358 mgd in October to 0.370 mgd in November.
7.
Board Member Vacancy 



A notice of Trustee vacancy at the Lake Point Improvement District was published in the Tooele 


Bulletin on November 27 and December 4, 2024 seeking resumes from individuals wishing to be  

considered to fill the unexpected term of a Board of Trustee member.


Each applicant's resume will be reviewed by the Board for qualifications and residency 



requirements.
The appointment will be determined based on qualifications and a majority vote 


by the Board during the scheduled Board meeting on January 9, 2025.
8.
Billing for Sewer Backup in Basement (Janet Garrard)



LPID has received a bill ($48,271) for the removal and storage of the basement contents of the  


Janet Garrard home as a result of a sewer backup.  This does not include the cleanup of the 


backed up material which was done by Roto Rooter.   LPID did not authorize the packing and 


unpacking the stored material.
9
Other District Business & Trustee Concerns


A. 
Next LPID Meeting—January 9, 2025


B.
Other Trustee business:  None 
10.
Adjournment


Adjournment of the Lake Point Improvement District meeting of December 5, 2024 @ 8:15 pm        
Motion:  Todd;   Seconded: Ryan;   In Favor:    4; Opposed:   0; Motion Carries Yes
Minutes: December 2024

