Site Plan Review

Meeting Date		July 7, 2025, 7 pm 1528 Sunset Road, Lake Point, UT 84074

Applicant		Jim Taggart

Request		Commercial Site Plan Review

Property Address	8610 Commerce Drive, Lake Point Utah 84074

Parcel			25-012-0-0501

Acreage		.75

Zone			Commercial Highway

Prepared by		Jamie Olson

Presented by		Jamie Olson

Scope of Decision- This is a legislative matter to be decided by the land use authority Lake Point City Council upon receiving a recommendation from the Planning and Zoning Commission and a review from the DRT Committee.

Request Summary

- The applicant requests a Site Plan Review for a Commercial building

- The Zoning is CG- Commercial General and is an allowed use under Ordinance 2023-23

- The Site plan is for a Wend’y fast food restaurant with a drive thru

- The building is about 3,012 square feet

- THe Building Height is approximately 18’17”

- There are about 23 parking stalls

General Plan Considerations

This application does not go against anything in the Lake Point General Plan adopted in

Ordinance 2024-05 on April 10, 2024.

DRT Committee Review and Findings

- Building Official approved

  - No concerns

- Engineering approved, and any comments or corrections made.

  - Minor recommendations that could be addressed in the building permit application

  - Parking stall measurements- adjustments were made to comply with code

- Fire Marshal approved, and any comments or corrections made

  - Questions concerning the fire hydrant and the location. The location was adjusted so it was within 150 feet of the hydrant.

- Staff approved, and any comments or corrections

  - Jamie requested the applicant contact Reagan to get plan approval. Reagan was okay with the plan.

  - Jamie checked in a few times as the applicant was working on Utility approvals.

- Any public feedback

  - No public feedback to report

- Utility Will Serve Letters

  - Getting Oquirrh Mountain Water District approval took some time, as they needed to acquire shares to accommodate the needs of the site. They also did not get the plans for approval until recently, but this was reviewed and resolved quickly.

- Traffic Report not required

- Complies with proposed use under current zoning -state ordinance and use

Development Review Team (DRT) Approvals

The following departments have reviewed the site plan application which provides the subject for this staff report, and it has been found to be appropriate for review by the Lake Point City Planning Commission and/or City Council.

Fire Marshal (Buck Peck)

Recorder (Jamie Olson)

Engineering (Dan Fechner)

Building Official (Kelly Brown)

Rocky Mountain Power

Questar Gas

Lake Point Improvement District

Oquirrh Mountain Water Company

Conclusion

- The Wendy’s site plan follows the required zoning, building, engineering and fire codes. It has been a time-consuming process to get to this point, and it has been a pleasure to work with Jim Taggart's team.

- This plan is in harmony with the General Plan

Recommendation

Based on the findings and conclusion listed in this report, and recommendation from Planning and Zoning, staff recommends the City Council review the request and approve the Site Plan Review Application for applicant Jim Taggart.

Supporting Document

Parcel Location and CG Zone Boundary

Site Plan of Building