Lake Point Improvement District

7856 North Mountain View Road

Lake Point, Utah 84744
APPROVED MAY 2025 MEETING MINUTES

(APPROVED 09/11/2025)
The Lake Point Improvement District held its regular scheduled business meeting on May 8, 2025 beginning at 7:00 p.m. at the Broken Arrow Conference Room, 8960 Clinton Landing Road, Lake Point, Utah.  The agenda will be as follows:
1.
Call to Order 

Chairman to call the meeting to come to order @:  7:07 pm

Motion: Brady

Seconded:  Jared

Roll Call:
Todd   Brady   Jared   Ryan   Jeff


Treasurer:  Terre Marshall


Operator:  Keith Fryer   Engineer:  Brendan Thorpe    Guests:   None
2.
Public Concerns or comments: None
3.
Approval of Minutes


Business Meetings – April 2025


Comments or corrections:   None


Approval of the minutes for the Business Meetings of April 2025
Motion: Todd;     Seconded Jared;
In Favor 5;   Opposed:  0;     Motion Carries:  Yes
4.
Financial Reports

A.
Approval of Bills – 2025


Comments:  Terre reviewed each check draft for approval



Corrections/comments:   None




ACH Merchant processing fee


$ 278.32



Ward Engineering




$3025.00



Cross Roads Toner




$ 107.34


  Motion to approve; Checks 4674 - 4681, + ACH fees $278.32;   Total: $8578.78 

   Motion: Jared;      Seconded:  Ryan;        In Favor:  5;   Opposed:   0;   Motion Carries:
Yes
    


B.
Chartway Checking Accounts



Rate Payer 
$67,936.32   
Impact Fee
$21,387.07

C.
Budget Report – 2025


Total Income

 $ 103,642.39       32.7 % of budget    ($317,215.25)     



Total Expenses
 $   37,244.08       36.9 % of budget     ($ 15,967.00)



Net ordinary income  
 $   66,398.31       36.9 % of budget     ($179,870.25) 

D.
Balance Report –2025

       LPID Rate Payer & Impact Fee accounts funds transfer Authorization   



Impact Fee Checking: $ 0.00
      Rate Payer Checking   $ 0.00          

5.
Operational Reports



A.
 UPDES Compliance Report







February
March

April

Limits




Influent BOD

149

148

204

ppm





Influent TSS

141

98

218

ppm




Effluent BOD

20

27

26

(Limit 45 ppm)



Effluent TSS

26

36

38

(Limit 45 ppm)

  

pH


8.7

8.9

8.8

Limit >6.0 <9.0)


Coliform

<1

<1

1

(Limit 128)
`


Influent Flow

0.373

0.434

0.500

mgd




Effluent Flow

0.316

0.329

0.318

mgd


Effluent parameters were within permit limitations.  Aeration time maintained at 23 

hours/day.  Cell #2 has experienced a moderate reduction in algae bloom and cell 


#3 was nearly clear.

B.
Influent flow has increased in March from 0.434 mgd to 0.500 mgd.  

C.
Lagoon status -  No odor complaints were received in April from any residents.
6.
LPID Operations Computer



A.
Presently, all the original minutes and agendas, Operational Manuals, Sampling and 


Reporting Procedures, UPDES Data, Operational Data, are all electronically filed in 


Keith's computer.  All of the as-built construction drawings, inspection records and 


Will Serve Documents are only in paper form. Digitizing these documents 
would 



create a permanent record for easy access.



B.
It is proposed that the District purchase its own operations computer providing 



access to any and all of the records, drawings and data presently not easily available 


by present means.  The Board postponed the purchase of a District Computer until 


the final assessment for purchasing or renting digitizing equipment to enter 



drawings into an electronic data base.
 7.
Development Standards Manual Application


A.
The procedures presently used by contractors for installation of sewer mains and 



lateral connections are detailed in the Design Standards and Construction 




Specifications for Wastewater Facilities Manual.  The procedure outlined in the 



present modified Development Standards Manual is not used because the 




procedures are of no value to the contractors.
Design Standards and construction Specifications are currently outlined in the modified Development Standards Manual. Instructions are sent out to every contractor electronically prior to issuance of a will-serve letter.


B.
Cost to District is projected to increase with Phase 14 (53 lots + 9 lots 12 = 62 X 



$300 = $19,600.)    Total cost projected: $27,327.50 (2024) + 9934.5 (2025 to date) 


$19,600 (53 +9 lots remaining) = $56,861.50.  



Current fee schedule:

Plan Review and inspection – Single Home - $450

Plan Review and inspection – Commercial - $1,000

Sewer Impact Fee - Residential - $4,131.28

Sewer Impact Fee - Comercial - $4,131.28 / ERU


C.
These costs were not budgeted in 2024 or 2025



8.
Update of UPDES 

    A.
 Summary of Changes from Previous Permit


1.
Description of Discharge. Outfall Number 001D deleted; Current Outfall Number 



001 unchanged from previous permit.


2.
Receiving Waters and Stream Classification - Class 3E.  Severely habitat - limited




Waters.  Narrative standards will be applied to protect these waters for aquatic 



wildlife.  The District meets the Narrative standards including treatment lagoons 



and future impoundment area.



3.
TDS deleted from draft permit (TDS higher than receiving waters) Anti-degradation 


Rules any contaminant higher than receiving water must be treated.


4.
Total maximum Daily Load Requirements.  The receiving water is an unnamed 



ditch and downstream water bodies are not listed as impaired for any parameters 



according to 2024 303(d) list. (Heavy Metals)


5.
Basis for Effluent Limitations




1.    Total Flow: 0.392 MGD:  LPID appealed this limitation, limitation was deleted



2.    Total Residual Chlorine (TRC):  New this Permit 2.0 ppm.  OK



3.    Toxic metals monitoring increased to twice per year.  No limitation  imposed.





4.     Remaining limitations unchanged from previous permit.



6.
Self Monitoring and Reporting Requirements




The self-monitoring requirements are the same as in the previous permit 




(influent and effluent sampling) except it shall be composite sampling. 



7.
 The permit will require reports to be submitted monthly and/or annually on DMR 


forms due 28 days after the end of the monitoring period. (Unchanged from current 


permit)  Effective January 1, 2027, ,monitoring results must be submitted using 



NetDMR for bio-monitoring, metals and toxic organics must be attached to the 



DMR's .


8.
The UPDES Permit is scheduled to be made available for public comment and at 



the end of the public comment period (with any changes considered) the Permit 



shall become effective.


9.
Attached is a copy of the final draft of the UPDES Permit for the Boards review.


    B.    Industrial Waste Survey (Pending) 

I.




The District shall conduct an Industrial Water Survey of any industry within the 



District Boundaries.  The survey is due 60 days after the new permit becomes 



effective.


    C.
Public Comment Period




Notice is hereby given to receive public comment for the 30-day Public Comment 


period beginning on May 7, 2025 and end on June 6, 2025.  
9.
Garrard Claim No:  FSU5605 


A.
Constitution State - Travelers Insurance - John Gentry


B.
Travelers Insurance requested a copy of the District's Sewer Cleaning Schedule 



and the log record of the Canyon Road sewer cleaning.


C.
Utah Local Government Trust - Position


D.
Communication to LPID
10.
Blue Stake Member Services




A.
Status of the Blue Stake notification procedure
1. 
Levi Mele was asked to set up basic Blue State notification procedure for the District and set up GIS mapping to add sewer lateral locations within a 3   month period beginning April 1, 2025  May 1, 2025 and ending 




June 30, 2025   July 30, 2025,  and to provide cost statement before setup began.
 Agreed on $1,500 per month



Motion: Brady;   Seconded: Todd;    In Favor:  5;     Opposed:  0;   Motion Carries:  Yes




2.
Blue Stake charge - March = $85.00



B.
GIS Mapping Information - Ward Engineering to provide drawings to 




convert to GIS Mapping.

11.
Park Meadow Lane sewer drawings



The District has Plat 10 drawings and details of lots 1-3 Park Meadow Lane

12.
Board Member Election


Lake Point Improvement District will hold a municipal election to elect 3 Board Members 

for a 4 year terms. Given sufficient candidates, a primary election will be held on August  

12, 2025 with the municipal general election being held on November 4, 2025.



Qualifications are;



1.
Be a United States Citizen



2.
Be a registered voter in the District



3.
Be a resident of the District 



Qualified candidates may file a Declaration of Candidacy form with the Board Secretary, 


1877 Sunset Road, from June 2, 2025 to June 6, 2025 during regular office hours and not 


later than 5:00 pm on the last day of the filing.
13.
Other District Business or Trustee Concerns


A.
Next LPID Meeting - June 12, 2025

B.
Other Trustee Business: None
14
Adjournment

Motion was made to adjourn the LPID Business meeting of May 8 2025 @ 9:49 pm

Motion: Brady;     Seconded:  Jared;      In Favor:   5;     Opposed:   0;   Motion Carries:  Yes  
