### LPID Board Meeting

APPROVED JULY 2025 MEETING MINUTES

APPROVED 09/11/2025

July 10, 2025

Held at: 8960 Clinton Landing Road, Lake Point Utah

### Meeting Start     7:05 PM

- Meeting called to order.

- Those present: Todd, Jeff, Jared, Brandon (engineer), Keith, Terry, Levi, Ryan, Brady.

### Public Concerns

- Late notices: Some people didn't receive their statement card.

  - Keith and Jared discussed switching to an 8.5 x 11 sheet of paper in an envelope.

  - Oquirrh Mountain Water has the same complaints even though they send letters.

  - Decided to stay with the postcard size card.

- Meeting with builder on house off Shepherd Lane (Park Lane Meadows) to be discussed later.

### Meeting Minutes

- Meeting minutes not sent out, so approval will have to wait.

- Auditor said that until they're approved, they don't get dinged on the public notice website.

- Approved date will need to be written on the minutes.

### Finances

- ACH merchant processing fee: $196.60.

- Check #4693 to Rocky Mountain Power: $798.14.

- Check #4694 to ChemTech Ford: $769 (high due to three from last month).

- Check #4695 to Tooele transcript grip bulletin: $9.50.

- Check #4696 to Blue Stakes of Utah: $2131.975 (membership and tickets).

- Check #4697 to USA Blue Book: $2862 (Pro Solo Otometer Dissolve Oxygen Meter).

- Check #4698 to Pipe View Services: $2842.50 (video sewer on SR36).

- Check #4699 to Haney & Kepi Co.: $8600 (2024 financial summary audit).

- Check #4700 to Keith Prior: $2007.55 (service operator services).

- Check #4701 to Terry Marshall: $1718.65 (Treasurer services).

- Check #4702 to Okra Mountain Water: $37.99 (culinary water for July-September).

- Total checks: $20,173.15.

- Total expenses (including ACH fees): $20,369.75.

- Motion to approve checks 4693-4702 and ACH fees for a total of $20,369.75.

  - Moved by Ryan, seconded by Todd, all in favor.

### New Sewer Pump

- New sewer pump has been ordered.

  - 4-5 month delivery.

  - Payment due upon installation.

  - YOKA will install it.

  - Impeller on old pump is worn out, but Keith has a spare.

### Budget

- Total income to date: $135,494 (42.7% of budget).

- Total expense: $68,617 (50% of budget).

- Net ordinary income: $66,876 (37.2% of net ordinary income).

- New pump will drop net ordinary income by almost $20,000.

- PTIF rate payer checking: $50,129.

- Our way checking: $35,213.

### Operations

- Effluent intake and effluent met guidelines.

- TSS is getting close to the limit.

  - BOD: 40 (limit is 45).

- June averaged about 216,000 gallons a day discharged.

- Sunset sewer cleaning:

  - Conduit in for the stoplight.

  - They missed the sewer manhole.

  - Need to mark where the manhole is.

  - They're going to raise it and make it flush with the concrete.

  - Udot didn't want to do it with the southbound project.

### Blue Stakes

- Levi discussed the new ticket system.

- New software has LPID code.

- Sewer layers have been imported.

- Can now see if there's nothing even in that area.

- Can respond to excavator with no conflict right through the software.

- There are some bugs that need to be worked out.

- Manhole numbers on older maps do not correspond to these manhole numbers.

- Missing manhole - Keith and Levi jet cleaned the manhole on SR 36 and Sunset Road.

  - 95% accuracy on the location of the manhole.

  - Debris from Bridlewalk 4 is causing issues.

  - Levi to remark the manhole.

### Standardized System for Manhole Numbering

- The importance of a standardized system is emphasized for record-keeping purposes.

- The current system involves random numbering for manholes on construction drawings.

- It is suggested to use existing numbers that align with sewer modeling numbers in the master plan.

- There is uncertainty regarding the correlation between numbers from the shapefile and the master plan numbers.

### Addressing Numbering Discrepancies

- Levi notes that old maps have numbers that don't match up.

- There is a concern about potential duplicate numbers if drawings are incomplete.

- The map in question shows all the inverts, which is considered more important than the number.

- A suggestion is made to create a new numbering scheme or revert to a uniform system.

### Data Collection and Integration

- Levi mentions that the provided shapefile is missing approximately 20 manholes.

- A process is proposed to revisit the shapefile, obtain numbers from Keith, and incorporate missing manholes.

- The goal is to ensure that the engineer has the master copy and that everything is coordinated and matches.

- There is a discussion about whether to renumber the shapefile to match a specific number system.

### Master Plan Alignment

- There is concern about renumbering everything if it doesn't align with the adopted master plan.

- It is suggested to match the master plan between GIS and the numbering scheme used in the modeling.

- Brandon is unsure if any of the three numbering systems (shapefile, map, master plan) match.

- Brandon will check the master plan to determine the best approach.

### Multiple Numbering Systems

- Jared notes that it's possible to have multiple numbering systems and a table should be made to crossreference the manhole numbers.

- Brandon believes that tables in the modeling will have numbers that match the shapefile.

- Levi wants to ensure that everyone is referring to the same manhole.

### GIS Map Details

- Some maps indicate whether the manhole is PVC or concrete.

- The map displays all of the parcels but lacks lateral data.

- All inspections are directly integrated into the system.

### Lateral Data and Inspections

- Levi will provide a new link to access updated files.

- New laterals are being added to the system, with data collected from testing tees.

- The current GPS unit has an accuracy of about 10 inches, but higher accuracy is possible with additional investment.

- Most of the manhole data lacks elevations.

### Visual Documentation

- Each item added to the system includes a picture for reference.

- The pictures provide context for the location of the item.

- If a lateral is not in the system, it was not inspected.

- Older records can be scanned and added to the system.

### Manhole Inspections and Maintenance

- Manhole 106 has observed infiltration and needs reinspection.

- Silver Spur will be contracted to check and clean the sewer in Platform and associated areas.

- The inspections capture missing steps and other issues.

- The sewer line on Pheasant Lane was an existing line that needed to be brought up to current standards.

- Construction debris and other issues were identified during the work.

- Some manholes need to be raised, and steps need to be brought up to the new current level.

- There are problems with deteriorated steps in older manholes.

### Groundwater Infiltration and Abandoned Lines

- A manhole near the roundabout has groundwater infiltration due to a bump during construction.

- An old alignment on Bridal Walk was cut but not capped, leading to groundwater infiltration.

- The speaker is requesting that Silver Spur jet the line to address debris caused by the uncapped line.

- The speaker has confirmation that the line will be cut and capped.

- Jetting and camera work will be done, followed by a letter of acceptance after punch list completion.

### Blue Stake Ticket Processing and Inspections

- Levi notes that there were 114 tickets in June under the old system and 11 since switching to the new system.

- Nine lateral inspections were done for homes.

- Inspections were conducted for the Wendy's subdivision, which added two manholes and four laterals.

- Levi  caught Sky Star (West Wind) trying to do water and sewer work without proper notification.

### Core and Main Account

- Levi asked about setting up an account for paint and flags.

- Reimbursement is the current process: Terre said "just go buy it and submit a reimbursement sheet."

- LPID doesn't use credit cards.

- A purchase order can be created for larger purchases.

### Purchasing Process

- Plan purchases in advance and get a signed requisition before buying.

- Submit the invoice for reimbursement before the bill arrives.

- Terre prefers not to mix personal finances with district purchases.

### Concerns about Sewer Line Acceptance

- There is concern about allowing tie-ins before final acceptance of the sewer line.

- Repair work is needed after video inspection, which could take weeks.

- Cleanup work is ongoing, including scraping the sides of the road.

- Silver Spur requested water, sewer, and storm drain punch lists.

- The speaker prepared a punch list with concerns, accessible via a link in an email.

- Sewer Line Acceptance (cont.)

- No houses should be tied in until the main line is accepted.

- The Antonio line has been active for 3-4 years.

- Pheasant and Antonio lines were previously active.

- Brady wants stricter contractor oversight.

- Retainers should be used as leverage to ensure work is completed.

- Silver Spur should pay for videoing the damaged manhole.

### GPS Calibration

- GPS calibration may be an issue.

- The speaker's GPS may be calibrated differently than the file.

- Long 36 manholes are far off on the system.

- Reshooting or a new coordinate system may be needed.

- When a manhole is found and reshot, it should update in the system.

### GIS File Inconsistencies

- GIS files are often inconsistent compared to CAD files.

- Coordinate system updates (e.g., from MAG27 to NAD83) can cause shifts of 20-30 feet.

- Older survey data may have accuracy limitations of 30-40 feet.

- Working on a local ground control dating back to 1998.

- Setting up a profile connected to all data can help with future shifts.

- Controls in NAD 83 allow referencing to the NAD grid.

### Data Access and Software

- Direct access to updated maps via a link, without special software.

- Data hosted through OMWC; transferring data and getting a LIPN license (approx. $700/year for Pro, $300 for viewer) is an option.

### Blue Stake Responsibilities

- Levi was assigned blue stakes, inspections, and sewer lagoons.

- Keith was to maintain operations.

- Keith has concerns about relying solely on Levi for blue stakes due to his other responsibilities.

- The board decided that Levi is in charge of blue stakes and GIS maintenance, while Keith handles lagoons and inspections.

### Invoice and Payment Details

- Invoices should be submitted by 10 PM on Tuesdays for check processing.

- Levi to provide additional detail for prior to April.

- The board agreed to three $1500 payments.

- Levi will provide 2023 and 2024 details on the invoice.

### Contract Extension Discussion

- The board approved three months beginning in April.

- Jared has concerns about approving payments after the fact.

- Levi asked about billing for work already done.

- The board needs to approve expenses from Levi prior to approving payment.

### Extending Levi's Contract

- Levi is filling a need, and replacing him would be challenging.

- Need to advertise for an actual contract.

- Publish on job boards like KSL, Indeed, and Rural Water.

- Restriction that they have to live within so many miles of Lake Point.

### Water and Wastewater Operator Requirements

- State requirement: water side requires response within an hour.

- Wastewater side: unsure if there is a state requirement, but it is likely in the code.

- Exemptions from the state are possible, but typically a set time to respond to emergencies is required.

### Job Posting

- Motion to post a job notification for an operator position.

- Treasurer position should also be posted.

- Treasurer job description should be generic, requiring familiarity with QuickBooks.

  - The role involves responding to the state auditor and completing required reports.

- A preliminary job description will be written up and sent out for review.

### Additional Staffing Needs

- Discussing the need for someone to handle tasks like meeting minutes, grama requests, and grama training.

- Transitioning responsibilities within the next year and a half.

- Need for a secretary.

  - Mary Lynn Robbins used to be the secretary.

- Treasurer needs to live in Lake Point.

### Impact Fee Report

- The audit was completed and submitted to the state auditor's office, but revisions are needed due to a new format introduced in 2024.

- The new format requires tracking and reporting all new revenues collected through impact fees by development project.

- Have to list every person that impact fees were received from.

- Calculate the interest earned on impact fees and the money expended on impact fees.

- Impact fees should be used within six years of collection.

- Terre had a discussion with someone from the state auditor's office regarding the amount of money in the account.

- There are exceptions in the code that allow for flexibility in expending the money within the six-year timeframe.

- The Office of the State Auditor has revised the impact fee report example to comply with reporting requirements outlined in Utah code 11-36A-601(4).

- Local government entities must track and report all new revenues collected through impact fees by development project.

- Must specify the project for which the newly collected impact fee revenues are budgeted.

- Must track the project where impact fees were spent, tracked by each fee.

- Must track on-hand impact fees from each development project are budgeted.

- The purpose is to ensure funds are used in compliance with Utah code and on specific system improvements identified in the impact fee facilities plans.

### Expenditure Tracking

- $357,720.20 spent on impact fee stuff from 2004 through 2022.

- Need to review all impact fee accounts and deposits to track expenditures.

- 60 days to complete the revised report.

### Impact Fee Usage

- Impact fees should be used for capital improvement projects, not maintenance.

- Each dollar spent needs to be linked to a specific capital improvement project.

- Checks have descriptions that can be used to identify the projects.

### Impact Fee Facilities Plan (IFFP)

- Projects are defined and adopted by the board in the IFFP.

- Cost estimates from five years ago are significantly lower than current costs.

- The shortfall in funds can be used as justification to the state.

- The IFFP plan should be referenced in the description area of the report.

- Discussed redoing the pipe where the big pipe flows into the spot.

### Colette Street Sewer Repair

- The city council discussed the cost of the sewer/road failure on Colette Street.

- The board doesn't feel responsible for the cost, suggesting Chris Robinson's contractor should pay.

- An equal partnership for costs could be considered, potentially including Chris Robinson.

- County sewer monument issue: monuments weren't sealed properly, leading to water damage.

### Elections

- The election for the district will be canceled because no one but Jared and Todd reapplied.

- Waiting period for military personnel requests before officially canceling the election.

- Reappointment of Jeff for 2026 through a four-year term will occur at the end of the year.

### Meeting Preparation and Transcription

- Keith was doing a great job of putting the paperwork together.

- Brady apologizes for not being prepared and Terre offers to print agendas and packets.

- Brady is okay with the way the financial stuff has been sent to them.

- The goal is to handle minutes digitally to reduce printing.

### Digital Minutes and AI Transcription

- Digital copy of written minutes is required.

- Todd is testing AI transcription software for meeting minutes.

- The speaker paid a monthly fee of $14 for the software.

- The speaker will submit an invoice for the software if it works.

### Scanning Project

- Jared contacted five or six places for scanning services.

- They need more information to provide a cost estimate due to the condition of the documents.

- Jared will gather more details and pictures to get a better estimate.

- Jared anticipates spending a couple hours going through stuff.

### Closing the Meeting

- Todd made a motion.

- Speaker motions to close the meeting, Ryan seconded.

- All in favor: Aye.

## Notes on Sewer Lateral Issues

Created on July 10, 2025 at 9:14 PM by Minutes AI

### Reopening of Meeting

- Motion to reopen the July sewer board meeting made for July 10th at 9:15 PM.

- Seconded by Todd.

- Same members present from original meeting minus Keith

### Discussion: Leroy Wayman Lot

- Leroy Wayman doesn't have access to a sewer lateral because the adjacent lot used it and didn't connect to their assigned lateral.

- Wayman requested reimbursement for some or all of his impact fee to cover the cost.

- Cost Estimates:

  - Direct tie-in to the manhole (preferred): $12,415.

  - Swap existing laterals: $20,174 (includes demolition and driveway replacement).

### Responsibility and Neighbor

- The board is struggling to identify the district's responsibility.

- Wayman would approach his neighbor for payment if the sewer district contributes.

- The neighbor is an architect and may have acted as his own general contractor during construction.

- The neighbor claimed he connected as instructed by the city, but the city has no jurisdiction (it was the county at the time).

### Potential Solutions and Considerations

- Suggestion to split the cost between the three parties involved.

- Impact fee is approximately $4381.

- Discussion about the possibility of both houses tying into the same lateral, but it was rejected due to past problems.

- "As you said, there's still an impact to the system. So I don't think it would be a full reimbursement, but a fair amount."

### Records and Liability

- Levi recalls going to the property with Keith and doing a lateral inspection before incorporation.

  - If there is a record of inspection, the district could take on full liability.

### Property Information

- The property owner's name is Kevin Walker.

- The address is 8047 North Park.

- The meter was installed around October 24, 2023.

- The year built is 2023.

- The city collected the impact fee, but there was a delay in construction.

### Inspection Records

- Natalie and the speaker are going to Keith's tomorrow at 2pm to get all the inspection records.

  - The records have the water laterals on them.

  - Natalie will scan the records to put them on their water side and share the PDFs.

### Motion for Contribution

- A motion was made by Jeff to cover half of the $12,000 expense.

- The motion was seconded by Ryan.

- The agreement was to contribute $6,000.

- Payment will be made directly to the builder, Leroy Wayman with AS Mirkwood Builders.

### Meeting Conclusion

- All were in favor, none opposed.

- Keith was not in attendance.

- The meeting was adjourned.

Sent from my iPhone