LPID sewer meeting minutes September 11, 2025

Created on September 11, 2025 at 7:05 PM by Minutes AI

Corrected by Todd May 9/15/25

MINUTES APPROVED 10/06/2025

Meeting Start

• Lake Point Improvement District meeting started on September 11, 2025, at 7:06pm.

• Location: Broken Arrow Conference Room at 8960 Clinton Lanning Road in Lake Point,

Utah.

• Attendees: Brady Morris, Jeff Caldwell, Todd May, Ryan Dedelow, Terre Marshall, Keith Fryer, Brendan

Thorpe.

Approval of Minutes

• Terre kept a recording for august, but the recording failed to transcribe.

• Terry has the recording of last month's minutes and will transcribe them to written

minutes for approval next month.

• Minutes for April, May, June, and July need to be approved.

April Minutes

• Corrections were made to the comments about the fees.

• The fees have been corrected/updated.

• Motion to approve the minutes for April as presented and corrected.

May Minutes

• Comments about the development standards manual were corrected.

• Updated language regarding design standards and construction specifications in the

modified development standards manual.

• Instructions are sent electronically to every contractor before issuance of a will-serve

letter.

• Fee structure was updated.

• Motion to approve the minutes for May as presented and corrected.

June Minutes

• Similar comments to May regarding the design and construction specification manual.• Updated language about design standards issued to every contractor before a will-serve

letter.

• Contract time with Levi Straight started in May through July (corrected from April).

• Motion to approve the June minutes as presented and corrected.

July Minutes

• AI transcript was used; fairly literal and wordy.

• Some chatter was removed.

• Motion to approve the minutes as presented for July.

August Minutes

• August minutes will be created by Terre, based on the recording and approved next

month.

Financial Report

• ACH merchant processing fee for August: $29.69.

• Check number 4716 to Rocky Mountain Power for electricity: $546.97.

• Check number 4717 to ChemTech Ford for lab services: $206.

• Check number 4718 to Blue Stakes of Utah: amount not specified.

• Check number 4719 to Keith Fryer for operator services: $2005.74.

• Check number 4720 to Terry Marshall for treasurer services: $1851.13.

• Check number 4721 to Mele Enterprises for backup operator services: $1,500.

• Total checks (4716-4721): $6764.95.

• Total expenses (including ACH fee): $6794.64.

• Motion to accept checks 4716-4721 plus ACH fees for total expenses of $6,794.64.

Budget Report

• Total income for the last month: $216,282.41.

• Total expenses for the same period: $99,675.32.

• Net ordinary income: $160,007.09.

• Total income is about 66% of the budget, total expenses are about 72%, and net earthly

income is about 64%.

• Balance sheet:

•

o Ratepayer checking: $3,875.82.

o Impact fee checking: $35,213.72.

o Savings: $1,001,963.

Impact Fee Discussion

• Pump replacement will come out of the ratepayer's checking account.

• Consider moving money from impact fee checking to PTIF.• Move $30,000 from impact fee checking to PTIF, leaving a $5,000 cushion.

Impact Fee Worksheet

• Terre put together a worksheet that the auditor accepted.

• Thanks, Terre, for her hard work on the worksheet.

Budget Amendment

• Need to amend the 2025 budget due to expenditures made without being budgeted.

• Goal to update and present the amended 2025 budget at the next meeting.

• Approve the amended budget at October's meeting.

• 2026 budget draft to be presented in October.

• Tentative 2026 budget in November.

• Final 2026 budget approval in December.

Finances

• Need to give the new number for 2026.

• Next meeting will cover the amended budget and the draft budget for next year.

• The draft budget is still up to some changes as they get closer to November.

• December budget should be cast in concrete for next year.

Number 4 Pump Station

• Number four pump from Xylem Water Systems is being shipped next week.

• Concerned about the yoke hook way onto, as they were pretty rusted when put in last.

• Someone's going to have to go down there and try to chain around that pump and lift it

out.

Aerators

• We need to rebuild five of the aerators.

• The aerators themselves are in good shape, but the motor bearings are rough.

Pumps

• There was a motor failure on the number 2 pump at the number 4 pump station.

• The motor saver monitors the voltage or high voltage, low voltage, and phase.

Manhole and Water Lateral Issues• A manhole was hit and buried by Dry Creek, a concrete contractor.

o Badger Excavation came out to vacuum it all out and test it.

• A water lateral was exposed by a contractor.

o Stansbury found a non-functioning water lateral off the SPID main line.

• Contractor knocked the lid off the McDonald's water meter box.

o SPID came out with their vac truck and cleaned out the meter box and reset the

meter lid.

Blue Moon Drive Sewer Line

• LPID has been cleaning and flushing the line on Blue Moon Drive about every two

months.

• We plan to dig it all up and reset the sewer line in the future.

• Pipe View will come up and clean it out and video it to see where the dips are.

Effluent Guidelines

• BOD was 13 TSS.

• Flows up around 311,000 gallons per day.

• Average 325,000 gallons per day.

• Only discharge 181,000 gallons.

Blue Stakes Notification

• Keith is of the opinion that the Blue Stakes notification should be done by the district

operator.

• Keith commented that Levi is employed full-time with the water company and is doing

stuff for the sewer district.

• Levi responded to 90 Blue Stake notifications.

• Tickets are good for 14 days.

Infiltration Concerns

• Levi reported a couple of concerns about infiltration.

• Down on Bridlewalk Acres, where Silver Spur is at the end of Sage Lane. Keith said he

would take care of it.

• The manhole by the roundabout is getting extra water during low flow times.

• Silver Spur needs to go through and flush it and then video it and based on that video,

they'll take action.

Lateral Inspections

• American Homes is put on hold due to the number of home sales.• They've got 15 homes that are up for sale.

• They haven't done any lateral installations this month.

• Those 15 homes have been sitting there for about two months and are not selling.

Current Building Situation

• No new homes are being started until existing ones are sold.

• The model home on Lakeshore might have been sold; the office has been removed from

the garage.

• The new model home is further inside plat 14, on Burger or Antonio.

• Tracy Baldwin is the only builder still actively building.

Park Meadow Sewer Issue

• A house is being built on Park Meadow but lacks a sewer connection.

• Focus Engineering was supposed to design a plan, but it hasn't been seen yet.

Lateral Inspections

• There's uncertainty about who should inspect the sewer line, causing conflict with the

city's building inspector.

Wendy's Incident and Cleanout Issue

• A conflict arose at Wendy's when the county was late for an inspection, delaying the

contractor.

• The city inspector, Kelly Brown, stated that the District has no jurisdiction to inspect

laterals on private property. It is the responsibility of the city inspector.

• A cleanout shown on the drawings was not installed, and it was communicated that it

wasn't needed by Keith, contradicting the approved drawings.

• The building inspector made them install the cleanout because it was on the plans.

Proposed Inspection Procedure

• All inspection calls should go to the city building department, which will then notify the

district of the inspection time.

• The city will approve lateral inspections and notify the builder through the building

permit process.

• LPID is not responsible for or required to inspect lateral inspections, which are the

owner's responsibility. The District will inspect the lateral for its own purposes.

• LPID is responsible for inspecting connections to the main line.

GIS and Digitization

• Levi is contracted to GIS the laterals before backfilling to record their physical location.• Todd will provide the city and Kelly with the new procedure to ensure everyone is on the

same page.

Commercial vs. Residential Inspections

• On commercial projects, public works inspections should handle fire lines, storm drains,

and sewer lines, not the building official.

• The speaker suggests that the city should have the final say on inspections.

• The line cannot be buried until it has been recorded on the GIS system.

• Contractors prefer not to leave trenches open over the weekend due to liability concerns.

Waiting for County Inspector

• The speaker waits for the county inspector to arrive before telling contractors to backfill.

•

o This is to avoid liability for the ditch.

o Waiting ensures the county takes responsibility after their inspection.

• In the Wendy's case, the speaker admits to being wrong in telling the county to backfill

before the inspector arrived.

•

o This caused controversy.

• If the inspector is delayed, the speaker suggests calling Kelly or Jared to check their

arrival time.

•

o Alternatively, inform the contractor of the delay and return later.

Procedure Manual and Responsibilities

• The speaker wants to add the inspection process to the procedure manual.

• Concerns were raised about the time commitment required.

• Clarification is needed on Keith and Levi's responsibilities.

Operator Candidates

• One qualified candidate is interested in the operator position.

The position is less than part-time. The District has not made a decision yet on how to

proceed.

• Chris Robinson is interested in merging forces between the water and sewer districts to

build redundancies.

o Chris's proposal aims to address this concern by adding a second person to spread

out the workload.

• Keith suggests having two guys working for both companies or having one guy float

between them.• Todd believes it's not a bad proposal because it builds redundancy and addresses

concerns about double-dipping.

• As the water company grows, it may eventually require two full-time positions or even

three people.

• Jeff states that if they contract with Levi, it doesn't matter who else he works for.

• If contracting out, a backup is needed to cover vacations and ensure continuous GIS

system updates.

o Brendan - Aqua Engineering is mentioned as a company that contracts to run

water systems and provides fill-in operators. This could offer multiple layers of

redundancy.

Potential Solutions and Concerns

• Todd can schedule a meeting with the interested candidate.

• Sharing resources with the water district could provide someone familiar with the area

and systems.

• Concerns about Aqua Engineering include a potential learning curve and inconsistent

operators.

• Training one person could allow for scheduled coverage and familiarity with the systems.

• Brady is interested in discussing the possibility of working with the water company with

Chris.

• Working with Oquirrh Mountain Water, which already has an employee, might be

the easiest solution.

o They could hire a second employee to handle the sewer responsibilities.

• Contracting with Oquirrh Mountain Water, rather than hiring an individual employee,

could simplify paperwork. The District employs the board members. The district

currently does payroll once a year.

• There is a discussion about having two full-time employees, contracting with one

to do the district's work.

o The water company would pay the salaries and bill the district for the hours

involved.

• More information will be gathered on this.

Gerard Property Insurance Claim

• The insurance company is refusing to process the claim due to a lack of information and

communication.

• Utah Local Governments Trust is willing to pay out $5,000.

• Terre will reach out to the Gerrards again and provide them with the contact information

for Utah Local Government Trust and the adjusters.

Stansbury System Sewer System Expansion

• The speaker reached out to Brett Palmer, who has listed this as an agenda item on their

upcoming board meeting.• SPID will only consider annexing established municipal districts into its district for sewer

and water service.

• SPID is working with Coombs Hopkins (Lamina Group) to set up a process to handle the

water treatment.

• SPID estimates an increase in the overall treatment capacity to be somewhere between 15

and 28 million dollars for their anticipated growth.

• Keith suggests redoing a study on different treatment processes and facilities.

• Neil Smart explained that SPID is offering a wholesale agreement, where the district

would pay a set monthly fee for a block of capacity.

•

o If the district exceeds its capacity, it will need to petition SPID for additional

capacity.

Lake Point City Boundary Annex Amendments

• Lake Point City held a public hearing to discuss its annexation plan, which outlines

potential boundary limits.

• Property owners have reacted negatively, stating they are not interested in being part of

Lake Point City.

• The city will most likely move forward with its proposal, potentially considering Erda

City's boundaries to avoid overlapping.

• The city has requested a copy of the district's service district boundaries.

•

o Brandon will look for a digital map of the legal boundary to provide to the city.

Insurance and Contractor Status

• Need to finalize the discussion about insurance.

• Keith and Terry need to provide either a workers' compensation policy or a waiver.

•

o The waiver costs $75 and can be obtained from the Workers' Compensation Fund.

o The waiver states that the individual understands they don't have workers'

compensation and will be covered by their own medical insurance.

• The district wants to maintain a contractor relationship with Keith and Terry.

•

o Adjustments may be needed to ensure this classification is accurate.

o The IRS considers behavioral control when determining contractor vs. employee

status.

• The board members recall when the IRS declared that board members were employees

and had to receive W2s.

Computer Purchase for Keith

• The district needs to purchase a computer for Keith, as budgeted.

• Options for purchasing the computer:

•o Todd can use his Dell business account to purchase a desktop.

o Brady may have access to leftover computers from their office.

• The budget for the computer is $3,213.

Other Business

• Todd no longer has a key to pump station number 4.

• Keith needs to get a new key for Todd and make a set of keys.

• The board should call their auditor to verify the contractor status of Keith and Terry.

• The graffiti on the back of the pump station still needs to be removed. Keith said he will

take care of it.

Board Member and Meeting Date

• The board needs to find an additional board member.

• The next meeting will be held on Monday, October 6th, instead of the usual 2nd Thursday

of the month.

• The board will need to check with Broken Arrow to confirm the location is available on

that date.

Sent from my iPhone

From

Todd May <todd@crossroadsconstruction.us>