Selection process for a solar energy provider

Alexa Wilson, Board of Trustees TUID

November 12, 2025

Introduction:

In 2024 TUID created a strategic plan to reduce the cost of power in its service area. A move from diesel generation to a solution based on solar generation and storage financed by Federal grant funding appeared the most promising.  Several federal grant opportunities were identified to cover the cost. TUID’s grant application was not selected for funding 2024 and the Trump administration pulled all opportunities in early 2025, prompting a rethinking of the available options.

TUID had been working on the possibility of entering into a Power Purchase Agreement (PPA) with a solar energy provider as a backup option while working on grant applications. This option is significantly more costly than construction with grant funding but will still lead to cost reductions. As a comparison diesel generation costs $0.42/kWh in diesel fuel alone. The other main cost is the maintenance costs of the generators, and 85% less use means that much less maintenance costs.

With the cancelation of the grant programs by the Trump administration, TUID accelerated the search for a PPA partner. This has now resulted in the selection of a PPA partner.

The tax credits included in the Infrastructure Investment and Jobs Act (IIJA) of 2021 and the inflation reduction act (IRA) of 2022 are now the remaining major sources of funding for renewable energy projects. These federal tax credits are important for the financial viability of this option. This includes a 30-40% tax credit for renewable energy investments. While the IIJA and IRA have been terminated, the portions ensconced in tax law will be in effect through 2026. This means TUID needs to decide soon.

TUID has selected ALTRIS Energy as its PPA partner:

ALTRIS has offered a 25-year PPA for $0.1765/kWh for power generated by 530 kW solar panels. The system includes solar panels, 1750 kWh battery storage capacity and all ancillary equipment to run the TUID electrical system. ALTRIS provides the financing for the system, through an affiliated party. There will be a charge of $0.1132/kWh for diesel generated power used to charge the battery. The prices will increase by 2% or the inflation rate, whichever is LOWER. The rates are very competitive, and the transaction is very straight forward.

Other proposals TUID has considered

24/7Solar: 24/7 Solar  proposed a concentrated solar plant, consisting of a 125-feet tower with a field of mirrors reflecting sunlight to the top, where it heats air which in turn heats a column of ceramic pellets in the tower, which in turn powers turbines, which generates electricity. This installation run at 25% capacity would provide 100% of Ticaboo’s power needs at initially $0.33/kWh. Rate reductions are possible if more of the power is utilized with growth and rest heat is used to heat homes. TUID has not chosen this proposal, despite its promises of larger scale affordable power for the following reasons:

- Less economical at the outset, with price reductions dependent on uncertain growth.

- Very tall conspicuous tower surrounded by mirrors incompatible with the landscape

- Unproven technologies

Pro-bid: Pro-bid offered a system of 382.5kW solar and 1,672 kWh storage (standard PV and batteries),. The final  proposal was to charge TUID for power sold to third parties at $0.40/kWh for the first 500,000 kWh annually after which it would drop back to $0.19. Pro-bid was working with an outside investor group, which pulled out after getting more information about the financial strength (or lack thereof) of TUID and its inability to secure a guarantor for the loan payments. Pro-bid then withdrew its offer.

TORUS: TORUS Program: 1080 kWh storage and 370 kW PV solar generation at an all-in price of $0.28 per kWh sold by TUID (including the diesel generated power), on a 20-year PPA. After 10 years the price goes up by 10%. This is expected to provide between 75 and 80 % of Ticaboo’s current power demand. TORUS guaranteed expansion of the system to keep generator use under 25%. The technology includes standard solar panels and batteries augmented with a flywheel energy storage device. The system includes hardware and software to seamlessly integrate solar generation, battery storage and diesel generation. TORUS is providing in-house financing for the project.

Humless: Humless‘ approach centered on offering assistance in applying for a federal grant through its connection with professional grant writers and its own technical expertise at its expense. Then, if successful, Humless would be guaranteed the project as the provider and installer of the equipment. As a result of the cancelation of grant funding for renewable energy by the Trump administration, this approach had to be abandoned.

Conclusion

The ALTRIS proposal is the best fit for TUID. It provides provable technology, at reasonable prices and has shown willingness to work with TUID through its challenges. They are also ready to  start and complete installation in 2026 to take advantage of tax credits. The process outlined above included in-depth conversations with five providers of renewable energy. TUID received serious offers from all of them. TUID has fulfilled the requirements of a  competitive process required by its procurement policy and Utah state law.