Teasdale Special Service District
Board Meeting
October 01, 2025
7:00
Members Present:  Ronnie Hunt, Greg Coleman, Jeff Williams, Kendall Nelson, Brig Rees

1. Accept meeting minutes from Sept 03, 2025: Ronnie 1st, Jeff 2nd – All in favor. 
2. Water sample for September were good. 
3. The Board reviewed the Quarterly Financial Report – Approved
4. Kate Chappell presented the idea of using the old corral as an archery shooting range. Board discussed Access points, the fence, gates, etc. Board was in favor. 	
5. [bookmark: _GoBack]Board was presented with letter from Wayne County Road Department. It was decided it should be forwarded to Kirk Jackson at Jackson Excavation.
6. Meter Tags – Ronnie provided 4 new tags to be entered into system.
7. Conflict of Interest/Ethical Behavior Policies need to be signed by Kendall. – Kendall signed.
8. IPS – Water Testing - Nitrates and Turbidity done. Heather confirmed tests were received by state. 
9. Water Testing- Arsenic too high. Take new test 4th Qtr. This year and 1st Qtr. Next year. Greg will order test from Chemtech Ford.
10. Broken Meters – Greg will call Kevin Carter.
11. Board discussed sending overflow to Irrigation – tabled for next meeting 11/5.
12. Board decided on Christmas party to be at Duke’s Slickrock Grill between Dec 8-11.
13. Board Business – Late Payments, Cross connections, Overages 
14. Amount of water used in the month August 1,692,000 gallons.  
15. The spring was producing 70,000 gpm.  
16. Meeting Adjourned at 7:50pm Jeff 1st, Kendall 2nd.  All in favor. 



 
 

