Minutes of the Public Board Hearing of the Administrative Control Board

Of North Emery Water Users’ Special Service District

Held at the North Emery Water Office July 10, 2025

Time 7:00 p.m.

Audio – minutes available at office

Those present- Ray Quinn, Joy Barton, Bill Coyne, Kyle Willis, Kevin Jensen

Manager- Chandler Fillmore   Secretary- Sue McArthur

- Rickie Larson Address The Board

Rickie Larson was absent from the meeting

- Approval to Bid off Truck Bed

The original bed for the GMC can be put up for bid. Chandler will place an advertisement on KSL and with the local newspaper. Joy made the motion to approve to put the truck up for bid. Kyle seconded the motion. Motion carried.

- Managers’ Report

The Treatment Plant flooded on June 15th. The scada and analyzers were fried due to the flooding. The plant was down for a week. North Emery was able to find used parts to replace the equipment that was ruined. Sue will contact the insurance company to see if the will cover the damages. Chandler wrote a letter to the commissioners to address Funding for the flood cost and the yearly loan costs as well due to the mineral lease money being cut. The letter also address that North Emery would like some money from the solar farms. Bill made the motion to approve sending the letter to the County Commissioners. Kyle seconded the motion. Motion carried. Lawrence pressure station is having issues with a valve. Clay Valve will need to service the station.

- Approval of Bills

Joy made the motion to approve the bills. Kevin seconded the motion. Motion carried.

- Approval of Minutes

Bill made the motion to approve the minutes. Kyle seconded the motion. Motion carried.