Oct 6, 2025

MinutesTranscript

### Meeting Start

- The Lake Point Improvement District meeting began on October 6, 2025, at 7:09 PM in the Broken Arrow Conference Room at 8960 Clinton Landing Road, Lake Point, Utah.

- Brady Morris is leading the meeting.

- Attendees: Jeff Caldwell, Todd May, Terry Marshall, Keith Fryer, Brendan Thorpe. Ryan De Lo was expected to be late.

### Public Concerns

- No public concerns were reported since the last meeting.

### Approval of Minutes

- August 14th minutes were accepted as presented.

- September meeting minutes were accepted as presented.

### Finances

- ACH processing fees for the last month were $219.02.

- $30,000 was transferred from the impact fee checking account to the PTIF impact fee account.

- Checks were issued to:

  - ChemTech Ford for lab services ($471)

  - Blue Stakes of Utah ($88.75)

  - Uppercase Printing for postcards ($121.60)

  - Freedom Mailing Services for outsourced billing ($528.92)

  - Xylem Water Solutions for the new pump ($18,072)

  - FedEx Freight Department for shipping on the xylem pump ($69.18)

  - Tooele Valley Plumbing for emergency sewer pipe problem ($3,362.50)

  - Tooele City for assisting in emergency sewer pumping ($1,133.07)

  - Terry Marshall for Treasurer Services ($2,015.15)

  - Mealy Enterprises for backup operator ($2,528.60)

  - Keith Fryer for operator services ($2,005.26)

  - Todd May for emergency sewer backup services ($350)

- Total expenses for September were $30,984.79.

- Concerns were raised regarding the Mele Enterprises bill, specifically the $75/hour charge for seven hours of work, as it was not previously discussed.

  - Todd will follow up with Mele Enterprises.

- Check number 4731 to Mele Enterprises will be held.  Note. (The $75 per hour charge is a overtime rate. The check was released to Mele Enterprises)

- Revised total expenses: Checks 4722 through 4733 (excluding 4731) total $28,740.77, plus ACH fees of $219.02, for a grand total of $28,959.79.

### Billing and Liens

- Approximately 953 billings were sent out, and payments are being received.

- 70 lien notices were sent to the county.

- A bill from Liberty Plumbing is missing. Terry will follow up.

### Budget and Balance Sheet

- Net income is $230,367.44, which is 72.6% of the budget.

- Ordinary expenses are $112,188.83, which is 81.7%.

- Keith stated, "We still have a bunch of income to come in. That 72% income should be closer to 90%, 95%. When we get all done."

- Approximately $26,390 remains in the payers checking.

- Approximately $5,213 remains in the impact fee checking.

### Net Income

- Net income is $22,731.51.

- Two more checks were written, so the balance sheet and budget were updated.

### Workers Compensation

- Terry contacted the Labor Commission about a waiver.

- The Labor Commission said LPID doesn't qualify for a waiver.

- Terry looked at the audit and LPID is classified as casual laborers.

- A contractual worker is a self-employed individual hired for a specific project or service rather than a traditional employee role.

  - They are not employees of the hiring company.

  - They are responsible for their own taxes and benefits.

  - They are typically issued a 1099 tax form.

- The board should decide whether to pursue the waiver or present a new contract stating workers' comp does not cover them and they are responsible for their own taxes and benefits.

- The insurance agent recommends having a waiver.

- If subcontractors have employees, they have their own workers' comp.

- As a business owner, one is not required to have workers' comp on oneself.

- All the waiver is saying is you acknowledge that you're taking the risk yourself.

- A more formal contractual agreement may be needed.

### Agreement with Tooele City

- Years ago, LPID contacted Tooele City about a service agreement,  and their attorney drafted an agreement.

- Lake Point has never used it.

- The agreement expired in 2012.

- Jamie is the head of the public works department now.

- Jamie said they would be very interested in the renewal of the agreement.

- The language hasn't changed.

- A new agreement will be typed up and sent to Tooele city.

### Sewer Cleaning and Maintenance

- Tooele City was very helpful and seemed very affordable.

- The operator said they would be interested in maintenance type inspections and cleaning, which would fall into their maintenance schedule.

- Need to budget for routine sewer cleanings next year.

  - There is one on Sunset to clean.

  - There is one on Center Street to clean, which is pretty flat and long.

  - They generally like to clean it every two or three years.

  - The rest of the sewers have enough slope to them, so it's not a problem.

### Keith’s Computer

### Keith has the 2025 budget complete and a draft for 2026, but it's on his computer, which died.

  - The power supply is the issue.

  - The computer backs up every night.

- They discussed finding a backup computer for Keith.

  - A new one from Dell would cost around $1500-$1800.

  - Keith will talk to his IT guy from Oquirrh Mountain Water to see what he can do.

  - The current computer was made in 2011 and needs to be replaced before the end of the year.

### Performance Data

- BOD: Input of 379, effluent of 17 mg/L.

- TSS: Input of 158, effluent of 44.

- E. Coli: Less than 1.

- pH: Input of 7.8, effluent of 8.6.

- Chlorine residual: 0.27 ppm.

- Average flow was 211,000 gallons, and the maximum was 212,000 gallons.

- Effluent flow was 0.069.

- From September 6th to the end of the month, there was zero discharge.

### Blue Stakes

- Levi is currently paid $1,500 a month to do Blue Stakes.

- The original agreement was that Levi would set up the Blue Stakes system and then turn it over to them.

- The District now has an active Blue Stakes account.

- Notifications are currently sent to Levi.

- Keith would like to receive the Bluestakes notifications. It is discussed by the board that to do so will create confusion.

### Operator Candidates

- They had discussed one individual fairly seriously, but he got hired by West Valley City as a pump operator.

- They need to send out a new advertisement again.

- They should advertise for a contractor.

  - Chris / OMWC is interested in bidding on it.

- They need to decide what the scope of work is and put out a bid on the public government board for a contract.

- The contractor can decide how many people are involved.

- Whoever they hire has to be a contractor, as they are not supposed to use casual labor.

### Maintenance Requirements

- Tooele City is required by their insurance company to inspect every manhole once a year, clean every pipeline every three years, and camera every five years.

- The Gerard claim brought up the question of how often they cleaned their lines.

- Keith provided information on their cleaning schedule.

- They have a schedule for cleaning, but they need to catch up.

- Some lines, like Saddleback Boulevard, only need cleaning every 10 years.

- They need to determine what their requirements are for cleaning every line.

- They are in the process of doing it.

### Operator Candidate Job Description

- Need to know the required reports, day-to-day tasks, and maintenance duties.

- Reports are a once-a-month deal.

- Need someone to back up the current operator for vacations.

- The contract is looking like a real solution to supplement the work.

### Hiring Challenges

- Previous attempts to hire someone have been unsuccessful.

- One candidate took a full-time job with West Valley City.

- Other applicants were unsuitable (e.g., truck drivers, high school kids).

- Keith suggests hiring an apprentice as a contractor.

### Board Member Replacement & Potential Candidates

- The board is short one board member.

- Discusses the possibility of the current operator (Keith) joining the board and contracting out the physical day-to-day tasks.

- Scott Maxfield is a potential candidate, but is not very excited about the prospect.

- There is a new resident in the neighborhood who is an engineer working for the division of water rights.

- The new resident works for the division of water rights as a water rights enforcement engineer.

- He moved from the Department of Natural Resources in St. George.

- He enforces water rights violations on both commercial and private homeowner sides.

- It is mentioned that people on wells will eventually have water meters.

### Proposal & Timeline

- The goal is to get proposals out this month (October) and have a vote by December to start in January.

- The Board needs to figure out a way to get it done because it's moving so slow.

- Suggests finding someone in Lake Point for the position.

- Todd will put together a description and send it out to the board.

- Lake Point City has an email chain that could be used to advertise for board members.

- Suggests including a background in sewer systems and construction as preferred qualifications for board members.

- Todd will ask the city if it can distribute the advertisement to Lake Point residents.

### Saddleback Sewer Backup - Initial Call & Assessment

- Rick Thompson reported sewer bubbling out of a manhole near Flying J.

- The blockage was between the manhole in front of Flying J and the next one down by the intersection.

- Keith Levi was contacted and arrived to help.

- Construction cones were used to create a safe working area. Squeezing traffic down to one lane.

### Response & Resolution

- Unable to reach the usual contacts (Pipe View, Pack West).

- Tooele City was contacted and brought a jet rodder truck.

- A smaller plumber with a trailer-mounted jet rotter was also called.

- The blockage was caused by a pile of gravel and a piece of plywood in the manhole. The plywood had been left over from the original construction

### Spill Notification & Reporting

- The state Department of Water Quality was notified due to the spill entering the storm drain system.

- The storm drains and manholes were cleaned out.

- The state still has an open report and wants to know the plan for final inspection and cleaning.

- There is a standard form inside a permit that needs to be completed.

### Affected Area & Impact

- Brandon took the elevation of the manhole lid where it was filling out and researched back to the inverter pipes.

- The backup affected an area up to Davey's place.

- The hotel (Comfort Inn) was close to being flooded.

- The hotel turned off all their water to help prevent backup.

- The backup reached from the roundabout up to past the new stake center.

### Gravel Issue in Sewer Lines

- The speaker suggests pulling every manhole to find the source of the gravel.

- The speaker suspects the new material is the source of the gravel.

- Silver Spur needs to check, clean, and TV all the lines in Plat 14.

- A punch list of sewer items has already been identified.

### Silver Spur's Lack of Response

- Chris Robinson referred Brady to Bingham Engineering for construction observation.

- The engineer from Bingham Engineering said they also have trouble getting Silver Spur to respond.

- Paul from Bingham Engineering checked manhole 148 and found it clean.

### Proposed Solutions for Manhole Inspection

- Keith was asked not to inspect the manholes himself.

- Silver Spur was expected to provide helpers, but that is not going to happen.

- A temp service could be hired to help pull the manholes, clean them, take pictures, and replace them.

  - The temp service would provide insured labor at an estimated cost of $40-$42 per hour.

### Incident Report Concerns

- The incident report incorrectly stated that the storm drain sump was obstructed by sediment from Silver Spur's work.

  - The speaker claims the sediment and rocks could not have entered the storm drain through the manhole openings.

- The report also incorrectly identified the containment area as a wetland area.

- The speaker suggests correcting the false information in the report.

### Pump Issues

- A new number four pump has been received and paid for and will be installed by the flight version pump company.

- A pump failure occurred at the regional pump station in a pump that was less than four and a half months old.

- Keith checked the panel and VFDs after the pump failure, and it seems to be ok.

- A spare pump will be prepared for installation, and the faulty pump will be removed, likely the following week.

- Getting help with the pump replacement might be easier.

- The new pump should be easy to install because the guide rails are stainless steel.

- The whole process should take a little more than an hour.

### EPA Report

- An EPA report needs to be filled out.

- The speaker will talk to Katie tomorrow.

- Katie said the information she has is enough to fill in all the blanks.

- The Todd wants the Keith to tell Katie that they have talked and have a plan to get some people to inspect the area.

### Stansbury Sewer System Extension

- Brady spoke to the board and to the Stansbury Park Improvement District board.

- It was a fact-finding discussion.

- A growth model was prepared for Stansbury Park Improvement District as they're trying to get an impact fee facilities plan for their sewer treatment plant upgrade finished this year.

- They are on a tight schedule to get their treatment plant operational by the end of 2029.

- Oquirrh point Improvement District is in the process of formalizing an interlocal agreement to receive wholesale sewer service.

- Lake Point is evaluating what the district is going to do and how they're going to deal with nutrient removal in the future and their eventual treatment plan upgrade.

- The growth model included what it would look like for Lake Point to receive wholesale service from Stansbury Park.

- The board had not really considered Lake Point as a wholesale customer.

- The speaker took Keith's data and projected it out to 2029 as a theoretical year that Lake Point would connect.

- If OPID and Lake Point connect and SPID brings all their growth, their 2.7 million gallon capacity would be at capacity in 2031-2032.

- Their phase two is 3.5 million gallons per day, which would almost get to the 20-year growth.

- There were no board members in absolute opposition.

- Oquirrh Point Improvement District will have a takedown schedule in their agreement with Stansbury Park.

- They will have to figure out their own growth and give it to Stansbury Park.

- The agreement will include a takedown schedule of ERUs of capacity in their system.

- They will guarantee that over the next 10 years they want to reserve a certain number of ERUs in Stansbury Park's treatment facility.

- This is how it works between two government entities and is modeled after other entities in the valley.

- There is a shared risk to come up with the right number for the growth rate.

- It is a commitment by contract to reserve that capacity.

- If they underestimate and need more capacity, Stansbury Park may not have it.

- It takes at least four years to get treatment capacity upgraded in the system.

- The projection of growth did not take into account what Kennecott might do.

- It was just based on Stansbury Park, OPID, Joe White, and Lake Point.

- Kennecott would have to create a public entity and a district to work with SPID.

- It felt like it went favorably and the board members gave some good head nods about potentially looking at a more regional solution for sewer.

- The next upgrade for Stansbury Park Improvement District is to 2.7 million gallons a day.

- To get to 3.5 million gallons a day, they need new headworks.

- They would also have to add another contact chamber for disinfection.

- They are going to upgrade their lagoons with a more advanced system with a rapid aeration system.

- They will also add more air for nitrogen removal.

- They will add another building with some alum and mixing baffles for a mixing cell.

- They are not fully ready to go to a mechanical plant, but they have lots of land.

- There is a meeting with the state this week to make sure they are good with the system.

- Their lagoon system will stay the same size, just with a lot more air.

- They are going to add another three blowers.

- The power bill on those blowers is going to be very expensive.

- The next permit renewal will likely have the same limitations.

- They have to monitor for ammonia, nitrates, nitrates, nitrites, and phosphates

- At some point, they will have to meet certain requirements.

- They have looked at several options, including wetlands and a mechanical treatment plan.

- They have also looked at just upgrading and expanding the lagoon system.

- Time and temperature help with nitrogen removal.

- Next meeting, there will be a report from engineering on all the different treatment systems that were looked at.

- One of the more favorable options back then was the MVR because it produces really low TSS and BOD.

- Keith is anticipating that phosphate removal will be required in the next permit.

- The water goes out to a big evaporation area and disappears.

- It doesn't go into an inevitable body of water.

- The regulators may not make an exception.

- Brady will keep in touch with SPID and make sure they are included.

- It is recommended to stop by and call Brett once a quarter to keep in touch.

### Wastewater Treatment Agreement

- The agreement extends to 2030.

- The commitment to OPID is to start letting them connect.

- Flow rates per ERU are higher than Stansbury's, possibly due to groundwater infiltration.

### Groundwater Infiltration

- It may be beneficial to limit groundwater infiltration in the sewer system.

- The new pump station has all new PVC pipe from SR36, with no leaks there.

- There may be a small leak in the lower part of Canyon below the canal.

- Older areas of Lake Point may have more infiltration where the groundwater is higher.

### Sewer Line Inspection and Repair

- A good portion of the sewer line has been TV'd and is made of concrete pipe in four-foot sections.

- Leaks were mainly found in lower areas with high groundwater.

- Repairs on Canyon Road involved using balloons and a compound to seal leaks.

- A UV light hardens the liner, providing structural integrity.

### Sansbury Park Improvement District

- Board meetings are on the third Tuesday at 4 p.m.

- It would be beneficial to start attending the meetings.

### Previous Meeting Minute Corrections

- Add Ryan as an attendee for the September meeting (by phone).

- Correct spelling errors: "Jeff Caldwell" should be "Jet Caldwell."

- Check the August meeting minutes to see if Ryan's name is on that one.

- Jared resigned at the August meeting.