


DIXIE DEER SPECIAL SERVICE DISTRICT 
ADMINISTRATIVE CONTROL BOARD MEETING OF
WEDNESDAY October 16, 2024, at 7:00 P.M.
1. CALLED TO ORDER: At 7:00. (Chairman) Jim Rowles called the meeting to order. He then led all present in the Pledge of Allegiance to the Flag.
2. OPENED: REGLULAR MEETING: (Chairman) Jim Rowles; We have five Board members in attendance at tonight’s meeting (Vice Chairman); Jason Ranoa; (Clerk) Jan Hamilton; (Treasurer) Lauri Marsh; (Director) Wes Peterson; (Water Master) Wayne Gudgell; (Admin assistant and Scribe) Susan Gudgell. Jim welcomed Guests ChyAnn Christensen and Kyle Millington and Kim and Jana Leany
3. CLERK’S REPORT: Jan Hamilton began her report by saying she went over everything and it looks good. Jim moved to accept the Clerk’s Report Jason seconded it all in favor of accepting the Clerk’s report. Unanimous.
4. TREASURER’S REPORT: Lauri began her report by stating that in the Zions Bank General Account we have $52,315.27, in the Zions Bank Rural Development Payment Account we have $8,007.00, in the PTIF Capital Improvement Reserves we have $80,195.52, in the PTIF Utah Division of Drinking Water Reserves we have $87,870.45, in the PTIF Rural Development 10-year Payment Reserves we have 79,919.31. Total PTIF Accounts is $247,985.28, Total Checking/Savings is $308,307.55. Jason moved to accept the Treasures Report, Wes seconded it all in favor of accepting the Treasurer’s Report. Unanimous.
5. PREIOUS MONTH’S MINUTES: Board members reviewed the minutes of October 16, 2024, Board meeting. Jason moved to accept the minutes Wes seconded it. All in favor of accepting Previous Month’s Minutes. Unanimous
6. DISCUSS WELL #4 PROBLEMS: Jim stated that the pump on well #4 has failed. Jim went on to say that he had called the Southwest Pumps the company who had installed the pump to see if by chance the pump was still under warranty Jim was told the warranty was for only 1 year and the pump is 2½ yrs. Jim continued by saying the pump had been ordered but before it can be installed their will have to be a flow test done. Wayne explained the importance of doing a flow test. They want to see the draw down time on it and then what the recovery time is. This is done over a 12-hour period.
7. DISCUSS ITRON FUTURE NEEDS: This item has been tabled. 
8. WATER MASTER’S REPORT: Wayne began his report by stating that last month we pumped 3,596,433 gallons of water, this averages out to be 119,881 gallons of water a day. Water sample taken to St. George fine. Wayne continued his report by saying he would read the meters on the 26th of October and stuff envelopes on Wed the 30th of October. The water was turned off at Valley View and Red Cliffs Road due to a leak. The leak has been repaired.
9. PUBLIC COMMENTS: The Board listened to ChyAnn Christensen and Kim Leany about their plans of the future development of their property located on the south side of Frontier Road. The Board asked them to bring a set of plans to November’s meeting so the Board can review them.
10.  ADJOURN REGULAR MEETING: Meeting was adjourned at 8:23 P.M.
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