Development Services Department

## Storm Water Facility to Be Used as Open Space Request: Nathan Horan on behalf of Hawkmoon Holdings LLC and White Horse Land LLC is requesting the City Council grant approval for a storm water facility to be used as open space within the Hiatt Creek Plat A proposed subdivision area.

| Applicant: Nathan Horan Hawkmoon Holdings LLC White Horse Land LLC Staff Coordinator: Michael Bryant Citywide Application: None Commission/Council Action Required: Yes Actions: - Approval of the request - Deny the request - Table the request with guidance to the applicant and staff regarding what additional information the city council would like to see. | - Relevant History: During June 21, 2023, City Council Meeting, on another phase of development known as Hiatt Creek Plat B, the applicant sought and obtained approval from the City Council for a storm water facility to be used as open space. This development phase is currently under construction. This phase is located immediately to the west and north of the current request for a storm water facility as open space. - The current request within Hiatt Creek Plat A for a storm water facility to be used as open space is similar in width to the one approved in 2023 for Plat B. The current request has two areas, the first is between townhome units and is proposed to be approximately 57.5 feet from back of townhome to back of townhome. The approved open space from 2023 (Plat B) is approximately 54 feet from back of townhome to back of townhome. - The second area in the current request is not adjacent to townhome units on both sides. It is in the southernmost portion of the property (see attachment). It measures approximately 53.5 feet from the southernmost townhome unit to the property line. |
| --- | --- |
|  | Applicant Request: - Request To Use Storm Water Facility as Open Space: As per Payson City Code 13.14.070.13 Open Space. There is a provision that allows the City Council to approve this request upon meeting some criteria within the code. |
|  | - Development Review Committee Concerns: Provided the request meets the criteria in Payson City Code Section 13.14.070.13 Open Space, the Development Review Committee has no significant concerns with this request. |
|  | - Summary of Code and Proposed Amenities: - Payson City Code Section 13.14.070.13 Open Space reads as follows concerning the use of storm water facilities used as open space. - In general, the acreage set aside for storm water facilities should not be used toward the open space requirement. However, depending on the location, size, design, access and usability of the storm water facility, the City Council may, but is not obligated to, allow the acreage to be used to satisfy the open space requirement. At a minimum, the storm water basin must satisfy the following: Placed in a centralized location within the project or reasonably connected to other project amenities. The slope of the basin cannot be steeper than 5:1. The size of the basin and adjacent landscaped area must be at least ten (10) percent of the required open space requirement. The landscaping treatments must be suitable for use by the residents of the project and include amenities as deemed appropriate. - The applicant proposes to landscape the storm water facility areas with sod, then surround the area with perimeter fencing, trees, sidewalks and benches. Additionally, the application proposes to create a dog park and dog waste station in the southernmost stormwater facility if that is permissible with stormwater codes. - Elsewhere on the property the applicant shall install a trail along 1950 West that will connect into the citywide trail system. This development will also benefit from other off-site amenities that are part of the larger scale development of the applicant, including a clubhouse, pool, playground, pavilions, sports courts and additional regional trail connections. |
|  | - Staff Comments: - Development Services: This same request was approved on Hiatt Creek Plat B for a similar width storm water facility. Unfortunately, Hiatt Creek Plat B is still under construction, so it is not possible to see the finished storm water area and how it is used as an open space currently. |

FINDINGS OF FACTS

- The area proposed for a storm water facility as open space meets the requirements for consideration under Payson City Code 13.14.070.13 Open Space.

- The requested areas dimensions are as follows; Area #1 is approximately 57.5 feet from townhome unit to townhome unit and approximately 162 feet in length, with approximately 28 feet from top of basin to top of basin (see attachment). Area #2 is approximately 53.5 feet from townhome unit to the property line and approximately 151 feet in length, with approximately 24 feet from top of basin to top of basin.

- The total area of the storm water facility and adjacent landscaped area is 24,544 square feet. Which equates to 11% of the required 30% open space area for development.

STAFF ANALYSIS

The proposed request has been approved in a nearby phase (Plat B) of development for the same applicant. Plat B is currently under construction along with the storm water facility/open space area. This current request meets the criteria for consideration as outlined in Payson City Code. However, it should be noted that the code also states that “the City Council may, but is not obligated to, allow the acreage to be used to satisfy the open space requirement”.

Staff believe that the applicant has made a proposal that would meet the criteria in Payson City Code and has identified additional amenities that would help to activate the areas as open space including; sod, sidewalks, trees, and benches. If approved the applicant will provide a complete landscaping plan for staff during their application for final plat approval.

CITY COUNCIL ACTIONS

- Council may approve the request for a storm water facility as open space as presented.

- Alternatively, the City Council may consider approval of the storm water facility with conditions or modifications such as other reasonable enhancements and/or amenities to be associated with it.

- Finally, the City Council may deny the request for the storm water facility to be used as open space.

ATTACHMENTS

- Attachment #1 Storm Water Facility Area Proposed as Open Space

- Attachment #2 Area Square Footage and Dimensions

- Attachment #3 Applicant Amenities

- Attachment #4 Map of Previous Phase Approval of Plat B Storm Water Facility as Open Space