Review of: Ludean, Mark, and Marjorie Haskell Addition Annexation Application

Approximate Address: 10755 S. 2100 W.

Parcels: 30:050:0121, 30:050:0082, 30:050:0081

Acreage: 6.57 acres

______________________________________________________________________________

Weighted Annexation Criteria:

☒  Meets Criteria	☒  Doesn’t Meet Criteria	☒  Partially Meets Criteria

  - ☒  Minimum of 10 acres. (.05). The total acreage in this request is only 6.57 acres (0.0)

  - ☒ All utility and infrastructure costs related to development will be the responsibility of the annexation sponsor, property owner, developer and/or applicant. (.05). This is an expectation of all annexations the applicant hasn’t asked for anything different. (0.05)

  - ☒  All requirements related to electrical service must be resolved prior to annexation. (.05). This is an expectation of all annexations, the applicant hasn’t asked for anything different. (0.5)

  - The applicant must coordinate with South Utah Valley Electrical Service (dba SESD) and provide documentation that service will be provided by Payson Power and all facilities will transfer to Payson Power at the expense of the applicant.

  - ☒  Engineering and subdivision plans necessary to support the requested zoning designation are provided with the annexation application. (.1). Applicants have shared a conception lot layout for development. (0.1)

      - Development permit shall be required within five (5) years of annexation/zoning approval or zoning designation will revert to A-5-H, Annexation Holding Zone.

  - ☒  Ensure utilities are currently available to service the area proposed for annexation or can be upgraded and tie directly into the existing systems. (.35). Applicant hasn’t demonstrated this to staff yet (0.1)

  - ☒  A Specific Area Plan is in place. (.15). No specific area plan was submitted with the annexation petition, however the applicant has committed to meeting the East Side Comprehensive Plan for development density. (0.1)

  - ☒  The applicant has provided an explanation of benefits that the proposed annexation will provide to the community (economic, natural resources, connectivity, services, financial obligations/benefits, etc.). (.25). Primary benefit the applicant has stated is for move-up housing options for the community. (0.1)

Total Weighted Criteria Score: (0.5 out of 1.0)

State of Utah Annexation Criteria:

The annexation sponsor must address the criteria below to the satisfaction of Payson City.

- Character of the Community. Annexation will accommodate development consistent with the General Plan and new development will be sustainable and improve the community. If the proposed development does not improve the city, the development should not occur.

- Municipal Services. Annexed and development areas must be carefully evaluated to determine the impact of municipal services for required staffing increase and projected maintenance costs. Annexation sponsors must demonstrate how municipal services will be provided to the area proposed for annexation.

- Extension of Municipal Services. Delivering high-quality municipal services throughout the city is a high priority. As a condition of annexation, developments may be required to extend or improve streets, power, water and sewer, and other vital public facilities consistent with the City’s master plans.

- Service Financing. Upon annexation, the City has the authority to require a developer to install, upsize, or improve offsite facilities as a condition of annexation. In some cases, an update to Payson City’s studies, including Utility Master Plans, Capital Facilities Plans, and impact fee reports. These costs shall be borne by the applicant.

- Estimate of Tax Consequences. When unincorporated area is annexed, those areas may increase in value, providing additional tax base for the city. The applicant must provide evidence that the annexation will not place a burden on existing residents or future residents of the city.

- Interest of Affected Entities. Various entities may be affected by an annexation such as other municipalities, school districts, special service districts, county, state and federal government entities. The applicant shall provide notice to these affected entities concerning the annexation process and ensure their interests are addressed.