Development Services Department

## Conditional Use Permit for Enbridge Gas Regulation Station: Titus Cordingly on behalf of Enbridge Gas Company seeks conditional use permit approval for a natural gas regulation facility at approximately 1498 South and 1700 West.

| Applicant: Titus Cordingly Enbridge Gas Company Staff Coordinator: Michael Bryant Citywide Application: None Commission Action Required: Yes Alternative Actions: - Approval of the requested conditional use permit with additional conditions - Deny the requested conditional use permit - Table the request with guidance to staff on revisions | - Relevant History: Payson City Code Title 13 Appendix A identifies gas pressure control stations as a conditional use within all zones of the city, including the A-5 zone where the property of 1498 South and 1700 West is identified by the applicant for such facility to locate. - As per Payson City Code Title 13.28 Conditional Uses. A conditional use is a land use that, because of its unique characteristics or potential impact on the municipality, surrounding neighbors, or adjacent land uses, may not be compatible in some areas or may be compatible only if certain conditions are required that mitigate or eliminate reasonably anticipated detrimental impacts. The land use is permitted in the respective zone but may have impacts deemed to be detrimental. Such detrimental impacts are those which go above and beyond those typically found within the zone. Accordingly, the land use authority may impose conditions to mitigate these impacts. - The above language of the code entitles conditional uses to approval if conditions can be - imposed that mitigate or eliminate the detrimental impacts of the use. For conditions to - be imposed, the conditions must relate back to general or specific criteria within the city’s code - and the condition must have a “nexus” or a direct relationship to the impact or detrimental - effects that the use might impose. There are no specific criteria in Payson City Code for gas - pressure control stations, so this conditional use permit will utilize the general review criteria - found in Payson City Code Title 13.28.050 General Review Criteria and shown below in this - report. - An applicant for a conditional use in the zone may want to demonstrate measures taken to address any reasonably anticipated detrimental impact. Attention shall be given to any impact that reasonably relates to health, safety, and welfare, especially health and sanitation, safety to people and/or property, and compliance with the general plan and conditions found in the base zone. - Factors that an applicant and land use authority should, at a minimum, consider relate to: - Fencing, screening, and any visual blight or glare - Landscape buffers and setbacks, especially between dissimilar uses and zones - Lighting and light shielding - Restrictions on hours of operation - Measures to reduce noise, pollution, debris, vibration, and smell or odor - Impacts on and improvements to roads and streetscape, trails, curb, gutter, sidewalk, and vehicular circulation. This may include turn lanes, pedestrian access, bike infrastructure, or any improvement necessary to maintain the desired level of service - Crowd management and circulation - Emergency vehicle access - Utility impacts and capacity to include sewer, culinary water, pressurized irrigation water, and storm drain - Compatibility with surrounding structures in terms of use, scale, mass and circulation - Impacts on adjacent properties and the neighborhood at large - Other impacts on city systems |
| --- | --- |
|  | Applicant Request: Refer to the Attachments for more detail - Install a new gas regulator facility within an exclusive 80’ x 120’ easement on Utah County Parcel #45:197:0002 |
|  | FINDINGS OF FACTS - Gas regulator facilities must be properly located and protected from general public access. - Gas regulator facilities still must meet all industry health, safety standards and city requirements. - Gas regulator facilities can have an unsightly impact on the surrounding area. - Emergency access must be available to all utilities including private natural gas facilities. STAFF ANALYSIS The proposed conditional use request poses some concerns that staff wish to eliminate or mitigate substantially. Below are the general review criteria that staff feel is applicable in this request and what staff’s recommended conditions relate to. - Fencing, screening, and any visual blight or glare. The applicant has proposed a precast concrete panel wall, eight feet in height and resembling a brick or stone wall structure to reduce blight, glare and provide fencing and screening. - Landscape buffers and setbacks, especially between dissimilar uses and zones The applicant is proposing a fifteen (15) foot buffer from the north property line to the fence of the gas regulator facility and an additional twenty-five (25) foot buffer from the fence to the gas regulator structure. On the west side a sixty-six (66) foot buffer from Spring Creek to the gas regulator fence is proposed. - Lighting and light shielding. Staff recommend as a condition of approval that all lighting be shielded downward facing and away from adjacent residential uses. Lighting should only be of an intensity appropriate for the illumination of the site and not impose trespassing light into the street creating a glare or towards residential developments. - Measures to reduce noise, pollution, debris, vibration, and smell or odor. Staff feel as if the setback buffers identified by the applicant adequately address these criteria. - Impacts on and improvements to roads and streetscape, trails, curbs, gutter, sidewalk, and vehicular circulation. This may include turn lanes, pedestrian access, bike infrastructure, or any improvement necessary to maintain the desired level of service The applicant proposes to widen the road and install curb, gutter and sidewalk along the frontage of the proposed site. Staff is recommending that the applicant work with the property owner, Christian Life Church to install required improvements of road widening, curb, gutter and sidewalk along the entire frontage of the parcel fronting on 1700 West. - Emergency Vehicle Access Enbridge Gas requests to maintain the security of the site so no direct access to the regulator facility structure will be provided, however the company and emergency services should have a coordinated plan on how they will work together in case of an emergency. - Utility impacts and capacity to include sewer, culinary water, pressurized irrigation water, and storm drain The applicant will install all the necessary public utilities for this site. Additionally, the north property public utility easement will not be imposed upon and may still be used by Payson Power. Storm drainage will be appropriately addressed for the site. - Impacts on adjacent properties and the neighborhood at large - The applicant is proposing a decorative eight (8) foot sight obscuring fence around the site. Staff would recommend that the trail corridor adjacent to Spring Creek be preserved and improved to Payson City trail standards. - Other impacts on city systems - The Payson City General Plan identifies a regional trail to travel along this property near Spring Creek. Staff recommend that the trail corridor adjacent to Spring Creek be preserved and improved to Payson City trail standards. |
|  | - Development Services Staff Comments: Staff are supportive this conditional use permit provided it minimizes visual impact on current and future residential development, preserves and improve the trail corridor along Spring Creek, and the applicant work appropriately with Christian Life Church to coordinate the installation of additional road width, curb and gutter along the extent of the property. |
|  | - Staff Recommendation: - Staff have a positive recommendation for approval of this conditional use permit with the following proposed conditions. - Lighting be screened and shielded from adjacent residential uses, and intensity should be of an acceptable lumen standard. - Mobilize and coordinate the installation of road width, curb, gutter and sidewalk with Christian Life Church. - Have an acceptable emergency response plan that will allow Payson City to appropriately respond and assist in an emergency. - Preserve the trail corridor and install trail along Spring Creek, working with Christian Life Church to do so along the entire width of the parcel. - Site plan approval process must be followed in addition to Conditional Use Permit approval. - Land use transitions be imposed including landscape buffers and a decorative pre-cast concrete wall around the entire gas regulator site. |

PLANNING COMMISSION ACTIONS

- Staff Recommendation: Staff recommend approval for the requested conditional use permit including the above stated conditions.

- Alternatively, the Planning Commission may consider approval with additional conditions if they identify other detrimental impacts that must be mitigated.

- Finally, the Planning Commission may deny the conditional use permit. This may only be done if they applicant is unable or unwilling to meet reasonable conditions that mitigate the harmful or detrimental effects of the use being requested.

ATTACHMENTS

- Attachment #1 Vicinity Map

- Attachment #2 Site Plan

- Attachment #3 Fencing Sample

- Attachment #4 Building Structure Sample