

[image: A black and white logo

Description automatically generated]
	Lynndyl Town                    
PO Box 40207
Lynndyl Ut 84640
Lynndyl.clerk@gmail.com
Minutes
Lynndyl Town Council
October 7, 2026
7:00 PM

Council in attendance: Mayor Chase Nielson, Miff Bishop, Richard Pyne, Spencer Proctor, Julie Dutson
Others in Attendance: Mary Carpenter, Joe Carpenter, Linda Tanner, Roger Stowell, Steven Davidson, Marsha Davidson

Chase Neilsen called the meeting to order.  Richard Pyne made a motion to approve minutes from September, Spencer Proctor seconded.   Miff made a motion to approve financials for September, Spencer seconded.
Water Report
The Consumer Confidence Report has been posted at the post office and still needs to be posted online.  The latest water report indicated the absence of E. coli. The sampling budget is under budget.    The current budget of $400 is not sufficient to cover sampling expenses.  Rural water will be present on Oct 14th for a public meeting.  Approximately 45 points were reported against Lynndyl town, which is noted as a high number for a small-town water system. Pat, from Rebel Automation came out and reprogrammed the VFD.  The VFD helps ensure the pumps operate safely.  A trigger wire was missing and had to be installed.  All pumps are currently working.  A water leak was repaired in town.  Thank you to the Mayor, Joe Carpenter, Spencer Proctor and Richard Pyne for fixing the leak.
Cross-Connection Deficiencies
The Council discussed cross-connection deficiencies and concerns regarding hoses left on the ground and other situations that could contaminate the water supply. Joe Carpenter had a call with the Sate of Utah and renewed his license.  Joe is registered with the state.  Contact names and phone numbers need to be obtained and maintained for any trucks/businesses getting town water.
The town needs to identify the location where trucks/businesses can get water from a fire hydrant.  Joe will monitor the fire hydrants.  He can be on call from 7:30 – 3:30 to maintain water is gathered using the proper method for cross connections.
Cemetery
Flowers need to be removed from the cemetery. Sunken graves need attention.  Additional dirt may be needed to fill the areas
Mayor - Town Cleanup - The town cleanup was discussed.  Dumpster at the park needs to be emptied and brought back to the park for further cleanup.  
Water
Richard Pyne – no business
Roads
Miff Bishop – Signs have been ordered for yard waste.  Mayor Chase Nielson located his road sign after the storm.  Miff will get it put back up.
Planning and Zoning 
Julie Dustson signed the Oath of office and will replace Matt Dutson
Data Center project has advanced to the second round.  Data Centers use glycol 
Steven and Marsha Davidson to replace Dave Stemmons for Planning and Zoning
Parks/Cemetery
Spencer – New roof completed for the town hall.  Stucco work is planned for the building.  A new roof is planned for the pavilion.  Windows and certain doors are to be replaced at the town hall.  Pest control treatment was completed for insects and rodents.
Fire Department
Richard Pyne – The fire department BBQ and Halloween party were discussed.  Marsha Davidson will help organize the fire department BBQ for October 28th.
Clerk
Mary Carpenter – 2026 Audit, Pelorus will handle Bank Reconciliations and PTIF reconciliations.

Chase Nielson made a motion to adjourn the meeting, Spencer Seconded, meeting adjourned




___________________________________
Mary Carpenter, Lynndyl Town Clerk
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