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	Lynndyl Town                    
PO Box 40207
Lynndyl Ut 84640
Lynndyl.clerk@gmail.com
Minutes
Lynndyl Town Council Meeting
Oct 14, 2026
7:00 PM


Council in attendance: Mayor Chase Nielson, Miff Bishop, Spencer Proctor, Richard Pyne
Others in Attendance: Mary Carpenter, Joe Carpenter, Janell Braithwaite and Mike Johanson

Rural Water Presented

The Division of Drinking Water has a status of 75 points for the town of Lynndyl.  Lynndyl lacks written records of CCC activities and lacks on-going enforcement implementation, and the town needs a certified DRC.

State rule regarding backflow prevention R309-105-12, “Public water system shall not allow a connection that may jeopardize quality or integrity of the water system”.  Suppliers shall maintain, as proper documentation, an inventory of each pressure atmospheric vacuum breaker, spill resistant pressure vacuum breaker, double check valve, reduced pressure zone principal assembly, and hazard or air gap used by their customers, and a service record for each such assembly.

The Consumer Confident Report is due each year by July 1.  Lynndyl missed this deadline.  Lynndyl has since submitted the report, there is a copy at the post office and on the Lynndyl website.  

House Bill 19

This bill requires community drinking water system to strengthen operational security and incident response procedures.  Lynndyl could apply for a 20,000 grant for cyber security. 

Meeting adjourned











___________________________________
Mary Carpenter, Lynndyl Town Clerk
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