DRC Members in Attendance: City Engineer Jon Lundell, City Planner Aspen Elmer, Building Official Jared Shepherd, Public Works Director Jason Callaway and Fire Marshal Allen Duke.

Excused: Community Development Director Morgan Brim, Police Lieutenant Mike Wall and Assistant City Manager Jason Bond.

Others in Attendance: Engineer Megan Wilson, Deputy City Recorder Gwen Butters and other members of the public.

Lundell called the meeting to order at 10:00 a.m.

NEW BUSINESS

1. Sunset Ridge Preliminary Plan Review

The Development Review Committee (DRC) conducted its second review of the Sunset Ridge Preliminary Subdivision application, which was previously tabled pending revisions to the plans, particularly concerns regarding roadway slopes.

Lundell explained that the City's standard maximum roadway slope is 10%; however, the Hillside Overlay Zone permits slopes up to 12%, subject to City Council approval following recommendations from the DRC and Planning Commission.

The proposed roadway grades are influenced by existing road connections, driveways, and restrictions associated with the planned NRCS debris basin. The developer revised the roadway design to reduce the length of the 12% grade and improve vertical transitions. Approximately 450 feet of roadway remains at a 12% slope.

Callaway and Duke expressed concerns regarding snow removal, garbage collection, and emergency vehicle access during adverse weather conditions. Both acknowledged that the proposed slopes comply with the Hillside Overlay Zone requirements and supported forwarding a recommendation for consideration by the Planning Commission and City Council.  Duke also noted the development's location within the Wildland-Urban Interface (WUI).

The Committee discussed the following outstanding items:

Service Notifications: Future subdivision plats shall include a note advising property owners that municipal services may be delayed or impacted due to steep roadway grades.

Remnant Parcel: The developer must clarify the proposed use and ownership of the remnant parcel before Planning Commission review. Potential uses include open space dedication or a common area associated with the townhomes, potentially providing additional parking. Any proposed dedication to the City remains subject to further discussion and approval. Ownership and maintenance responsibilities must be clearly established.

Traffic Control: Stop signs are required at the intersections of Lambert Lane and Cherry Lane, and Oh Henry Street and Fuji Lane.

Utilities: No additional utility concerns were identified. Callaway acknowledged the developer's revisions to the waterline layout.

No further comments from the DRC Committee were received.

Elmer made a motion to forward a favorable recommendation for the Sunset Ridge Preliminary Subdivision to the Planning Commission, contingent upon resolution of all outstanding redline comments, and to recommend approval of the proposed 12% roadway slopes to the Planning Commission and City Council.  Duke seconded the motion.

City Engineer Jon Lundell				Yes

Community Development Director Morgan Brim		Absent

City Planner Aspen Elmer				Yes

Building Official Jared Shepherd				Yes

Public Works Director Jason Callaway			Yes

Police Lieutenant Mike Wall				Absent

Fire Marshal Allen Duke					Yes

Assistant City Manager Jason Bond			Absent

The motion passed.

MEETING MINUTES APPROVAL – October 13, 2026

Callaway made a motion to approve the DRC meeting minutes from October 13, 2026.

Shepherd seconded the motion.

City Engineer Jon Lundell				Yes

Community Development Director Morgan Brim		Absent

City Planner Aspen Elmer				Yes

Building Official Jared Shepherd				Yes

Public Works Director Jason Callaway			Yes

Police Lieutenant Mike Wall				Absent

Fire Marshal Allen Duke					Yes

Assistant City Manager Jason Bond			Absent

The motion passed.

ADJOURNMENT

Elmer made a motion to adjourn the meeting.

The meeting was adjourned at 10:21 a.m.

Jon Lundell, City Engineer					Gwen Butters, Deputy City Recorder