PARAGONAH TOWN BOARD 
 REGULAR MEETING 
44 NORTH 100 WEST, PARAGONAH TOWN HALL 
December 12, 2018 – 7:00 P.M. 

Attendance/Town Board Members:  Todd Robinson (Mayor), Mike Abbott, Earl Olsen, Marge Cipkar, Mark Barton.  

Others in Attendance:  Tom Milk (Certified Water Operator), Eric Walker, Amy Merrell, Scott Merrell, Matt Lister, Nate Christensen (Sunrise Engineering), Steve Hansen (Sunrise Engineering.) Late:  Dart Judd.  Absent:  Jayne Stones, Clerk
 
1.   Call Meeting to Order:  Todd Robinson called the meeting to order.  
 
2.  Declaration of conflict of interest:  None declared.  

3.  Adopt Agenda:  Mark Barton moved to approve the agenda as presented.  Earl Olsen seconded the motion.  All in favor.  Motion carried. 

4.  Approve minutes of November 14, 2018, regular meeting:  Earl Olsen moved to approve the minutes of the November 14, 2018, regular meeting as presented.  Mark Barton seconded the motion.  All in favor.  Motion carried.  

5.  Water Master Plan Update:  Nate Christensen and Steve Hansen with Sunrise Engineering discussed the update to the Water Master Plan.  The system users analysis is based on an assumed 1% growth rate with the average usage of 242 gallons per day per connection. Peak demand is double.  Average usage in gallons per minute for August 234, September 210, October 192, and November 185.   A new meter is needed to be able to check the flow. House Bill #303 requires water systems to provide water usage readings daily by the year 2023.   They suggest the Town install a SCADA system which includes an alarm and an automatic reading of usage and records the numbers, and two additional flow meters to comply with HB303.  A population of 500 is the cut off point for having to follow this rule.     A follow up needs to be done on water rights certificates including proof of beneficial use, ownership segregation and change applications.  The town also needs to find a second water source.  They recommend drilling a new well.  Adequate fencing needs to be provided for security around the existing springs and tanks. Storage capacity was discussed.  Currently the storage capacity for the Town is 270000 gallons.  It is recommended an additional storage tank be constructed at a higher elevation to provide for better pressure at the top of town.   The fire flow requirement is 1000 gpm.  The state requirements are:  Peak Day Demand – 40 psi, Peak Instantaneous Demand 30 psi, and Peak Day Demand with Fire Flow 20 psi.  Their findings show the requirement for fire flow is not being met in most of the hydrants.  This is mainly due to the 4-inch lines that are in place.  They suggest improving the distribution system by first taking  large lines straight through town, and then taking off from main lines to make improvements.  The town currently does not have enough fire hydrants.  About 19 more are needed.     
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Discussion took place concerning proposed funding.   Improvements can be made in phases, or all at once. If done all at once the total cost would be $4725000.  The Division of Drinking Water offers 30-year loans but it must be done on their terms setting the monthly amount billed to our customers.    They look at median income and it must be less than 80%.  We are currently at 91%.   The USDA will give 30% to 45% grants, CIB gives only loans not grants, and CDBG will give all grant but not large grants. We would not be able to apply this year because we have already missed the first required meeting.  The Canal Company money paid would be included in the monthly water bill cost to be able to request grants.  

6.  Report on truck with snowplow that is available and decide if this is something the town wants to look into further:   Todd Robinson reported he called and found out the truck has been sold.

[bookmark: _GoBack]7.  Mayor’s Report:  Todd Robinson reported at one of the meetings he attended, the League of Cities and Towns reported on some new bills regarding secondary water and affordable housing which does not apply to Paragonah because of our population.    Each town can have 3 votes in ULCT, 60% will speak for us in state legislature.  Todd also reported he got an estimate for spraying of cemetery.

8.  Water Report:  Mike Abbott reported he attended a meeting for Parowan Valley water users.  The water table in the last 60 years has fallen 80feet.  If there is no improvement, water rights issued after 1950 would have no water.  They are asking everyone to cut down on use. Information on water rights can be found at water right.utah.gov.   Terry with Rural Water can help the town with water rights. 

9.  Power/Fire Department Reports:  Mark Barton said the 60 transformers he sent in for credit turned into a bill for $5200 to take care of PCBS.  He still has 10 in the yard and some hanging.  Few upgrades have been done this past month on the power.  Haven’t had any major problems with the power.  He had nothing to report for the Fire Department.  Things have been kind of slow.  

10.  Cemetery/Planning and Zoning Reports:  Marge Cipkar had nothing to report.  

11.  Roads/Park/Building Reports:  Earl Olsen had nothing to report

12.  Open Discussion:  None

13.  Adjourn meeting/approve bills/review financial statements:  Mark Barton moved to adjourn meeting. Earl Olsen seconded the motion.  All in favor.  Motion carried.  


 

 	 	 	 	 	 
