SUBDIVISON ORDINANCE

SAN JUAN COUNTY, UTAH

AMENDED MARCH 2019

TABLE OF CONTENTS

Article I.  General Provisions									Page

Section 1.  	Title									3

Section 2.  	Purpose								3

Section 3. 	Jurisdiction								3

Section 4.  	Prohibited Acts and Penalties						4

Section 5.  	Amendments								5

Section 6.  	Severability								5

Section 7.  	Effective Date								5

Section 8.  	Definitions 								5

Article II.  Platting Requirements for All Zones in San Juan County

Section 1.   	General Provisions							12

Section 2.   	Preliminary Plat							12

A.   	Intent								12

B.   	Preliminary Plat Requirements				12

C.   	Conformance with Zoning Ordinance			15

Section 3.   	Final Plat								15

A.   	Intent								15

B.   	Final Plat Requirements					16

C.   	Process							18

D.   	Actions Required Prior to Recording the Final Plat		19

Section 4.    	Minor Subdivision Lots: Issuance of Building Permit		20

Section 5.   	Subdivision Improvement Agreements				20

A.   	Intent								20

B.   	Form and Content						20

C.   	Collateral Required to Guarantee Improvements		20

Section 6.    	Design Standards							21

A.   	General Provisions						21

B.   	Lots								21

C.   	Public Streets							22

D.   	Private Roads							22

E.   	Sidewalks and Pedestrian Walkways				22

F.   	Sanitary Sewage						23

G.  	Water Supply							23

H.  	Storm Drainage						23

I.   	Perimeter Fencing						24

J.   	Fire Protection							24

K.  	Utilities							25

L.   	Easements and Rights-of-Way				25

M.  	Impact Fees							25

Section 7.    	Resubdivisions							25

Section 8.    	Administrative Resubdivisions					25

A.   	Intent								25

B.   	Procedure							26

Section 9.   	Amendments and Vacations						26

A.   	Authority							26

B.   	Procedure							26

C.   	Recording							26

Section 10.  	Exemptions, Waivers, Variances and Appeals			27

A.   	Exemptions from Platting Requirements			27

B.   	Waivers							27

C.   	Variances							28

D.   	Appeals							29

Section 11.  	Conflicts								29

Article III.  Spanish Valley Development Ordinances

Section 1.	Spanish Valley Residential District (SVR)				30

Section 2.	Spanish Valley Planned Community Zone (SVPC)			40

Section 3.	Spanish Valley Highway Commercial Zone (SVHC)		52

Section 4.	Spanish Valley Water Efficient Landscape				61

Appendix A -  		Zoning Ordinance Regulations on Frontage, Side, Width

and Height Requirements for Unincorporated Areas

Outside of Spanish Valley						67

Appendix B - 		Public Street Design Standards for Unincorporated Areas

Outside of Spanish Valley						69

ARTICLE I.	GENERAL PROVISIONS

Section 1.  	Title

An ordinance establishing the rules and standards for the regulation of the subdivision of land in the unincorporated area of San Juan County, Utah and setting of the procedures to be followed by the Board of County Commissioners, county staff, the San Juan County Planning Commission and other elected officials in San Juan County, Utah.

Short Title.  This Ordinance shall be known and referred to as the “Subdivision Ordinance of San Juan County, Utah” was adopted September 13, 1993, and amended July 1995, October 2002, August 2005 and July 2015, April 2016, and March 2019.

Section 2.  	Purpose

The purpose of this ordinance is to:

A. 	Provide for the health, safety, and welfare, and promote the prosperity, improve the 	morals, peace and good order, comfort, convenience, and aesthetics of the County and 	its present and future inhabitants and businesses, to protect the tax base, to secure 	economy in governmental expenditures, to foster the state's agricultural and other 	industries, to protect both urban and nonurban development, to protect and ensure access 	to sunlight for solar energy devices, to protect and ensure access to other alternative 	energy sources, to provide fundamental fairness in land use regulation, and to protect the 	rights of bona fide property owners and the values of their property.

B.	Promote the efficient and orderly growth of San Juan County;

C.	Establish adequate and accurate records of land subdivision; and

D. 	Provide for adequate, safe, and efficient public utilities and improvements, and to provide 	for other general community facilities and land for public places.

Section 3.  	Jurisdiction

A.	As provided by state law, this Subdivision Ordinance shall apply to all land in the 	unincorporated portion of San Juan County, Utah except for lands that are owned or 	under the legal jurisdiction of the United States, State of Utah, or the Navajo or Ute 	Nations.

B.	The County is enabled by state law to control all of the land within the unincorporated 	portion of San 	Juan County by virtue of the County Land Use Development Act 	(LUDMA) Section 17-27a-101, et seq. UCA (1953, as amended) excepting those lands 	exempted in Part A of this Section.

Section 4.  	Prohibited Acts and Penalties

A.	An owner of any land located in a subdivision who transfers or sells any land in a	subdivision before a plat of the subdivision has been approved and recorded violates this 	ordinance for each lot or parcel transferred or sold, except under Article II, Section 4 - 	Minor Subdivisions below.

B.	The description by metes and bounds in an instrument of transfer or other documents 	used in the process of selling or transferring does not exempt the transaction from being a 	violation of Subsection A or from the penalties or remedies provided in this ordinance.

C.	Notwithstanding any other provision of this ordinance, the recording of an instrument of 	transfer or other document used in the process of selling or transferring real property that 	violates this section:

1.	does not affect the validity of the instrument or other document;

2.	does not affect whether the property that is the subject of the instrument or other 			document complies with applicable county ordinances on land use and 				development; and

3.	does affect the issuance of a building permit.

D.	The county may bring an action against an owner to require the property to conform to 	the provisions of this ordinance.

1.	An action under this subsection may include injunction, abatement, merger of 			title, or any other appropriate action or proceeding to prevent, enjoin, or abate the 			violation.

2.	The county need only establish the violation to obtain the injunction.

3.	The county may assess civil penalties for violation of any of the provisions of this 		ordinance.

4.	Violation of any of the provisions of this ordinance is punishable as a class C 			misdemeanor upon conviction either:

a.	as a class C misdemeanor; or

b.	by imposing an appropriate civil penalty not to exceed $1,000.00, pursuant 			to state law.

Section 5. 	Amendments

Amendments to this ordinance may be requested by any person or agent of any person by filing a written request with the Subdivision Administrator of San Juan County.  The written request for an amendment to the Subdivision Ordinance shall include a “Statement of Request to Amend” and payment of such fees that may be established.

Amendments to this ordinance may also be initiated by San Juan County Planning Commission or the Board of County Commissioners by resolution.

No amendments to this ordinance shall be considered or adopted by the Board of County Commissioners until the amendment(s) have been reviewed by the Planning Commission for recommendation and  a public hearing has been held.  The Board of County Commissioners shall convene a public hearing for the purpose of amending this ordinance only after:

A. 	Copies of the “Request to Amend the Subdivision Ordinance” or a copy of the Board of 		County Commissioner’s Resolution initiating the amendment process have been made 	available to the public by placing the copies in the office of the County Clerk for a period 	of not less than twenty (20) calendar days prior to the Public Hearing; and

B. 	A “Notice of Public Hearing to Consider an Amendment to the Subdivision Ordinance” 	has been published in a county newspaper of general circulation at least ten (10) calendar 	days prior the date of the Public Hearing.

Amendments to this ordinance shall become effective twenty (20) calendar days after approval and adoption by the Board of County Commissioners.

Section 6. 	Severability

If any section, subsection, sentence, clause or phrase of this ordinance is held to be invalid by a court of competent jurisdiction, such holding shall not affect the validity of the remaining portions of this ordinance.

Section 7. 	Effective Date

This ordinance shall be in effect twenty (20) calendar days from the date of adoption by the Board of County Commissioners, pursuant to legal provisions and procedures required by state law.

Section 8. 	Definitions

For the purpose of this ordinance, the following definitions shall apply, unless otherwise defined in other sections of this ordinance:

Affected Entity – a county, municipality, local district, special service district created under state law, school district, interlocal cooperation entity established under state law, specified property owner, property owners association, public utility, or the Department of Transportation.

Agricultural – the tilling of the soil, raising of crops, horticulture, including the grazing and pasturing of domestic animals, but not including any agricultural business such as fruit packing plants, fur farms, animal hospitals or similar uses.

Agricultural Land - land devoted to the raising of useful plants and animals with a reasonable expectation of profit, including: forages and sod crops, grains and feed crops, livestock, trees and fruits, or vegetables, nursery, floral, and ornamental stock; or land devoted to and meeting the requirements and qualifications for payments or other compensation under a crop-land retirement program with an agency of the state or federal government.

Agricultural Zone District – those areas designated in the Zoning Ordinance of San Juan County, Utah as A-1 and where the primary permitted land use is agriculture.

Angle – the rotation required to superimpose either of two lines on the other.

Appeal Authority - the person, board, commission, agency, or other body designated by ordinance to decide an appeal of a decision of a land use application or a variance

Arc – a segment of a (surveyed) curve.

Bearing – the angular direction of a line on a survey.

Block – a segment of a platted subdivision usually containing one or more lots.

Board of County Commissioners – The Board of San Juan County Commissioners

Certification – the confirmation of an official document or a copy thereof by an authorized official.

Collateral – funds or some other valuable pledged as security against a promise to repay or perform certain actions.

Configuration – the shape of a boundary or perimeter line, the shape of a lot, block or subdivision.

County – San Juan County, Utah.

Culinary – water intended for human consumption, usually required to meet certain health standards.

Dedication – the conveyance of land or an easement thereon through a final plat or other instrument to a public agency or to one or more persons for a specific purpose.

Delineate – to draw or trace the outline of.

Divided land - land that is described as the land to be divided in a notice as required by this ordinance and has been divided by a minor subdivision.

Dwelling unit – a structure or portion thereof designed to provide permanent living accommodations for an individual or family.

Easement – a right, such as a right of way, afforded a person to make limited use of another's real property.

Escrow deposit – the placement of cash in a special account held by a bank or other financial institution to be released upon completion of specific tasks such as construction of a road.

First lien and restriction of sale – a form of collateral wherein the County places a lien on one or more lots in a subdivision and prohibits the sale of those lots until specified public improvements have been satisfactorily completed.

Floodplain – land that is within the 100-year flood plain designated by the Federal Emergency Management Agency or has not been studied or designated by the Federal Emergency Management Agency but presents a likelihood of experiencing chronic flooding or a catastrophic flood event because the land has characteristics that are similar to those of a 100-year flood plain designated by the Federal Emergency Management Agency.

Floodplain data – information that defines the boundary of a floodplain, either mapped or given in elevations.

High density subdivision – When a subdivision has ten (10) or more lots within a concentrated area.

Impact fees – fees that may be required to provide required infrastructure improvements and/or services.

Land to be divided - land that is proposed to be divided by a platted or minor subdivision.

Land use application - an application required by a county's land use ordinance.

Land use authority - a person, board, commission, agency, or other body designated by the local legislative body to act upon a land use application.

Letter of credit – a document issued by a bank or other financial institution which guarantees a subdivider or developer a specific amount of credit and which can be called by the County for failure to perform specified improvements.

Lot – a parcel or unit of ground described by metes and bounds or as a numbered lot or parcel in a recorded subdivision and held or intended to be held in a separate lease or ownership.

Lot corner – a lot abutting two (2) or more streets at their intersection or upon two (2) parts of the same street when such streets or parts of the same street form an interior angle of less than one hundred thirty five (135) degrees.

Lot depth – the horizontal distance between the front and rear lot lines.

Lot frontage – that part of a front lot line that abuts a street.

Lot line adjustment - the relocation of the property boundary line in a subdivision between two adjoining lots with the consent of the owners of record pursuant to state law.

Lot width – the horizontal distance between the side yard lines.

Minor subdivision - shall mean the division of four (4) or less lots and are exempted from the platting process, but are subject to the requirements in Section 4 of Article II.

Minor subdivision lot - a lot created by a minor subdivision.

Mylar – (1) a thin polyester material that when drawn upon can be reproduced on a blue or black line print. (2) the official copy of a subdivision plat.

Official – any elected official or their designated deputy of San Juan County or the appointed Administrative Assistant, Building Inspector, Surveyor, Subdivision Administrator, or Zoning Administrator of San Juan County.

Owner of record – the individual named on a deed that has been recorded at the San Juan County Recorder’s Office.

Parcel of record – any lot, tract, parcel or other piece of land that was recorded at the San Juan County Recorder’s Office.

Performance bond – a form of collateral, issued by a bonding company which guarantees a specified amount of money to be paid in the event of failure to perform by a subdivider, or other person.

Perimeter boundary – a line around any piece of property such as a lot, block or subdivision which encloses and separates that piece from adjacent pieces.

Person – any individual or agent of an individual, a family entity, a corporation, a public entity or any other organization or association that has the legal right to own, lease, or use property.

Planning Commission, San Juan County – is a seven (7) member board appointed by the Board of San Juan County Commissioners.  The Planning Commission serves the community by hearing and making a variety of decisions on San Juan County planning and zoning issues that impact  the County and its residents.  For the purposes of this ordinance, the Planning Commission may be the land use authority.

Plat – a map or other graphical representation of lands being laid out and prepared in accordance with state law and this Ordinance which serves as an instrument for approval by the Board of County Commissioners of San Juan County, Utah.

Plat, final – the official signed plat which is recorded with the County Recorder.

Plat, preliminary – the map or maps of a proposed subdivision, and specified supporting materials prepared in sufficient detail to permit the evaluation of the subdivision prior to final engineering design and survey.

Public hearing - a hearing at which members of the public are provided a reasonable opportunity to comment on the subject of the hearing.

Public meeting - a meeting that is required to be open to the public under the Open and Public Meetings Act of the State of Utah.

Radii – (plural of radius), a line segment between the center of a circle and any point on its circumference.

Recorder – the County Recorder of San Juan County, Utah.

Right-of-way – a legal right of passage over another person's ground.

Road – See Street, public.

Road, County – a road or highway designated as a County road and maintained by San Juan County.

Road, private - a road or driveway on privately-owned property, limited to the use of the owner or a group of owners who share the use and maintain the road without assistance from the County.  A private road has not been given to or accepted by the County for public use and maintenance.

Seal – the official seal of a licensed professional Land Surveyor.

Section line – the line delineating the boundary of a section of land in the United States Geological Survey.

Sewer system, private – a system for treatment and disposal of household sewage that is owned by an individual or several individuals and designed to serve the owners property only e.g., septic tank and leach field systems.

Sewer system, public – an approved sanitary sewer system containing transmission lines and treatment facilities owned and operated by a public entity such as a municipality or special district.

Sight distance triangle – the area at the intersection of two streets or roads or where a driveway enters a street or road, which is intended to allow a clear line of sight of oncoming vehicles.

Stock proof fence – a fence designed to contain or prevent cattle, horses, sheep or other domestic animals from entering or leaving the fenced area.

Street, public - a public right-of-way, including a highway, avenue, boulevard, parkway, road, lane, walk, alley, viaduct, subway, tunnel, bridge, public easement, or other way.

Subdivide – any division of an existing parcel of land in accordance with this Ordinance.

Subdivider – any person or agent of a person who causes land to be subdivided.

Subdivision – in this Ordinance, the division, re-subdivision, or proposal to divide any land into two or more lots, parcels, sites, units, plots, or other division of land for the purpose, whether immediate or future, for offer, sale, lease, development, either on the installment plan or upon any and all other plans, terms or conditions.  Subdivision does not include:

(1)	a bona fide division or partition of agricultural land for agricultural purposes;
     	(2) 	a recorded agreement between owners of adjoining properties adjusting their 			mutual boundary if:
     		(a) 	no new lot is created; and
     		(b) 	the adjustment does not violate applicable land use ordinances;
     	(3) 	a recorded document, executed by the owner of record:
     		(a) 	revising the legal description of more than one contiguous unsubdivided 				parcel of property into one legal description encompassing all such parcels 			of property; or
     		(b) 	joining a subdivided parcel of property to another parcel of property that 				has not been subdivided, if the joinder does not violate applicable land use 			ordinances;
     	(4) 	a bona fide division or partition of land for the purpose of siting on one or more 			of the resulting separate parcels:
     		(a) 	an electrical transmission line or a substation;
     		(b) 	a natural gas pipeline or a regulation station; or
     		(c) 	an unmanned telecommunications, microwave, fiber optic, electrical, or 				other utility service regeneration, transformation, retransmission, or 				amplification facility;

(d)	a data gathering tower or turbine for the generation of electricity.

(5)	a recorded agreement between owners of adjoining subdivided properties 				adjusting their mutual boundary if:
     		(a) 	no new dwelling lot or housing unit will result from the adjustment; and
     		(b) 	the adjustment will not violate any applicable land use ordinance; or
     	(6) 	a bona fide division or partition of land by deed or other instrument where the 			land use authority expressly approves in writing the division in anticipation of 			further land use approvals on the parcel or parcels.
     	(7) 	the joining of a subdivided parcel of property to another parcel of property that 			has not been subdivided does not constitute a subdivision under this Subsection 			as to the unsubdivided parcel of property or subject the unsubdivided parcel to the 		county's subdivision ordinance.

Subdivision, phase(s) - carrying out a subdivision in gradual stages.  Subdivision phase(s) may not be one lot and must be contiguous to other parts of the subdivision.

Subdivision Administrator – the official or employee of San Juan County appointed by the Board of County Commissioners to administer this Ordinance.  For the purposes of this ordinance, the Subdivision Administrator may be the land use authority.

Subdivision Improvement Agreement – a contract between a subdivider or developer and the County which specifies the required public improvements to be constructed in or in support of a subdivision including the estimated costs and the method of guarantee the collateral, to insure the improvements are constructed.

Storm water detention – the holding of storm water on a particular site through the use of swales or structures that are designed to release the water at a specified rate.

Survey monument – an object placed or built to identify a survey reference point, usually a section corner on the land.

Topographical contours – horizontal lines on a map indicating an elevation above a specified point, usually sea level, and containing intermittent lines in intervals usually of two (2) feet, five (5) feet or other specified distances.

Unincorporated – the area outside of the incorporated area of a municipality.

Vacate – 1) to abandon or relinquish a right to use a specific piece of land such as a road, right of way, or easement, or 2) to void a subdivision or portion thereof and return it to unplatted status.

Velocity (water) – the rate of flow at a specific point usually stated in cubic feet per seconds (cfs) or gallons per minute (gpm).

Vicinity map – a small scale map shown as an insert on a larger map that indicates the location of a subdivision or other pieces of land in relation to a much larger geographic area.

Water system, private – a source of water and the transmission lines owned by one or more persons to serve only their property, i.e.: an individual domestic well.

Water system, public – a source of water, including transmission lines and treatment facilities owned by a public entity such as a municipality or special district to provide water to their residents.

Zoning map - a map, adopted as part of a land use ordinance, that depicts land use zones, overlays, or districts.

ARTICLE II.  PLATTING REQUIREMENTS FOR ALL ZONES WITHIN THE UNINCORPORATED AREAS OF SAN JUAN COUNTY

Section 1. 	General Procedures

A. 	Any person that wishes to subdivide land in San Juan County should first meet with the 	Subdivision Administrator. The Subdivision Administrator will explain the County’s 	requirements for subdividing, the procedure that must be followed, and the application 	fees required to process a subdivision plat and the minimum time that the process 	requires. To assist with this process, the Subdivision Administrator shall provide the 	potential subdivider with a procedure checklist and a copy of this Ordinance.

B. 	Obtaining approval to create a subdivision in San Juan County is a two step process 	requiring approval of a preliminary plat and a final plat:

1. 	the preliminary plat shall be submitted and processed in accordance with 				provisions of Article II, Section 2 of this ordinance; and

2. 	the final plat shall be submitted and processed in accordance with the provisions 			of Article II, Section 3 of this ordinance.

Section 2. 	Preliminary Plat

A. 	Intent. A preliminary plat is the first official document submitted when owner(s) of  	property wish to subdivide their property. The preliminary plat shall include all the 	property the owner(s) intend to subdivide. Approval of the preliminary plat does not 	constitute approval of the subdivision. Only approval of the final plat constitutes official 	approval by the County.

B. 	Preliminary Plat Requirements. An application for preliminary plat approval shall include 	an original of the following:

1. 	an "Application for Subdivision Approval" with all requested information 				complete and required signatures obtained;

2. 	a letter of intent signed by the applicant subdivider which explains the purpose of 			the application and includes all requests and justifications for variances, 				exceptions or waivers of submittal requirements;

3. 	proof of ownership of the property to be subdivided. A subdivider shall include an 		Affidavit of Ownership signed and notarized by all owners of the property, or if 			the property is owned by a corporation, an authorized officer shall sign the 			Affidavit. If the applicant is different from the property owners, documentation of 		the applicant's authority to act for the owner shall be included;

4. 	payment of the processing fee for a preliminary plat approval shall be included. 			Such fees will be those approved by the Board of County Commissioners in a 			county Fee Schedule which may be revised from time to time;

5. 	a preliminary plat map with six (6) copies which shall be on a 24"x 36" sheet or a 			legible 	quality print of a matte mylar drawn in black ink or a black line positive 			mylar of the same and shall contain the following information:

a. 	project name, distinct from any subdivision on a plat recorded in the 				county recorder’s office, type of proposal (preliminary plat), legal 					description of the total land area referenced to township, range, section; 				county and state, date of the drawing, scale 1 :100 or larger, and north 				arrow;

b. 	vicinity map with north arrow (scale of 1"=2000' preferred) with an 				emphasis on the major roadway network and any existing subdivisions 				within one (1) mile of the proposal;

c. 	boundary lines of the proposed subdivision drawn in a heavy solid line;

d. 	existing and/or proposed zoning district boundary lines;

e. 	existing topographical contours with intervals of five (5) feet or less 				within the tract and at least one hundred feet (100') immediately adjacent 				thereto.  In the absence of available five foot contour data, the contour 				intervals must be deemed acceptable by the San Juan County Surveyor.

f.	all parcels of land to be dedicated for public use or reserved for the use of 				all property owners in the proposed subdivision together with the purpose 				and conditions of such reservations. This shall include the names, 					locations and widths of proposed right-of-way of streets and alleys, 				together with total lineal footage of streets and alleys.

g. 	location, width and purpose of all existing and/or proposed public and/or 				private easements including existing and/or proposed sanitary sewers, 				utility main lines, culverts, storm sewers and storm water detention areas 				located within the tract and at least one hundred feet (100') immediately 				adjacent thereto.

h. 	dimensions of proposed lots and blocks calculated to the nearest foot.

i. 	drainage channels, wooded areas and other significant natural features 				within the tract and at least one hundred feet (100') immediately adjacent 				thereto.

j. 	location, widths and names of all existing and/or platted rights-of-way for 				streets or other public ways within the tract and at least one hundred feet 				(100’) immediately adjacent thereto, railroad right-of-way, section lines 				and/or other such features.

k.	the boundary and source of reference of any one-hundred year floodplain 				shall be shown on the preliminary plat.  In the absence of reliable 					floodplain data, any areas of the plat that are known to be subject to 				flooding shall be delineated and noted on the plat map.

l. 	perimeter fence line, if required, delineated and a description of the type 				and height of the fence.

m. 	site development details:

1)	total land area in acres;

2) 	existing zoning of the property; and

3) 	total number of proposed dwelling units.

6. 	names and addresses of the owner(s), subdivider and surveyor;

7. 	a letter describing the water and sanitary sewer facilities proposed for the 				subdivision;

a.	if either the water or sanitary sewer facilities are to be part of an approved 				public system, the application shall also include confirmation from the 				entity providing the sewer and water services, that such services are, or 				will be available to the subdivision;

b.	if either the water or sanitary sewer facilities are to be individual wells 				and septic systems for each lot, the letter will include a statement that the 				wells and septic systems will be installed in conformance with the rules 				and regulations of the Utah Division of Environmental Health; and

c.	if either the water or sewer facilities are to be private systems designed 				to serve multiple lots, the letter shall include a statement that such systems 			shall be installed in conformance with the rules and regulations of the 				Utah Division of Environmental Health.

8. 	estimated construction costs for roads and related facilities for the water supply 			and distribution systems, for sanitary sewer collection and treatment systems, 			storm drainage facilities and other such public facilities that may be required.  The 		subdivider shall also state the form of collateral that will be provided to insure 			that such improvements will be completed.  The forms of collateral that are 			acceptable to the County are listed in Section 4.1. Subdivision Improvements 			Agreement.

9. 	in the event the proposed subdivision is within one and one-half (1.5) miles of a 			municipality or within the boundary of a County Service Area, Special Service 			District, or municipal expansion area, the applicant shall provide written 				comments from the affected entity.

10. 	other documents and information as may be deemed necessary by the Subdivision 		Administrator.

11. 	a copy of all restrictive covenants proposed for the subdivision.

12.	a copy of a title insurance policy covering the property to be included in the 			proposed subdivision. The title insurance policy must be dated within thirty (30) 			days of the application submitted.

C. 	Conformance with Zoning Ordinance

No application for a Preliminary Plat shall be accepted by the Subdivision Administrator 	if the proposed development is not in compliance with the Zoning Ordinance.

Section 3. 	Final Plat

A. 	Intent.  The Final Plat is the last stage in the subdivision approval process. At this stage 	the subdivider is responsible for delineation and dedication of all public rights-of-way 		and easements, dedication of other public lands, if required, and final lot and 			block configuration.  In addition, all public improvements associated with the 			subdivision are identified and quantified, and the subdivider is required to enter 			into a Subdivision Improvements Agreement with the County which guarantees 			that the appropriate improvement costs are borne by the subdivider.

1. 	No request for Final Plat approval shall be considered by the Board of County 			Commissioners until the Preliminary Plat has been approved by the Planning 			Commission and all conditions of approval set forth in the Resolution approving 			the Preliminary Plat have been satisfied.  The Final Plat approval process shall not 		be used to amend or revise the approved Preliminary Plat or the conditions of 			approval of the Preliminary Plat.  Any revisions or amendments to the 				Preliminary Plat, or to the conditions, must be approved by the Planning 				Commission by an amendment to the Preliminary Plat prior to the Board of 			County Commissioners hearing of the Final Plat.

B. 	Final Plat Requirements

1.	The Final Plat shall conform in all respects to the approved Preliminary Plat and 			with all amendments to the Preliminary Plat.  An application for Final Plat 			approval shall include the following:

a.	an "Application for Subdivision Approval" with all requested information 				completed and required signatures;

b.	a certification from the County Treasurer's Office that all taxes on the 				property are paid;

c. 	title certificate or an abstract of title covering all public lands required to 				be dedicated, except County Roads and easements.

d. 	a Final Plat map which shall be a print of 24" x 36" matte mylar drawn in 				black ink or a black line positive mylar of the same, which shall contain 				the following information:

1)	name of the subdivision, name of the county (San Juan) and state 					(Utah), and the location and legal description of the subdivision 					referenced to section, township and range;

2)	north arrow, scale,(1:100 or larger) dates of original drawing, and 					subsequent revisions and sheet number;

3)	an indication that all subdivision corners have been surveyed. The 					monuments representing the corners shown on the plat shall be in 					place and easily identifiable on the ground at the time the 						subdivision was approved by the County;

4)	owners and mortgagee's Certificate of Dedication of public rights-					of- way and easements;

5)	The surveyor's Certificate of Survey, his or her seal, and the date 					of survey;

6)	boundary of the subdivision or subdivision phase in a heavy solid 					line with a small circle at each change in direction;

7)	Board of County Commissioner's approval signature lines, 						certificate of the Board of County Commissioner's acceptance of 					public right-of-way and easements and public land dedications, 					and the County Clerk's signature line.

8)	the location and description of all section corners and permanent 					survey monuments in or near the subdivision giving the basis of 					bearing and the distance and course to two or more survey 						monuments (GLO, BLM, City, townsite);

9)	the length of subdivision perimeter boundary lines in feet and 					decimals thereof and the value of all required bearings and 						angles dimensioned in degrees, minutes and seconds for the 					perimeter boundary.  Boundary lengths, bearings and angles must 					close within the limits of one (1) in two thousand (2000);

10)	the ownership of lands abutting the subdivisions, or the name of 					any adjacent subdivision;

11)	the delineation, dimensions and names of all proposed public roads 				and access easements to public rights-of-way and adjacent roads 					and rights-of-way;

12)	the dimensions of all proposed lots indicated in feet and decimal 					and the value of all required bearings and angles dimensioned in 					degrees, minutes and seconds, and the acreage for each lot, shown 					within the lot lines and staked on the ground;

13)	the blocks numbered consecutively throughout the subdivision, and 				the lots numbered consecutively throughout each block, with the 					areas to be excluded from the plat marked "Reserved" or "Not a 					Part";

14)	the outline and notification of any property which is offered for 					dedication to public use fully dimensioned by lengths and bearings 					or angles with the area marked "public";

15)	 the identification, location and dimensions of all easements for 					public services or utilities;

16)	the radii, arcs, point of tangency and central angles for curvilinear 					streets and radii of all property returns;

17)	the identification and designation of the boundaries of any 100 					year floodplain and the source of the designation;

18)	a note disclosing that there are restrictive covenants on the 						property and an acknowledgment that the County has no 						responsibility for enforcing the covenants; and

19)	other plat notes as may be required by the Board of County 						Commissioners.

e.	two (2) sets of preliminary construction plans for the proposed public 				improvements prepared in accordance with the requirements contained in 				Section 5 Design Standards.

f. 	in the event the proposed subdivision is within one and one-half (1.5) 				miles of a municipality or within the boundary of a County Service Area 				or Special Service District, or municipal expansion area, the applicant 				shall provide written comments from the affected entity.

g. 	a copy of all restrictive covenants on the property which shall be recorded 				with the County Recorder with the final plat. The covenants shall indicate 				that the County has no responsibility for enforcing the covenants, but will 				be the responsibility of the subdivider or subsequent lot purchasers to 				enforce these covenants.

C. 	Process

1. 	The Subdivision Administrator shall review the application for Final Plat approval 		to determine whether it is consistent with the approved Preliminary Plat and with 			the requirements of this ordinance.

2.	If the Subdivision Administrator determines that the Final Plat application is not 			in compliance with the approved Preliminary Plat, or with the requirements of this 		ordinance, the Subdivision Administrator will provide the subdivider a list of the 			deficiencies and other information to assist in the correction of the application.

3. 	Upon a determination that the application for Final Plat is complete and consistent 		with the approved Preliminary Plat and the requirements of this ordinance, the 			Subdivision Administrator shall schedule the Final Plat to be presented 				to the Board of County Commissioners for acceptance.

The sub-divider must be familiar with the minimum county road standards as 			outlined in Appendix “B” of the County Subdivision Ordinance.

a.	If the intent of the subdivider is to build roads within the subdivision that 				will be 	accepted and maintained by the County after dedication, such 				roads must be built consistent with the County Road Standards.  To ensure 			that this happens, the subdivider must meet with a representative of the 				San Juan County Road Department.

b. 	Before proceeding on any road work, placement of any underground 				utilities, and/or acquisition of any road materials, the subdivider must 				provide the County Road Department with a copy of the 						Preliminary Plat and set up an on site meeting with the County Road 				Department representative  to review all aspects of the roads within the 				subdivision.  If the subdivider intends that the roads within the 					subdivision  shall be private roads and thus not required to be constructed 				to county standards, the subdivider may be required to obtain the approval 				of the County Road Department for all subdivision access roads that 				originate off of County roads and other safety factors such as placement of 			signs and other items.

1)	The subdivider may be required, at his/her own expense to provide 					testing for road materials, compaction testing, and other testing 					procedures will be used to assure compliance with minimum 					standards. The subdivider will develop a schedule of work to be 					accomplished with an inspection schedule.

c. 	If the subdivider proceeds with any of the work outlined herein without 				the approval and/or inspection of the County Road Department 					representative, the County will not accept these roads onto the 					County system nor be responsible for any type of maintenance duty. This 				would include but not be limited to the placement of any type of water, 				sewer, septic, telephone, cable television, fire hydrant, etc. lines that will 				be within the right-of-way of any public roads. If such lines are intended 				to be placed within the right-of-way of any public roads, substantial 				compliance will be required and the subdivider will required to either 				provide adequate certification of such compaction or compensate the 				County for inspecting such for compliance.

d. 	After all requirements have been met and inspections completed a letter 				will be sent to the subdivider stating the acceptance of the roads by San 				Juan County.  (never been done)

D.	Actions Required Prior to Recording the Final Plat

1.	The surveyor making the plat shall certify that the surveyor:

a. 	holds a license in accordance with the state's Professional Engineers and 				Land Surveyors Licensing Act;

b. 	has completed a survey of the property described on the plat in accordance 			with state law and has verified all measurements;

c.	has resolved any and all boundary issues with adjoining properties to said 				subdivision; and

c. 	has placed monuments as represented on the plat.

2. 	No plat shall be recorded until it has been:

a. 	approved by the Board of County Commissioners of San Juan County, 				Utah;

b. 	a signature mylar has been prepared with all revisions, signed by the land 				owner(s), and the surveyor with signatures notarized, surveyors seal and 				registration number, signature of the chairman of the Board of County 				Commissioners and attested by the County Clerk;

c. 	an approved Subdivision Improvements Agreement has been executed and 			filed with the County Clerk; and

d. 	the Final Plat mylar has been approved as to form and signed by all 				necessary parties such as the San Juan County Planning Commission 				representative, the County Health Department representative, the County 				Attorney's Office, etc.

Section 4.	Minor Subdivision Lots: Issuance of Building Permit

Prior to the issuance of a building permit for any minor subdivision lot, the following shall be provided to the County:

A.	A site plan showing the location of the building in relation to parcel boundaries, prepared 	by a surveyor licensed in Utah, to ensure that the building meets setbacks as outlined in 	this ordinance.

B.	Evidence of legal access to the lot that complies with the following minimum road 	standards as outlined in this ordinance.

Section 5.  	Subdivision Improvement Agreements

A.	Intent.  In order to insure that the required County roads and, if specified, other public 	facilities including drainage and water and sanitary sewer facilities are constructed in 	accordance with the County Road Standards, acceptable drainage facility standards and 	the standards of the agency providing public and water and sanitary sewer service and, to 	insure that the cost of the required public improvements are borne by the subdivider and 	not the public, the subdivider will be required to enter into a Subdivision Improvement	Agreement with the County. The Agreement shall be found acceptable to the County and 	signed by the applicant prior to the approval of the Final Plat by the Board of County	Commissioners.  No final plat shall be approved by the Board of County Commissioners

until an approved Subdivision Improvement Agreement has been executed.

B.	Form and Content.  The Subdivision Improvement Agreement shall be structured as 	proscribed by the Board of County Commissioners.  The Subdivision Improvement 	Agreement shall, at a minimum, describe the public improvements to be provided by the 	subdivider and include unit and total costs, the form of collateral to be provided for the 	public improvements, and the basis for forfeiture of the collateral and assumption of 	responsibility by the County.

C.	Collateral Required to Guarantee Improvements

1.	The Board of County Commissioners shall require that sufficient collateral be 			provided by the subdivider to cover the cost of the public improvements required 			by the Subdivision Improvement Agreement and insure the completion of such 			improvements within the time period specified.  The amount of collateral shall be

125% of the estimated cost of the County Roads as prepared by the County Road 			Department.  If requested by the agency responsible for the provision of public 			water and/or sanitary sewer service, the Board of County Commissioners shall 			also require collateral for water and sanitary 	sewer improvements.  Collateral may 		also be required for drainage facilities and other improvements. The collateral 			shall be in the form of an Escrow Deposit, Performance Bond, Irrevocable Letter 			of Credit, or in special circumstances, a First Lien and Restriction on Sale of the 			property to be subdivided. The First Lien and Restriction on Sale of the property 			shall only be used when the appraised market value of the property is equal to, or

greater than, the estimated cost of the public improvements.  The Board of

County Commissioners may accept one, or a combination, of the types of				collateral listed above.

2.	As improvements are completed, the subdivider may apply to the Board of 			County Commissioners for release of all or part of the collateral.  Upon

certification by the County Road Department that the County Road improvements 		have been completed and are in conformance with County Standards, the Board 			of County Commissioners shall authorize the release of part or all of the 				collateral, except that the Board may retain 10% of the collateral for a specified 			period of time in order to insure that the improvement s have been properly 			constructed.

3.	In the event that the water and sewer facilities have been included in the 				Subdivision Improvement Agreement and collateralized, the Board of County

Commissioners shall authorize the release of the water and sewer collateral upon 			notification by the providing entity that the improvements have been completed.

Section 6.  	Design Standards

A.  	General Provisions.  All subdivisions must comply with the following standards:

1.	Insofar as possible, the natural terrain, existing topography and natural vegetation 			shall be preserved.

2.   	Where the property to be subdivided is subject to natural or man-made hazards 	such as flooding, rock and mud slides, open quarries or abandoned mines, or 	where there exists shallow water table conditions or polluted water sources, such 	hazards or conditions shall be identified and the subdivider shall provide 	stamped engineered documentation as to how the hazards or conditions have 	been eliminated, or will be eliminated, through the design and construction of the 	subdivision.

B.  	Lots.  All lots within the subdivision shall conform to the following standards:

1.	Lots shall meet the width, depth, frontage and lot size requirements for the zoning 		district in which the subdivision is located, as specified in the Zoning Ordinance 			of San Juan County, Utah as outlined in Appendix A of this ordinance;

2.  	All lots shall abut a dedicated street or county road, or a street or road that has 			become public by right of use, or a private street for which there is a (recorded) 			maintenance agreement; and

3.  	No single lot shall be transected by a municipal or county boundary line 				or by a special service area or special service district boundary, a public road or 			street, or a private road or street which can legally be used by property owners 			other than the owner of the lot.

C.  	Public Streets.

All streets or other right-of-way designated for public vehicular use and County 	maintenance shall be designed and constructed in accordance with the adopted 	Road Standards of San Juan County, Utah, including adequate and required street or 	highway signs, cattle guards and other necessary items, which are incorporated into 	this Ordinance as Appendix B.  Maps and plats, when properly made, acknowledged, 	filed, and recorded according to the procedures specified, operate as a dedication of 	all streets and other public places and vest the fee of those parcels of land in the 	county for the public for the uses named or intended in those maps or plats.  However, 	mere dedication of streets does not trigger the County's duty to maintain such roads 	until they have been constructed or improved to the above mentioned County Road 	Standards.

1.	If, due to the size of a development, a turn lane is required to access a public 		street or streets to be used in the development, the County shall require the 		subdivider to obtain and produce for County review a letter from UDOT			stating such.

D.	Private Roads.

San Juan County does not intend to dictate a specific standard of construction to a 	subdivider for 	a private road except that the standard must allow reliable vehicular access 	for emergency, delivery of goods and services, and the installation and service of utilities. 	Again, as previously stated above, a dedication of a private road does not trigger the 	County's duty to maintain such a road until it has been constructed or improved to the 	County Road Standards.

E.  	Sidewalks and Pedestrian Walkways.

When, in the opinion of the County Road Department the projected traffic 	volumes within the subdivision are such that the separation of vehicular and 	pedestrian access is necessary for the safety of the public, the County	Commissioners may require designed sidewalks or pedestrian rights-of-way.

F.  	Sanitary Sewage.

1.  	Except as otherwise provided below, each lot in the subdivision shall be served 			with an approved piped sanitary sewer system.

2.  	Individual septic tank systems, or other private sewage systems, shall only be 			permitted when the nearest point of the subdivision boundary is more than 1,320 			feet from an existing approved sanitary sewer system.  Septic systems shall be in 			conformance with the requirements established by the State Division of 				Environmental Health and the San Juan County Health Department.

G.  	Water Supply.

1.  	Except as otherwise provided below, each lot in the subdivision shall be served 			with an approved public water system.

2.  	Individual or common wells or other private water systems shall only be 				permitted when the subdivision boundary is more than 1,320 feet from the nearest 		approved public water system. All private water systems shall be in compliance 			with the requirements of the Utah Division of Environmental Health.

H.  	Storm Drainage.

1.  	If, prior to the submission of the Preliminary Plat and after consulting with the 			county engineer of record or other qualified person, the Subdivision 				Administrator determines that the subdivider needs to provide a drainage system 			design which covers the entire subdivision it shall be required to be completed by 			the subdivider prior to submission of the Preliminary Plat. The design shall 			accommodate runoff from the entire subdivision and the historical runoff from 			areas adjacent to and "upstream" of the subdivision. The design shall insure that 			runoff from the developed subdivision shall not exceed the historical volumes and 		velocities discharged onto adjacent property.

2.  	The drainage system plans submitted with the Preliminary Plat shall include:

a.  	all proposed surface drainage structures; and

b.	all appropriate design details, dimensions, construction materials and 			elevations.

3.	At the time of the Final Plat, the subdivider shall include Final Drainage Design 			for the phase of the subdivision included in the Final Plat. The Final Drainage 			Design shall show how the drainage is consistent with the overall Drainage 			System Design.

I.	Perimeter Fencing.   In all zoned districts, the subdivider shall be responsible for the 	construction of a stock proof perimeter fence around the entire subdivision. The height, 	fence type, and materials shall be as approved by the Board of County Commissioners 	after receiving a recommendation from staff and/or the Planning Commission.

1.	A subdivider may request and the Planning Commission may approve an 				exemption from the fencing requirement only if one of the following criteria are 			met:

a.	the proposed subdivision is completely surrounded by developed land;

b.	the proposed subdivision is within the future annexation area of a nearby 				municipality and within 100 feet of a municipal boundary; or

c.	the proposed subdivision abuts property already enclosed with a stock-				proof fence.

2.	If the subdivider obtains an exemption from the fencing requirement, this 				exemption must be reflected on the plat so as to place others on notice of the 			exemption.

3.	If the subdivider fails to obtain an exemption to the fencing requirement, a stock 			proof fencing proposal shall be submitted with the final plat and the Planning 			Commission may then make a recommendation to the Board of County 				Commissioners for final approval.

J.		Fire Protection.

1.  	Except as otherwise provided, the County will not provide any additional fire 				protection for approved subdivisions other than from those current departments 				established at different locations within the County.

2.  	When, in the opinion of the Board of County Commissioners and other County 				emergency response personnel, the size of the subdivision and the number of lots 				proposed along with other factors, determines that the health, safety, and general 				welfare of the residents of the subdivision may require that the subdivider provide 			substantial improvements to provide fire protection for the subdivision.  Such 				improvements may include, but not be limited to; fire hydrants, water storage for 				fire protection, other water systems, participation in the acquisition of firefighting 				equipment and facilities to house such equipment.

3.  	If such fire protection improvements are required, these shall be made at the 	expense of the subdivider and shall meet all fire protection standards as provided 	in the National Fire Code, Uniform Building Code, and other standards that are 	applicable to such. All	 systems shall be tested and accepted by the County prior 	to final approval of the subdivision of the County.  In the event that such 	improvements are not completed or furnished by the subdivider prior to final 	approval of the subdivision, the subdivider shall provide to the County a form of 	collateral for the improvements as outlined in Section 4, Subdivision 	Improvements Agreement.

K.		Utilities.

All utilities that are planned to be provided in a subdivision shall be presented to the 	County prior to any construction or placement of utilities. All utilities and utility 	corridors shall be shown on the final plat. The subdivider shall provide the County with 	letters of completion and certification from building inspectors, utility companies or 	other assurances that all utilities were placed within the easements shown on the final 	plat and meet proper codes prior to the sale of any lots.

L.	Easements and Rights-of-Way.

The final plat shall show all legally recorded rights of way and/or easements that are 	recorded in the Office of the San Juan County Recorder. The County may require that 	the subdivider receive written approval from the owners of such rights of way and/or 	easements that any developments within the rights of way and/or easements meet all 	public health and safety requirements.

M. 	Impact Fees. The County may at any time in the future authorize impact fees.

Section 7. 	Resubdivisions

Substantial changes to a recorded Final Plat shall be considered a new subdivision and shall comply with all the regulations, laws and policies applicable to a new subdivision, and shall be processed in accordance with the provisions of Article II, Section 3 of this ordinance, except where such changes and revisions are determined of a minor nature and eligible to be considered under the administrative resubdivision procedure, the requirements of which are contained in Article II, Section 7 of this Ordinance.

Section 8. 	Administrative Resubdivisions

A.  	Intent.	An Administrative Resubdivision may only be used for changes and 	revisions that have been determined by the Subdivision Administrator to be minor 	engineering, planning or administrative changes or revisions.  An Administrative 	Resubdivision shall be approved by the Subdivision Administrator if :

1.	the land has already been subdivided and there exists an approved and recorded 			final plat;

2.  	no additional right-of-way dedications or public improvements are necessary;

3.  	no perimeter boundary of an existing subdivision plat is affected;

4.  	the perimeter of boundaries of the administrative plat coincide with the existing 			lots and blocks; and

5.  	the number of lots shall not be substantially increased and all lots shall be in 			conformance with the County Zoning Ordinance in affect at the time the 				Administrative Subdivision is approved.

B.  	Procedure.  Requests for Administrative Resubdivisions shall include an Application for 	Subdivision Approval and supporting documentation as specified in the Subdivision 	Approval Submittal Requirements.

Section 9. 	Amendments and Vacations

A.  	Authority.  The Board of County Commissioners, acting as the land use authority, is 	authorized to amend or vacate any subdivision plat by signing an amended plat or 	passing 	an ordinance describing the subdivision or the portion being vacated, if the proposal does 	not violate other land use ordinances contained herein, there is good cause for approval, 	and no public street, right-of-way, or easement has been vacated or amended.

B.  	Procedure for Amendment or Vacation. The Board of San Juan County Commissioners 	may consider a proposal for an amendment or vacation after:

1.	A written petition to amend or vacate has been submitted to the Subdivision 			Administrator.  Such a petition shall include:

a.	the names and addresses of all owners of record of the land contained 		in the entire plat; and

b.  	the signature of each of the owners who consents to the petition.

2.	After submission, the petition must be reviewed by the Planning Commission who 		shall hold a public hearing within forty-five (45) days after the day on which the 			petition is filed.  Prior to the public hearing, all owners of property within the plat 			proposed to be amended or vacated and any utilities must be notified.  If satisfied 			the proposal does not violate the county's land use ordinances, there is good cause 		for approval, and no public street, right-of-way, or easement has been vacated 			or amended, the Planning Commission shall forward a favorable recommendation 		to the Board of County Commissioners.

a.	A hearing is not required if all property owners consent to the amendment 				or vacation of the plat.

C.  	Recording.  Upon approval of an amendment or vacation by the Board of County 	Commissioners via the signing of the amended or vacated plat or by ordinance, the Board 	of County Commissioners shall ensure that that the amended plat showing the vacation or 	amendment is recorded in the office of the County Recorder.

Section 10. 	Exemptions, Waivers, Variances and Appeals

A.  	Exemptions from Platting Requirements.

1.	Minor subdivisions as defined above, are exempt from the platting requirements.

2.  	A lot or parcel resulting from a division of agricultural land is exempt from the 			plat requirements if the lot or parcel:
    		 
     	a.	qualifies as land in agricultural use as defined in this ordinance; and

b. 	is not used and will not be used for any nonagricultural purpose; and

c.	the new owner of record completes, signs, and records with the county 				recorder a notice:

(i)	describing the parcel by legal description; and
     			(ii)	stating that the lot or parcel is created for agricultural purposes as 					defined by state law and will remain so until a future zoning 					change permits other uses.

d. 	If a lot or parcel exempted under Subsection 2.a. is used for a 					nonagricultural purpose, the county shall require the lot or parcel to 				comply with the platting requirements of this ordinance and all applicable 				land use ordinance requirements.

e.	A document recorded in the County Recorder's office that divides property 			by a metes and bounds description does not create an approved 					subdivision allowed by this ordinance.

B.  	Waivers.

1.  	The Board of County Commissioners may waive certain submittal requirements 			for an application for Subdivision Approval or for all or a portion of the required 			processing fees. All waiver requests must be submitted to the Subdivision 				Administrator with a letter which explains the reasons for the waiver. The letter 			can be presented prior to the submittal of the Preliminary Plat or Final Plat 			application or as part of the plat submittal.

2.  	Waivers of submittal requirements may be granted upon recommendation of the 			Subdivision Administrator, and a finding by the Commissioners that the particular 		requirements are not necessary for consideration of the subdivision on approval.

3.  	A waiver of part or all the required processing fees (as found in the County 			Schedule of Fees) for a subdivision application may be granted by the Board of 			County Commissioners only on finding that the particular application is such that 			the review time of county officials will be significantly less than the typical 			subdivision application.

C.  	Variances.

1.  	A variance from specific requirements of this ordinance may only (emphasis 			added) be granted by the Subdivision Administrator acting as the land use 				authority or the Planning Commission acting as the appeal authority upon finding 			that:

a.	literal enforcement of the ordinance would cause an unreasonable hardship 			for the applicant that is not necessary to carry out the general purpose of 				the land use ordinances;
     		b.	there are special circumstances attached to the property that do not 					generally apply to other properties in the same zone;
     		c.	granting the variance is essential to the enjoyment of a substantial property 			right possessed by other property in the same zone;
     		d.	the variance will not substantially affect the general plan and will not be 				contrary to the public interest; and
     		e.	the spirit of the land use ordinance is observed and substantial justice 				done.

2.	In determining whether or not enforcement of the land use ordinance would cause 		unreasonable hardship, the land use authority or appeal authority may not find an 			unreasonable hardship unless the alleged hardship:

a. 	is located on or associated with the property for which the 						variance is sought; and
     		b. 	comes from circumstances peculiar to the property, not 						from conditions that are general to the neighborhood.

3.	In determining whether or not enforcement of the land use ordinance would cause 		unreasonable hardship under Subsection (2)(a), land use authority or appeal 			authority may not find an unreasonable hardship if the hardship is self-imposed or 		economic.

4.	In determining whether or not there are special circumstances attached to the 			property, land use authority or appeal authority may find that special 				circumstances exist only if the special circumstances:

a.	relate to the hardship complained of; and
     		b.	deprive the property of privileges granted to other properties in the same 				zone.

5. 	Pursuant to state law, variances run with the land.

6.  	Procedure for variances:

a.  	An application for a variance from one or more of the requirements of this 				ordinance shall be made to the Subdivision Administrator in the form of 				a letter. The letter shall include the basis for the variance request and the 				nature of the hardship that would result if the variance is not approved.

b.	The Subdivision Administrator shall evaluate the application using the 				criteria of Subsection (1) above and shall approve or deny the request.

c.  	If the Subdivision Administrator determines that the variance shall be 				denied, the applicant may appeal the decision to the Planning 					Commission acting as the appeal authority who shall uphold or overturn 				the Subdivision Administrator’s decision.

i.	The applicant shall bear the burden of proving that all of the 					conditions justifying a variance have been met.

ii.	The appeal authority may not grant a use variance. 
     			iii.	In granting a variance, the appeal authority may impose additional 					requirements on the applicant that will:
     				(A) 	mitigate any harmful affects of the variance; or
     				(B) 	serve the purpose of the standard or requirement that is 						waived or modified.

d.  	The Preliminary or Final Plat application which includes or is the subject 				of a variance request shall not be scheduled for consideration by the Board 			of County Commissioners until all variance requests have been either 				approved or denied by the Subdivision Administrator and/or the Planning 				Commission.

D.  	Appeals.  In the event that any person disagrees with the Subdivision Administrator's 	interpretation of the language of this ordinance or his /her decision(s) made when acting 	as the land use authority, they may appeal the interpretation or decision(s) to the 	Planning Commission acting as the appeal authority.

Section 11.	Conflicts

Article II applies to all unincorporated zones within San Juan County. However, shall conflicts arise between Articles II and III of this code or any of the appendices, whether it be definitions, requirements, specifications or standards, the situs of the property in question shall control which Article or appendice applies. For example, should the property subject to a land use application be situated in Spanish Valley - Article III shall control. However, if the property subject to a land use application be situated in other unincorporated areas on the county, Article II, Appendix A and Appendix B shall control.

ARTICLE III. SPANISH VALLEY DEVELOPMENT ORDINANCES

Section 1.	Spanish Valley Residential District (SVR) Ordinance

An Ordinance Creating the Spanish Valley Residential District of the San Juan County Land Use Ordinance for the Purpose of Managing Development in the non-federal lands in the Spanish Valley within San Juan County. See Land Use Plan on page 28 of the San Juan County Spanish Valley Area Plan (adopted April 17, 2018) for a map and general description.

# Purpose

# Uses

# Lot Design Standards

Mix of Housing Types

Constrained Lands

# Measurements and Exceptions

# District Standards

Subdivision Standards

Streets

# Sidewalks and Trails

# Easements

# Drainage

# Water Supply

# Purpose

The Spanish Valley Residential (SVR) District is designed primarily to accommodate residential uses in large lot (one-acre or greater) and smaller lot (1/4 acres up to 1 acre) developments. In addition to the Uses and Lot Design Standards of this section, development in this district shall be in compliance with all other applicable provisions of this San Juan County Land Use Ordinance.

# Uses

Uses are allowed in the SVR District in accordance with Table 1:

# Permitted Uses

Uses identified with a "P" in the table above shall be permitted in the SVR District, subject to compliance with any applicable conditions and all other provisions of this Code.

# Conditional Uses

Uses identified with a "C" in the table above shall be permitted in the SVR District only upon approval of a Conditional Use Permit by the County in accordance with the Conditional Use procedures and standards of the Zoning Ordinance.

# Lot Design Standards

All development in the SVR District shall be subject to the following lot design standards, which generally allow for variety in housing and building types while maintaining the overall character of residential neighborhoods. This approach promotes better site layout and energy efficient development, affordable life-cycle housing, and development intensities that match existing and proposed infrastructure investments.

Table 1

Spanish Valley Residential (SVR) District Uses

| Use Category | Specific Use |
| --- | --- |
| RESIDENTIAL USES |  |
| Dwelling, single-family | P |
| Dwelling, two-family (duplex) | P |
| Dwelling, Manufactured | P |
| Accessory Buildings and Uses | P/C |
| All other household living uses (5th wheels, trailers, etc.) | C |
| CIVIC AND INSTITUTIONAL USES |  |
| Day Care | C |
| Educational Facilities, Public | P |
| Educational Facilities, Private | C |
| Government Facilities and Public Institutions | C |
| Institutions, Private or Non-Profit | C |
| Medical Facilities | C |
| Places of Worship | P |
| Utilities | C |
| PARKS, OPEN SPACE AND AGRICULTURAL USES |  |
| Parks and Open Spaces, Public | P |
| Parks and Open Spaces, Private | C |
| Farmland, Grazing and Pasture | P |
| Animal Husbandry - small animals (pigs, goats, lambs, etc.) | P |
| Animal Husbandry – large animals (cows, cattle, horses, etc.) | P (=/> 1 acre lots only) |

Minimum Requirements

Every building erected or installed must be located on, and every plat submitted for approval must show, a lot or building parcel that meets the minimum requirements of at least one lot type permitted under this article, based on underlying zoning and subdivision type.

Every building and lot must have direct access to one of the following:

- A public street

- An approved private street or driveway

- A public or private street via a public or private alley

All structures must be located on lots or parcels that provide safe and convenient access for servicing, fire protection and required on-site parking. No lot shall be approved that does not meet the minimum lot area requirements of this Code except in the following cases:

- Nonconforming lots

- Public Utilities

The uses and densities listed in this chapter are allowed by right unless otherwise expressly stated. Each project must comply with all of the applicable development standards of this chapter.

Residential Density and Dimensional Standards

Residential development shall be subject to the maximum density and minimum dimensional standards of the SVR District in accordance with Table 2.

TYPE 1 developments shall have demonstrated access to a municipal water and sewer system.

TYPE 2 developments have no access to municipal water and sewer systems and will rely on private wells and septic systems as described elsewhere in this Code.

Table 2

Residential Density and Dimensional Standards

| STANDARD | TYPE 1 | TYPE 2 |
| --- | --- | --- |
| Max. Density (dwelling units/acre) | 4 | 1 |
| Min. Parcel Size (SF) | 10,890 | 43,560 |
| Min. Front Yard and Street Side Yard setback | 25’ | 25’ |
| Min. Interior Side Yard setback | 8’ | 8’ |
| Min. Rear Yard setback | 20’ | 20’ |
| Min Lot Width | 75’ | 75’ |
| Max. Bldg. Coverage (% of lot) | 40% | 40% |
| Max. Height Principal Structure | 35’ | 35’ |
| Max. Height Accessory Structure | 24’ | 24’ |
| Fence Height | 6’ max, 4’ max for front yard | 6’ max, 4’ max for front yard |

Mix of Housing Types

Two-family homes may comprise no more than 50 percent of the total dwelling units of any proposed SVR District subdivision. In no case shall the SVR District density of four dwelling units per acre be exceeded for the overall subdivision site.

Constrained Lands

Constrained lands include lands with natural slopes greater than 30 percent, jurisdictional wetlands, lands in the 100-year floodplain, public drinking water supply sources (recharge areas for wells and aquifers), lands affected by unmitigable geo-hazards, and riparian habitats unless mitigated by a licensed engineering study.

Constrained lands in all developments and subdivisions shall be identified on plats and remain unoccupied by buildings or impervious surfaces.

Land Suitability

Land deemed to be environmentally unsuitable shall not be platted for residential occupancy, or for such other uses as may increase danger to health, life, or property, or aggravate erosion or flood hazard. Such land within the plat shall be restricted for such uses as shall not be endangered by periodic or occasional inundation or shall not produce unsafe living conditions.

The County shall not approve the subdivision of land if it is determined that the site is not suitable for platting and development purposes.

# Measurements and Exceptions

# Lot Area

Lot area refers to the amount of horizontal land area within lot lines. No building permit or development approval shall be issued for a lot that does not meet the minimum lot size requirements of this chapter, with the following exceptions:

Lot Area Reduction for Public Purpose

When an existing lot is reduced as a result of conveyance to a federal, state or local government for a public purpose and the remaining area is at least three-quarters of the required minimum lot size for the SVR District in which it is located, the remaining lot shall be deemed to be in compliance with the minimum lot size standards of this chapter.

Utility Facilities

Utility facilities using land or an unoccupied building requiring less than 1,000 square feet of site area are exempt from the minimum lot size requirements of the SVR District.

# Required Yards (Setbacks)

Setback refers to the unobstructed and unoccupied open space between a structure and the property line of the lot on which the structure is located. Setbacks shall be unobstructed by any part of a structure from the ground to the sky and measured as the horizontal distance between a property line and the furthermost projection of the structure, except as provided otherwise in this chapter.

# A.   Front Yard Setback

1.    Corner Lots

For lots with frontage on two intersecting public or private streets, such a lot shall be considered to have two front lot lines and shall comply with front yard setbacks from each front lot line.

2.    Double Frontage Lots

Where lots have double frontage, running through from one street to another, a required front yard setback shall be provided on both streets.

- Cul-De-Sacs

# Notwithstanding any other provisions of this chapter, lots fronting on a cul-de-sac shall have a minimum frontage of 30 feet and a minimum lot width of 40 feet.

# Maximum Height

A.   Measurement

1.    Buildings

Building height shall be determined by measuring the vertical distance between the lowest point where the wall face of the building intersects finished grade around the perimeter of the building (or structure other than fences, telecommunications and microwave towers, and antennas) and the highest point on the building.

2.    Fences and Walls

Height of fences or walls shall be measured as the vertical distance between finished grade on the highest side of the fence or wall to the top of the fence or wall.

Building Coverage

- Measurement

The maximum area of the lot that is permitted to be covered by buildings, including both principal structures and accessory buildings.

- Permitted Exceptions

Building coverage does not include paved areas such as driveways, uncovered porches or patios, decks, open swimming pools, or roof overhangs of less than 5 feet.

# District Standards

All principal residential structures in the SVR District shall comply with the following requirements:

  - All properties shall be designed in accordance with the requirements of the Water Efficient Zoning Ordinance.

  - The minimum spacing between dwellings shall be 16 feet, with an additional 8 feet per story provided between buildings for every story over 2 stories.

3.   Manufactured Homes shall:

a.    Utilize non-reflective siding materials; i.e. wood, stucco, adobe, brick, or stone or material that looks like wood, stucco, adobe, brick, or stone;

b.    Be placed on a concrete slab-on-grade or concrete perimeter foundation;

c.     Have a minimum 24-foot horizontal wall dimension on at least 2 non-opposing sides;

d.     Be skirted with a material or product specifically designed for the skirting of such homes. Required skirting shall be maintained so as not to provide a harborage for animals or create a fire hazard.

e.     Have running gear, tongues, axles and wheels removed from the manufactured home at the time of installation.

f.      Be permanently attached to a foundation. Anchors and tie-downs, such as cast-in-place concrete “dead-men”, eyelets embedded in concrete slabs or runways, screw augers, arrowhead anchors, or other devices shall be used to stabilize the manufactured home.

g.     Have a minimum finished floor elevation at least 24 inches above the exterior finish grade, as measured at the main entrance into the dwelling.

h.     Shall comply with current building code requirements, the standards of this ordinance, and in accordance with current FHA and HUD guidelines.

i.     	Shall allow only one manufactured home per designated lot (manufactured home communities shall be permitted as part of a Planned Community only).

4.   The keeping of no more than four (4) large animals and livestock shall be considered a permitted use on parcels with more than one acre and less than 5 acres. These standards shall not be applicable to parcels larger than 5 acres.

5.	The keeping of no more than four (4) small agricultural animals (sheep, pigs, goats, etc.) shall be considered a permitted use on parcels with more than one-half acre and less than 5 acres. These standards shall not be applicable to parcels larger than 5 acres.

6. 	Barns, stables, coops, animal sheds or similar structures shall be set back at least 100 feet from existing dwellings and 20 feet from any open waterway. Surface drainage from such structures shall not be permitted to drain into a natural stream or into a drainage way that drains into a natural stream and shall comply with State of Utah Health Code.

# Subdivision Standards

# Applicability

All plats and subdivision of land within the SVR District shall conform to the following rules and regulations.

# Lot Configuration

The lot size, width, depth, shape and orientation, and the minimum building setback lines shall be appropriate for the location of the subdivision and for the type of development and use contemplated and shall not be less than those specified as minimum standards by the SVR District. The depth and width of properties shall be adequate to provide for the off-street service, parking facilities and fire/safety requirements required in the Zoning Ordinance.

# Side Lot Lines

Side lot lines shall be substantially at right angles to street lines unless otherwise approved by the Planning Commission.

# Street Frontage Required

Each new lot or building tract shall front upon a public street.

# Double Frontage Lots

Double frontage lots shall be avoided, except where essential to provide separation of residential development from traffic or to overcome specific disadvantages of topography and orientation.

# Flag Lots

Flag-shaped or panhandle shaped lots may be created in either TYPE 1 or TYPE 2 developments if all of the following requirements are met:

    - The lot has at least 25 feet of frontage on a dedicated public street, which frontage served as access only to the subject lot or parcel.

    - The "handle" portion of the lot is at least 25 feet in width, and not more than 250 feet in length.

    - The body of the lot meets the lot area and lot width and setback requirements of the applicable TYPE.

# Large Lots

Where the area is divided into larger lots than for normal San Juan County building sites and, in the opinion of the Planning Commission, any or all of the tracts are susceptible to being re-subdivided, the original subdivision shall be such that the alignment of future street dedications may conform to the general street layout in the surrounding area and so that the larger tracts may be later subdivided in conformance with the requirements of this Code and the minimum standards specified by the applicable zoning district.

# Streets

# Applicability

All developers shall be required to construct streets within the subdivision in accordance with San Juan County Code requirements.

# Street Layout

Unless otherwise approved by the Planning Commission, provisions shall be made for the extension of streets. All streets shall bear a logical relationship to the topography and to the location of existing or planned streets on adjacent properties. Adequate local streets shall be provided to accommodate the subdivision and provide access to lots. The arrangement of streets in a subdivision shall either:

    - Provide for the continuation or appropriate projection to existing principal streets in surrounding areas; or

    - Conform to a plan for a neighborhood or planned unit development approved by the Planning Commission to meet a particular situation where topographical or other conditions make continuance or conformance to existing streets impracticable or where neighborhood design makes a varied plan appropriate.

# Street Connections

The system of streets designated for a subdivision, except in unusual cases, must connect with streets already dedicated in adjacent subdivision(s); and where no adjacent connections are platted, must in general be the reasonable projection of streets in the nearest subdivided tracts, and must be continued to the boundaries of the tract subdivided, so that other subdivisions may connect therewith. Reserve strips of land controlling access to or egress from other property or to or from any street or alley or having the effect of restricting or damaging the adjoining property for subdivision purposes shall not be permitted in any subdivision unless such reserve strips are conveyed to San Juan County in fee simple.

# Half Right-of-Way (R.O.W.)

Half streets shall be prohibited except where essential to the reasonable development of the subdivision and where the Planning Commission finds it will be practicable to require the dedication for the other half of a street when adjoining property is subdivided.

# Street Intersections

More than two streets intersecting at a point shall be avoided, except where it is impractical to secure a proper street system otherwise. Intersections shall be as near 90 degrees as possible and in no cases shall the intersection angle being less than 60 degrees.

# Street Jogs

Non-intersecting streets with centerline offset of less than 125 feet shall not be approved.

# Dead-End Streets

Dead-end streets, except for cul-de-sacs, shall be prohibited unless they are designed to connect with future streets on adjacent lands that have not been platted. In cases where these types of dead-end streets are allowed, a temporary turnaround with a minimum radius of 50 feet shall be constructed.

# Cul-de-sacs

Cul-de-sacs shall meet the San Juan County Code requirements. Ordinarily, cul-de-sacs are discouraged as they do not result in a continuity of existing streets or streets pattern, and may be used only where unusual drainage or land ownership configurations exist that make other designs impractical.

# Highway Access Permit

A Highway Access Permit must be approved by UDOT for each new subdivision with direct access to a state or federal highway. Turn lanes, frontage road(s), curb and gutter may be required along the entire highway frontage if required by UDOT.

# Street Design Standards

Street and alley widths, curves, grades design speed and centerline radius shall meet San Juan County Code requirements.

Turn By-Passes and Turn Lanes

Right-turn by-passes or left-turn lanes may be required at the intersection of collector streets if traffic conditions indicated they are needed. Sufficient rights-of-way shall be dedicated to accommodate such lanes when they are required.

Street Names and Numbers

All street names shall be as established subject to approval of San Juan County Code requirements. When streets are in alignment with existing streets, any new streets shall be named according to the streets with which they correspond. Streets which do not fit into an established street-naming pattern shall be named in a manner which will not duplicate or be confused with existing streets within the Spanish Valley Area Plan or its environs.

# Street lighting

Street Lighting shall conform to San Juan County requirements. The developer shall pay the costs of purchasing and installing all street lighting equipment. Street lighting design plans shall be subject to the approval of designated San Juan County staff. The type of equipment, method of installation and location of the wiring and light poles shall meet the minimum standards and requirements of the electric company from which electricity is to be purchased. All street lighting shall be shielded and directed toward the ground so as to minimize horizontal view and visibility of the light source. All intersections with a major collector street shall have at least one street light.

# Sidewalks and Trails

# Applicability

This section is intended to ensure adequate pedestrian access is available to serve uses that need and benefit from such access. If a builder or property owner believes that a proposed use does not need or benefit from pedestrian access, a written request for a waiver may be submitted to the Zoning Administrator describing the use and explaining why pedestrian access should not be required as a condition of the building permit for the proposed use.

# Trails

Trails shall be designed as single track and multi-use trails depending on the specific need, and conform to the standards in Table 3.

Table 3

Trail Design Standards

| TRAIL DESIGN STANDARDS |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Cross-Slope Range | Min. Trail Width | Min. R.O.W. Width | Clearing |  | Preferred Surface Materials |  |  |  |
|  |  |  |  | horizontal | vertical | natural | crushed stone | asphalt | concrete |
| Single-track Trails | 0-20% | 3’ | 6’ | 1.5’each side of trail | 10’ | Yes | Yes | No | No |
| Multi-use Trails | 0-10% | 12' | 15’ | 1.5’ each side of trail | 10' | Yes | Yes | Yes | Yes |

# Easements

# Utility Easements Required

# Utility easements shall be provided in all residential areas unless otherwise approved by the Planning Commission and in commercial and industrial districts, except that the Planning Commission may waive the requirement where other definite and assured provision is made for service access consistent with and adequate for the uses proposed.

# Minimum Width

# The minimum rights-of-way width of each utility easement shall be 5’ minimum or as required by the utility authority.

# Fire Lanes and Emergency Access Easements

# Fire lanes and emergency access easements 20 feet in width shall be provided where required by the fire authority having jurisdiction.

# Drainage Easements

# When a proposed subdivision is traversed by an irrigation ditch or channel, natural creek or stream or a proposed drainage easement, an easement shall be provided sufficient for drainage and to allow for maintenance of the drainage system.

# Trail Easements

# When a proposed subdivision is traversed by a public trail shown on an adopted plan or when the Planning Commission finds that a trail easement can better serve the proposed development than a sidewalk, an easement shall be provided sufficient for public trail construction, maintenance and access purposes according to San Juan County Code requirements.

Adjoining Areas

When easements in areas adjoining proposed subdivisions are necessary to provide adequate drainage thereof or to serve such subdivisions with utilities, the developer shall obtain such easements.

# Drainage

# Applicability

Applicants shall provide, at applicant’s expense, drainage facilities in accordance with the requirements of the San Juan County Code requirements which will become integral parts of the existing street or roadway drainage system. The dimensions of all drainage structures must be approved by San Juan County prior to installation. Design shall be based on environmentally sound site planning and engineering techniques. It is especially critical that storm water management systems be designed for an entire drainage basin rather than just for specific sites. If improvements are identified and necessary downstream of the proposed development and no approved capital improvement plan exists to address the necessary improvement, the developer shall be required to demonstrate that such existing drainage features are adequate to serve the anticipated development and to protect the public health, safety, and general welfare at full build out under existing zoning. Where such demonstration is not made, the applicant or developer shall be required to install such necessary improvements.

# Minimum Standards

A.    Natural and Historic Drainage Ways

All historic flood and drainage ways shall be protected from alteration such that their primary function as storm water facilities shall be upheld.

B.    100-Year Storm

All drainage and flood control facilities shall be designed to handle the calculated difference between historic flows and the anticipated post-development 100-year frequency storms for maximum period of intensity over the entire drainage basin which the subdivision serves, or other standards required by San Juan County Code. The “100-year storm” referred to herein shall mean that storm run-off is calculated on the basis of a fully developed watershed.

C.    Erosion

Where free fall of water occurs, satisfactory means shall be provided to prevent erosion of soil.

D.    Catch Basins and Culverts

Catch basins and culverts shall be constructed in accordance with the San Juan County Code requirements

E.    Engineered Design

All drainage shall be designed by a Utah licensed professional engineer and approved by San Juan County authorities.

# Water Supply

# General

New development shall provide water supply that is sufficient in terms of quality, quantity and dependability for the proposed development. In making its determination as to whether the proposed water supply meets this standard, the decision-making body shall give substantial weight to the recommendations of State, County and applicable service district authorities and their associated standards. All water systems shall be provided by or through approved water and sewer service agencies and meet all applicable requirements of the San Juan County Code requirements.

# Municipal and District Water Systems

If all or part of a proposed development is within the jurisdiction of an approved public water system, then the applicant must obtain a written certification from the public water service provider stating that it is able to provide an adequate supply of drinking water with adequate quantity, quality and sufficient pressure to meet the needs of the proposed development based on the projected water usage of the development. Individual or common wells or other private water systems shall be permitted only when the subdivision boundary is outside the jurisdiction of an approved public water system able to serve the development.

Section 2.	Spanish Valley Planned Community (PC) Zone

An Ordinance Creating the Spanish Valley Planned Community (PC) Zone of the San Juan County Land Use Ordinance for the Purpose of Creating a new Zone to Allow and Plan for Large-scale Development in the non-federal lands in the Spanish Valley within San Juan County. See Land Use Plan on page 28 of the San Juan County Spanish Valley Area Plan (adopted April 17, 2018) for a map and general description.

Purpose

Land Use Districts

Minimum Requirements

Permitted Uses

Conditional Uses

Planning and Approval Process for PC Zones

PC Zone Plan

Community Structure Plan (CSP)

Project Plan/Subdivision Plat

Site Plan Review

Development Standards

- Open Space and Common Areas

- Fencing, Screening, Clear Vision

- Architectural Standards

- Water-conserving Landscaping Requirements

- Lighting

- Other Requirements

Development Agreement

Purpose

The purpose of the Spanish Valley Planned Community (PC) Zone is to provide a regulatory tool that allows large properties in the Spanish Valley to be developed in accordance with a specific plan designed to achieve the following:

- To promote and protect the public health, safety, and welfare.

- To implement the objectives and policies of the San Juan County General Plan.

- To facilitate development within the San Juan County Spanish Valley in accordance with the Spanish Valley Area Plan that was adopted as part of the general plan. This plan promotes high quality, innovative and creative development that includes a mixture of uses, building types, varying densities and lot sizes and sufficient diversity of housing types to meet the full life-cycle housing needs of local residents, a harmonious variety of commercial and flex-commercial uses, adequate amenities, and the preservation of open space.

- To safeguard and enhance environmental amenities and the quality of development.

- To attain the physical, social, and economic advantages resulting from comprehensive and orderly planned use of land resources.

- To lessen congestion and assure convenience of access.

- To secure safety from fire, flood, and other natural dangers.

- To provide for adequate light, air, sunlight, and open space.

- To promote and encourage conservation of scarce resources.

- To preserve the unique landforms, views and environmental qualities of the Spanish Valley.

- To prevent overcrowding of land and undue concentration of population.

- To facilitate the creation of a convenient, attractive, and harmonious community with a desirable living and working environment with unique identity and character.

- To attain a desirable balance of residential and other land uses.

- To promote a pedestrian friendly environment that encourages transit and bicycle use.

- To expedite the provision of adequate and essential public services.

- To promote more economical and efficient use of the land and water.

- To provide a process for initiation, review, and regulation of large-scale, comprehensively planned communities that affords the maximum flexibility within the context of an overall development program and specific, phased development plans coordinated with the provision of necessary public services and facilities.

This chapter establishes an approval and entitlement process to promote thoughtful and efficient land use patterns that would otherwise be difficult under typical zoning ordinances.  The Spanish Valley area may have more than one PC Zone.

PC Zone(s) may include residential neighborhoods and subdivisions; neighborhood commercial centers; business, research and educational campuses; highway commercial and flex development areas; and parks and open space with convenient pedestrian access and connections.  Individual structures within each PC Zone may contain mixed uses. Permitted densities may be higher than those permitted in surrounding districts.

Land Use Districts

Each PC Zone shall establish land uses and development patterns, densities, and standards unique to that zone. Upon approval, through the process set forth in this chapter, the land uses and development patterns and densities shall be established pursuant to the PC Zone Plan and one or more development agreements and accompanying Community Structure Plan(s). Specific land uses proposed in the PC Zone may only be established in conformance with provisions of this chapter.

Each PC Zone may consist of any number or combination of the following land use districts that shall be identified in the Community Structure Plan as provided in this chapter.

Central Development Areas

These are the flattest, least sensitive and easiest‐to‐develop sites in the Spanish Valley, which makes them suitable for a wide range of residential and park/open space uses. These are the preferred areas for locating higher residential density, mixed‐use neighborhood centers, where a mix of residential local commercial and civic services will be provided. 4-5 residential units/ERUs per acre.

Perimeter Development Areas

These areas are relatively isolated, located in the foothills and topographically challenged edges of the Spanish Valley. They are proposed for lower‐density residential uses and earmarked for long‐term, phased development. 1-2 residential units/ERUs per acre.

Flex Development Areas

These areas are located in close proximity to US‐191 and are intended to establish an economic base for the Spanish Valley. These areas should be buffered from nearby residential neighborhoods and allow a range of business, distribution, highway commercial, and specialty residential uses. 4-5 residential units/ERUs per acre.

Highway Commercial Development Areas

These areas take advantage of the location along US‐191, providing sites for highway‐based commercial uses that meet community and regional needs. 6-12 residential units/ERUs per acre.

Neighborhood Center

This category is designed to allow low‐density mixed‐use centers that serve the local retail and service needs of the Spanish Valley. Development emphasizes small‐scale retail, commercial and recreational uses, but also includes limited residential (single and multi‐family), public/semipublic uses, and open space uses. Neighborhood Center residential densities are generally the highest permitted in the Spanish Valley. 6-12 residential units/ERUs per acre.

Open Space

Landscaped areas including parks, natural areas or farmland that are established to provide and preserve outdoor recreational, agricultural, or other similar uses. In addition to the open space district, areas of open space may also be provided within the other land use districts.

# Minimum Requirements

The minimum requirements for the PC Zone establish basic standards for development.  The landowner or developer is encouraged to expand on these minimum requirements, providing more open space, higher standards of design and additional amenities as part of creating a superlative community.

# Small Planned Community:

# Each PC Zone of this type shall contain a minimum of 20 acres under single ownership. This area will allow up to four (4) residential units per acre, and a range of residential units and types.

# Large Planned Community:

# Each PC Zone of this type shall contain a minimum of 200 acres. If the PC Zone contains multiple owners, the owners may, if necessary to reach the 200-acre threshold, or if such owners otherwise desire, combine their properties for planning and development purposes. This area will allow higher residential density and a range of residential types.

# Manufactured Home Planned Community:

# Each PC Zone of this type shall contain a minimum of 10 acres under single ownership and a maximum density as established by FHA and HUD.

A Site Plan shall be prepared, approved and filed with the findings of fact as part of the approval.  Each manufactured home site in a Manufactured Home Community shall be clearly designated. Development plans shall comply with the applicable requirements of this chapter and the required Site Plan shall be drawn to scale and shall explicitly illustrate at least the following features:

- Location and dimensions of all project boundaries.

- Location of pavement on adjoining street rights-of-way.

- Location and dimensions of any permanent improvements existing or planned within the Manufactured Home Planned Community, including but not limited to the following:

  - Improved surfaces for common driveways, off-street parking and recreation areas;

  - Buildings for management, maintenance and recreational purposes;

  - Recreational facilities;

  - Fences and walls;

  - Underground utilities;

  - Outdoor lighting fixtures; and

  - The location of pipelines and systems for potable water distribution, sewage collection and fire protection, including location of all fire hydrants.

# Permitted Uses

The following uses may be conducted in all areas within a PC Zone of more than 200 acres:

- All uses illustrated in the Spanish Valley Area Plan (2018), which was adopted as part of the San Juan County General Plan, as follow:

  - Residential uses of various types and lot sizes including: single family detached; single family attached; multifamily residential; town homes; loft apartments; residential units above ground floor retail or office; and manufactured home communities;

  - Local retail, service, office, and mixed-use housing at designated Neighborhood Centers;

  - Mix of permitted uses (including office/commercial, office/residential, retail/residential) within designated Neighborhood Centers;

  - Home-based businesses;

  - Health-care facilities;

  - Public facilities, such as schools, libraries, and civic buildings;

  - Private schools and civic/cultural facilities;

  - Common areas, such as parks, plazas, playgrounds, and trails;

  - Churches and other religious facilities;

  - Day-care facilities;

  - Open space, including landscaped areas and areas in natural vegetation, waterways, parks, trails and recreational areas;

  - Business, distribution, specialty residential and commercial as described for Flex Development Areas;

  - Highway-scale commercial and flex development along US-191 as illustrated in the Spanish Valley Area Plan; and

  - Other accessory uses which are ancillary to, and designed to serve, any of the foregoing uses.

# Conditional Uses

The approved PC Zone Plan or Community Structure Plan may include provisions for specific land uses identified as conditional uses within a given PC Zone and may include uses listed elsewhere in this chapter or additional uses. The addition of conditional uses in the approved PC Zone Plan shall require the approval of the Planning & Zoning Commission, which approval may be established by development agreement. Conditional uses, if any, are subject to review and approval as set forth in the San Juan County Code. Design standards for conditional uses shall be included with the applicable Project Specific Standards.

# Planning and Approval Process for PC Zone

Development within the PC Zone will require the following plans to be prepared and submitted for approval in accordance with this chapter: PC Zone Plan, Community Structure Plan, and Project Plans and/or Subdivision Plat approval as applicable.  The planning and approval process and approving bodies are summarized in the following table:

Table 1

Planning and Approval Process for PC Zone

| APPLICATION | COVERED AREA | WHAT IS DESCRIBED IN PLAN | APPROVAL LEVEL |
| --- | --- | --- | --- |
| PC Zone Plan (Rezone) | Total land area to be rezoned to PC Zone. | Land area to be rezoned with land use table outlining: - proposed permitted and conditional uses, - maximum number of residential units, and - maximum square feet of nonresidential development. - Preliminary Community Structure Plan (CSP). | Planning Commission (recommendation) and County Commission (adoption) |
| Community Structure Plan (CSP) | Total land area that was rezoned to PC Zone above. | - Community Structure Plan (CSP). - Master Plans of major systems and the inclusion of development standards for the larger development such as major roadways, infrastructure, open space networks, general location of neighborhoods, etc. | Planning Commission |
| Development Agreement | Total land area that was rezoned to PC Zone above. | The contract between San Juan County and the individual or entity that owns or controls the affected property, detailing the obligations of both parties, specifying the standards and conditions that will govern development of the property, and describing the vested interests of both. | Planning Commission (recommendation) and County Commission (adoption) |
| Project Plan and/or Subdivision Plat | Multiple phases of development within a CSP for master subdivision approval followed by phased subdivision plats. | Show major development parcel locations, open space system, and major infrastructure associated with roadways. Final plats indicate lot layouts and development regulations. | Planning Commission |
| Site Plan | Individual sites within the development. | Final site development requirements. | Staff |

# PC Zone Plan

At the time of application for rezoning, a PC Zone Plan shall be submitted to the Planning Commission for review and recommendation to the County Commission.  Following recommendation by the Planning Commission, a PC Zone Plan shall be submitted for review and approval by the County Commission.  The approved PC Zone Plan may be amended through standard rezoning procedures.  The PC Zone Plan application shall contain the following information:

- Name of planned community;

- Names, addresses, and phone numbers of applicant and property owner(s);

- Map showing PC Zone location, legal/boundary description, acreage, scale, and north arrow;

- Land use table showing the land use district types and acreages of all proposed permitted and conditional uses, maximum number of dwelling units, Floor Area Ratios (FARs), and the total acreage of open space in the PC Zone and areas (in square footage or acreage) of the various non-residential land uses proposed in the PC Zone;

- Map showing existing waterways, major utilities, easements, storm water conveyances, flood boundaries, and other relevant infrastructure; and

- Adjacent parcels, owners, and land uses.

Upon approval, the PC Zone shall constitute an amendment to the Spanish Valley Area Plan for the area covered by the approved PC Zone Plan.

# Community Structure Plan (CSP)

Following approval of the PC Zone Plan, a Community Structure Plan (CSP), together with a development agreement that codifies the CSP, shall be submitted for review and recommendation by the Planning Commission, followed by review and approval by the County Commission.  The CSP shall contain a contiguous area of some or all of the area within the PC Zone that includes one or more of the following land use districts types as indicated in the Spanish Valley Area Plan (2018) and described in this chapter:

- Central Development Area

- Perimeter Development Area

- Flex Development Area

- Highway Commercial Development Area

- Neighborhood Center

- Open Space

A CSP shall show the following:

- Name of planned community;

- Names, addresses, and phone numbers of applicant and property owner(s);

- Map showing CSP location, legal/boundary description, acreage, scale, and north arrow;

- Map showing proposed land use district boundaries, and acreage;

- Table showing the maximum number of dwelling units, open space acreage, and acreage(s) of the various non-residential land uses;

- Master circulation system plan, including a street network; pedestrian, bicycle, and equestrian trail systems; identification of street alignments and right-of-way widths: illustrative cross sections which accommodate and specify vehicular, pedestrian, and bicycle use in the right-of-way. Pedestrian and bicycle trail systems shall connect the land use districts, schools and open space areas, and provide linkages to other trail systems in existing or future areas of the PC Zone and adjacent facilities within adjacent municipal jurisdictions of the Spanish Valley;

- Map showing existing and proposed waterways and water bodies, major utilities and easements, wells and water sources, water protection areas and similar public health areas; surface and sub-surface storm water drainage systems, flood boundaries and flood control facilities;

- Map showing adjacent parcels, their owners, and their uses;

- Map showing 40-foot contours and significant topographic features within or adjacent to the CSP property;

- Documentation of existing and proposed secondary (irrigation) water rights, shares, and usage, if any;

- Open space plan providing general descriptions and locations of major open spaces;

- Standards that govern the design and maintenance of major public infrastructure improvements (including but not limited to streets, sidewalks, street and parking lighting, paving, street furniture, trails); and

- Standards that govern general building placement, massing, and design criteria (CSP Design Standards).

The Planning Commission shall have the discretion to negatively recommend, and the County Commission shall have the discretion to disapprove, a CSP only on the basis of: (1) the failure of the proposed CSP to include all of the elements required in this section; (2) the failure of the proposed master circulation system identified in the CSP to adequately serve the communities within the PC Zone; (3) the failure of the proposed major infrastructure identified in the CSP to provide adequate service to the communities within the PC Zone; or (4) the inclusion of land uses in the CSP not permitted or conditionally permitted under this chapter. In approving a CSP, the Planning Commission may recommend, and the County Commission may impose, reasonable conditions of approval to mitigate reasonably anticipated detrimental impacts in accordance with the San Juan County Land Use Ordinance.

Subject to conditions or limitations agreed to in the development agreement, the development agreement based on the approved CSP shall confer a vested right to proceed with the development process established in this chapter for the property(s) included within the applicable PC Zone, including the number of dwelling units and the square footage of nonresidential uses reflected in the approved PC Zone.

# Development Agreement

Following approval of the PC Zone Plan and the Community Structure Plan (CSP), a development agreement shall be prepared as a legal contract between San Juan County and the individual or entity that owns or controls the affected property, detailing the obligations of both parties, specifying the standards and conditions that will govern development of the property, and describing the vested interests of both.

# (D) 	Project Plan/Subdivision Plat

Upon approval of the PC Zone Plan, Community Structure Plan and Development Agreement, a Project Plan shall be submitted for review that outlines project specific standards establishing in substantial detail the character and nature of the design of public and private improvements within the area covered by the applicable Project Plan (Project Specific Standards) for the applicable portion of the PC Zone covered by the Project Plan. The purpose of the Project Plan is to allow for the creation and approval of a fully-integrated development plan for a specifically identified portion of land within the applicable PC Zone.

A Project Plan may include vertical and horizontal mixtures of uses on one or more proposed lots, parcels or units located within the boundaries of the proposed Project Plan.  Therefore, the Project Plan may identify a combination of proposed subdivisions, condominium projects, and/or Site Plans, one or more of which may be submitted concurrently for review and approval with the Project Plan.  The Project Plan shall be reviewed by the Staff prior to submittal to the Planning Commission for approval.

A Subdivision Plat may include a variety of land uses including condominium projects.  Each Subdivision Plat submitted shall be reviewed by the Staff prior to submittal to the Planning Commission for approval. Subdivision Plats (preliminary and final) shall be submitted and approved in accordance with San Juan County Code requirements.

Application and approval of a preliminary or final Subdivision Plat may occur before submission of a Project Plan provided Project Specific Standards are submitted and approved contemporaneously with such Subdivision Plat application and approvals; and provided, further, that the Project Specific Standards and Subdivision Plat will ultimately be incorporated into an approved Project Plan.  The preliminary and final plats shall conform to the applicable CSP standards as well as all applicable Project Specific Standards, including any supplemental Project Specific Standards proposed and approved by the Planning Commission in connection with the applicable final plat.

# (E)	Site Plan Review

Site plans (Site Plans) may be reviewed concurrently with a Project Plan or Subdivision Plat.  Any proposed commercial, office, industrial, multi-family residential, open space, parks, or institutional developments and alterations to existing developments shall be located on legal lots of record created by metes and bounds conveyance with the approval of the Staff or pursuant to Subdivision Plats and shall meet the Site Plan review requirements.  All Ordinances and requirements shall be met in preparing Site Plan applications and in designing and constructing the development. Where applicable, building permits may not be obtained nor shall any site work be performed prior to Site Plan approval.

# Development Standards

- Open Space and Common Areas.

Open Space includes common areas, parks, trails, natural areas or farmland that provide and preserve recreational, agricultural, or other similar uses in the PC Zone as approved by the Planning Commission.  Common areas include landscaped areas (including landscaping around schools and other civic buildings), athletic fields, parks, natural open spaces and trail corridors, gathering places such as plazas, commons, exterior courtyards, public recreational facilities, landscaped medians or park strips that exceed standards, but do not include landscaped areas contained within the Spanish Valley public street cross sections.  The applicable CSP Standards and Project Specific Standards shall govern the use and character of the Open Spaces, including common areas.  Each PC Zone shall contain a minimum of 25 percent of the gross acreage in Open Spaces.  These areas shall be designated in the applicable Project Plan and separately identified on any applicable final Subdivision Plat or Site Plan.  Open Space recorded as a lot or lots in subdivisions or as common area in condominium plats and shall be maintained with open space or conservation easements or such other arrangement as is approved by the Planning Commission in connection with Project Plan or subdivision or condominium approval.

# Yard Requirements

Yard requirements shall be determined and governed by the applicable Project Specific Standards established pursuant to the requirements of this Chapter.  The following minimum requirements shall apply in the PC Zone:

- Minimum yard areas shall be measured from the front, side and rear lines of lots, condominium private ownership yard areas (where building footprint is not recorded) or from accesses, driveways, or streets (where no property lines or private ownership yard areas exist).

- Buildings may not be located within a public right of way or utility easement.

# Fencing, screening, clear vision.

Fencing, screening and clear vision requirements shall be determined and governed by the applicable Project Specific Standards established pursuant to the requirements of this Chapter.  The following requirements shall apply in the PC Zone:

- All mechanical equipment, antennas, loading and utility areas, and trash receptacles shall be screened from street view with architectural features or walls consistent with materials used in the associated buildings as more specifically set forth in the applicable Project Specific Standards.

- Fences and landscape materials, except for mature trees which are pruned at least 7 feet above the ground, shall not exceed 4 feet in height within a 10- foot triangular area formed by the edge of a driveway and the street right-of-way line or within a 30-foot triangular area formed by the right-of-way lines of intersecting streets.

# Architectural standards.

Architectural requirements shall be determined and governed by the Project Specific Standards established pursuant to the requirements of this Chapter.  The following architectural standards and requirements shall apply in the PC Zone.

- Architectural design of buildings and building materials shall be established in the Project Specific Standards.

- All building materials shall be high quality, durable, and low maintenance.

- The applicable Project Specific Standards shall address exterior relief of buildings, design of all sides of buildings, and architectural compatibility of buildings.

# Landscaping requirements.

Landscaping requirements shall be determined and governed by the applicable Project Specific Standards established pursuant to the requirements of this Chapter. The following landscaping requirements shall apply in the PC Zone.

- Water-wise landscaping as detailed in the Water Efficient Landscape Ordinance will be required to ensure that the limited water resources available in the region are used wisely and conserved.  Specific water-wise landscaping standards which apply to the Spanish Valley Area Plan shall be required.

- The applicable Project Specific Standards shall address the landscaping and proper maintenance of required front, side, and rear yards of lots and private ownership areas in the PC Zone.

- All areas of lots and parcels in the PC Zone not designated for open space, parking, buildings, or other hard surfacing shall be landscaped and properly maintained.

- Designated open space shall remain in a natural condition, cultivated or landscaped, as applicable, and properly maintained in accordance with the Project Specific Standards.

- All park strips and public rights-of-way areas in the PC Zone shall be landscaped and properly irrigated and maintained by the applicable property owners in the PC Zone unless otherwise approved by San Juan County.  All park strip areas shall be installed by the developer and properly maintained by the applicable property owners in the PC Zone.  A plan for funding of on-going maintenance of street landscaping by the property owners shall be presented for approval by Staff at the time of Site Plan approval.

# Lighting

Lighting requirements shall be determined and governed by the Project Specific Standards.

- Other Requirements

The following requirements shall apply in the PC Zone.

- All development areas shall be graded according to San Juan County Code requirements to provide adequate drainage.  Buildings shall be equipped with facilities for the discharge of all roof drainage onto the subject lot or parcel.

- Incorporation of Low Impact Design (LID) storm water practices shall be required wherever possible.

- The applicable owners shall properly maintain all private areas of individual lots or parcels.

- The specific requirements of this Chapter may be modified as the County Commission deems appropriate pursuant to the terms of the applicable development agreement.

- All common area improvements including buildings, open space, recreational facilities, roads, fences, utilities, landscaping, walkways, street lights, and signs not specifically dedicated to or accepted for ownership or maintenance by San Juan County shall be perpetually maintained by the applicable owners or their agents through a special taxing district, owners' association with power to assess and collect fees for maintenance, or other assessment and maintenance mechanisms acceptable to the County Commission.

- Improvements for which San Juan County agrees to accept maintenance responsibility shall be reviewed by the applicable service provider for compliance with adopted standards prior to approval.

# Development Agreement

In conjunction with the approval of a PC Zone Plan, CSP, and Project Plan, the developer and/or landowner and San Juan County Commission shall enter into one or more development agreements reflecting all conditions of approval and terms of the applicable CSP and such other matters as the County Commission and developer/landowner may agree.

The County Commission chair shall sign all development agreements and shall only approve the development agreement associated with the CSP. Without regard to future amendments, additions or changes to the Ordinance, the County Commission may agree, in such development agreements, that the developer/landowner may advance development applications for projects within the applicable CSP pursuant to the planning and approval processes set forth in this chapter, or such other process as is specifically agreed upon pursuant to a development agreement approved by the County Commission.  Such development agreements may further identify a process for approving amendments to an approved PC Zone Plan, CSP, Project Plan or Subdivision Plat, which shall be approved by the County Commission to the extent such a process differs from San Juan County Code.  Any entitlement granted to the developer/landowner under the terms of a development agreement shall be subject to amendments, changes, or additions to this chapter if the County Commission finds that failure to so amend, change, or add to the chapter would constitute a compelling countervailing public interest.

Section 3.	Spanish Valley Highway Commercial (SVHC) District

An Ordinance Creating the Spanish Valley Highway Commercial (SVHC) District of the San Juan County Land Use Ordinance for the Purpose of Controlling Development in the non-federal lands in the Spanish Valley within San Juan County. See Land Use Plan on page 28 of the San Juan County Spanish Valley Area Plan (adopted April 17, 2018) for a map and general description.

Purpose

Uses

Conditional Uses

Special Provisions

Signs

Constrained Lands

District Standards

Subdivision Standards

Streets

Sidewalks and Trails

Easements

Drainage

Water Supply

Purpose

To provide a district where highway commercial uses along U.S. Highway 191 are permitted, as supported in the San Juan County Spanish Valley Area Plan (2018).  Accordingly, regional commercial, business development and specialty residential uses should be permitted along U.S. Highway 191 as part of a flexible, mixed use development model, with access provided primarily from east/west roads linked to the highway, and along highway frontage roads.

# Uses and Sub-zones

- Restaurant or drive-in café

- Motels and Hotels

- New and Used Automobile Sales

- Automobile Service Station

- Auto Accessories Farm Machinery and Equipment Sales

- Nurseries and Greenhouses

- Mobile Home Sales

- Mobile Home Park

- Drive-in Theater

- Bowling Alley and Other Commercial Recreation Facilities

- Accessory Buildings and uses

- Other uses approved by the Planning Commission as being in harmony with the intent of the Spanish Valley Highway Commercial zone and similar in nature to the above listed uses.

Conditional Uses

All other uses than those listed.

Special Provisions

- Applications for conditional uses are required to provide a detailed site plan drawings of their proposed use as follows:

(a) 	Format size not less than 8-1/2" x 11" or greater than 24" x 36".

(b) 	Precise dimension at a standard scale.

(c) 	Location of all existing structures and improvements (buildings, roads, fences, ditches and canals, utility systems), and other information as required by Planning Commission.

(d) 	Proposed methods of providing utility needs including water, sewer, electrical, and fuel services, access and parking, and appropriate methods from dealing with any special site problems such as storm water drainage.

- No buildings used for commercial or industrial purposes shall be erected within twenty-five (25) feet of a residential building or residential district boundary. Buildings used for commercial and industrial purposes that are located within one-hundred (100) feet of a residential district boundary shall not exceed the height limitations of the corresponding residential district.

- All Highway Commercial uses must have direct frontage and/or a physical parcel connection by street to U.S. Highway 191. Sites lacking such relationships will be limited to uses and development conditions of the adjacent Spanish Valley Residential District.

Signs

- Businesses signs shall be allowed after approval of a "Request for Business Sign Permit" and shall be regulated by Federal and State Highway legislation, provided that:

  - Planning Commission may require that signs shall not exceed one (1) square feet of sign area for each one (1) linear foot of street frontage abutting the development portion of the property,

  - Any one (1) sign for any one (1) business shall not exceed fifty (50) square feet, and

  - The number of signs for each business may not exceed three (3), the total area of which shall not exceed the total sign area allowance.

- Non-business signs shall be permitted provided no more than two (2) signs for each use or occupancy may contribute to the total allowable square footage area as follows:

  - Development - maximum 40 square feet

  - Civic - maximum 14 square feet

  - Real Estate - maximum 32 square feet

  - Residential - maximum 2 square feet

# All signs to be flat wall or free standing and such signs shall not be revolving, have moving parts, flashing or intermittent lighting.

# Lot Design Standards

All development in the SVHC District shall be subject to the following lot design standards, which generally allow for a variety of uses and building types while maintaining the overall character of a highway commercial district. This approach promotes better site layout and development relationships that match existing and proposed infrastructure investments.

Minimum Requirements

Every building erected or installed must be located on, and every plat submitted for approval must show, a lot or building parcel that meets the minimum requirements of at least one use permitted under this article, based on underlying zoning and subdivision type.

Every building and lot must have direct access to a public street or frontage road.

All structures must be located on lots or parcels that provide safe and convenient access for servicing, fire protection and required on-site parking. No lot shall be approved that does not meet the minimum lot area requirements of this chapter except in the following cases:

- Nonconforming lots

- Public Utilities

The uses and densities listed in this chapter are allowed by right unless otherwise expressly stated. Each project must comply with all of the applicable development standards of this chapter.

Constrained Lands

Constrained lands include lands with natural slopes greater than thirty (30) percent, jurisdictional wetlands, lands in the 100-year floodplain, public drinking water supply sources (recharge areas for wells and aquifers), lands affected by unmitigable geo-hazards, riparian habitats, and archeological sites.

Constrained lands in all developments and subdivisions shall be identified on plats and remain unoccupied by buildings or impervious surfaces.

Land Suitability

Land deemed to be environmentally unsuitable shall not be platted for residential occupancy, or for such other uses as may increase danger to health, life, or property, or aggravate erosion or flood hazard. Such land within the plat shall be restricted for such uses as shall not be endangered by periodic or occasional inundation or shall not produce unsafe living conditions.

The County shall not approve the subdivision of land if it is determined that the site is not suitable for platting and development purposes.

# District Standards

For all principal structures in the SVHC District, the front yard, side and rear yards facing the highway, other streets and within 25-feet of a residential use or district shall be landscaped in accordance with the requirements of the Water Efficient Landscape chapter of the San Juan County Land Use Ordinance.

# Subdivision Standards

# Applicability

All plats and subdivision of land within the SVHC District shall conform to the following rules and regulations.

# Lot Configuration

The lot size, width, depth, shape and orientation, and the minimum building setback lines shall be appropriate for the location of the subdivision and for the type of development and use contemplated and shall not be less than those specified as minimum standards by the SVHC District. The depth and width of properties shall be adequate to provide for the off-street service, parking facilities and fire/safety requirements required in the San Juan County Land Use Ordinance.

# Side Lot Lines

Side lot lines shall be substantially at right angles to street lines unless otherwise approved by the Planning Commission.

# Street Frontage Required

Each new lot or building tract shall front upon a public street.

# Double Frontage Lots

Double frontage lots shall be avoided, except where essential to provide separation from traffic or to overcome specific disadvantages of topography and orientation.

# Flag Lots

Flag-shaped or panhandle shaped lots may be created if all of the following requirements are met:

    - The lot provides access to a residential or agricultural use.

    - The lot has at least 20 feet of frontage on a dedicated public street, which frontage served as access only to the subject lot or parcel.

    - The "handle" portion of the lot is at least 20 feet in width, and not more than 250 feet in length.

    - The body of the lot meets the lot area and lot width and setback requirements of the applicable TYPE.

# Large Lots

Where the area is divided into larger lots than for normal San Juan County building sites and, in the opinion of the Planning Commission, any or all of the tracts are susceptible to being re-subdivided, the original subdivision shall be such that the alignment of future street dedications may conform to the general street layout in the surrounding area and so that the larger tracts may be later subdivided in conformance with the requirements of this Code and the minimum standards specified by the applicable zoning district.

# Streets

# Applicability

All developers shall be required to construct streets in accordance with requirements of the San Juan County Code requirements.

# Street Layout

Unless otherwise approved by the Planning Commission, provisions shall be made for the extension of streets. All streets shall bear a logical relationship to the topography and to the location of existing or planned streets on adjacent properties. Adequate local streets shall be provided to accommodate the subdivision and provide access to lots. The arrangement of streets in a subdivision shall either:

    - Provide for the continuation or appropriate projection to existing principal streets in surrounding areas; or

    - Conform to a plan for a neighborhood or planned unit development approved by the Planning Commission to meet a particular situation where topographical or other conditions make continuance or conformance to existing streets impracticable or where neighborhood design makes a varied plan appropriate.

# Street Connections

The system of streets designated for a subdivision, except in unusual cases, must connect with streets already dedicated in adjacent subdivision(s); and where no adjacent connections are platted, must in general be the reasonable projection of streets in the nearest subdivided tracts, and must be continued to the boundaries of the tract subdivided, so that other subdivisions may connect therewith. Reserve strips of land controlling access to or egress from other property or to or from any street or alley or having the effect of restricting or damaging the adjoining property for subdivision purposes shall not be permitted in any subdivision unless such reserve strips are conveyed to San Juan County in fee simple.

# Half Right-of-Way (R.O.W.)

Half streets shall be prohibited except where essential to the reasonable development of the subdivision and where the Planning Commission finds it will be practicable to require the dedication for the other half of a street when adjoining property is subdivided.

# Street Intersections

More than two streets intersecting at a point shall be avoided, except where it is impractical to secure a proper street system otherwise. Intersections shall be as near 90 degrees as possible and in no cases shall the intersection angle being less than 60 degrees.

# Street Jogs

Non-intersecting streets with centerline offset of less than 125 feet shall not be approved.

# Dead-End Streets

Dead-end streets, except for cul-de-sacs, shall be prohibited unless they are designed to connect with future streets on adjacent lands that have not been platted. In cases where these types of dead-end streets are allowed, a temporary turnaround with a minimum radius of 100 feet shall be constructed.

# Cul-de-sacs

Cul-de-sacs shall meet the San Juan County Code requirements. Ordinarily, cul-de-sacs are discouraged as they do not result in a continuity of existing streets or streets pattern, and may be used only where unusual drainage or land ownership configurations exist that make other designs impractical.

# Highway Access Permit

A Highway Access Permit must be approved by UDOT for each new property or subdivision with direct access to a federal or state highway. Turn lanes, frontage road(s), curb and gutter may be required along the entire highway frontage if required by UDOT.

# Street Design Standards

Street and alley widths, curves, grades design speed and centerline radius shall meet San Juan County Code requirements.

Street Names and Numbers

All street names shall be as established subject to approval of San Juan County Code requirements. When new streets are in alignment with existing streets, any new streets shall be named according to the existing streets with which they correspond. Streets which do not fit into an established street-naming pattern shall be named in a manner which will not duplicate or be confused with existing streets within the Spanish Valley Area Plan or its environs.

# Street lighting

Street Lighting shall conform to San Juan County requirements. The developer shall pay the costs of purchasing and installing all street lighting equipment. Street lighting design plans shall be subject to the approval of the County Engineer. The type of equipment, method of installation and location of the wiring and light poles shall meet the minimum standards and requirements of the electric company from which electricity is to be purchased. All intersections with a major collector street shall have at least one street light.

# Sidewalks and Trails

# Applicability

This section is intended to ensure adequate pedestrian access is available to serve uses that need and benefit from such access. If a builder or property owner believes that a proposed use does not need or benefit from pedestrian access, a written request for interpretation may be submitted to the Zoning Administrator describing the use and explaining why pedestrian access should not be required as a condition of the building permit for the proposed use.

# Trails

Trails shall be designed as single track and multi-use trails depending on the specific need, and conform to the standards in Table 1 below.

Table 1

Trail Design Standards

| TRAIL DESIGN STANDARDS |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Cross-Slope Range | Min. Trail Width | Min. R.O.W. Width | Clearing |  | Preferred Surface Materials |  |  |  |
|  |  |  |  | horizontal | vertical | natural | crushed stone | asphalt | concrete |
| Single-track Trails | 0-20% | 3' | 6’ | 1.5’ each side of trail | 10' | Yes | Yes | No | No |
| Multi-use Trails | 0-10% | 12' | 15’ | 1.5’ each side of trail | 10' | Yes | Yes | Yes | Yes |

# Easements

# Utility Easements Required

# Utility easements shall be required unless otherwise approved by the Planning Commission and in commercial and industrial districts.

# Minimum Width

The minimum rights-of-way width of each utility easement shall be 5’ or as otherwise provided according to San Juan County Code requirements.

# Fire Lanes and Emergency Access Easements

# Fire lanes and emergency access easements shall be provided according to San Juan County Code requirements

# Drainage Easements

# When a proposed subdivision is traversed by an irrigation ditch or channel, natural creek or stream or a proposed drainage easement, an easement shall be provided sufficient for drainage and to allow for maintenance of the drainage system.

# Trail Easements

# When a proposed subdivision is traversed by a public trail shown on an adopted plan or when the Planning Commission finds that a trail easement can better serve the proposed development than a sidewalk, a minimum 15-feet wide easement shall be provided sufficient for public trail construction, maintenance and access purposes.

Adjoining Areas

When easements in areas adjoining proposed subdivisions are necessary to provide adequate drainage thereof or to serve such subdivisions with utilities, the developer shall obtain such easements.

# Drainage

# Applicability

Applicants shall provide, at applicant’s expense, drainage structures in accordance with the requirements of the San Juan County Code requirements, which will become integral parts of the existing street or roadway drainage system. The dimensions of all drainage structures must meet San Juan County Code requirements. Design shall be based on environmentally sound site planning and engineering techniques.

It is especially critical that storm water management systems be designed for an entire drainage basin rather than just for specific sites. If improvements are identified and necessary downstream of the proposed development and no approved capital improvement plan exists to address the necessary improvement, the applicant shall be required to demonstrate that such existing drainage features are adequate to serve the applicant’s anticipated development and to protect the public health, safety, and general welfare at full build out under existing zoning. Where such demonstration is not made, the applicant shall be required to install such necessary improvements and may seek pro-rata reimbursement from future downstream development.

# Minimum Standards

A.    Natural and Historic Drainage Ways

All historic flood and drainage ways shall be protected from alteration such that their primary function as storm water facilities shall be upheld.

B.    100-Year Storm

All drainage and flood control facilities shall be designed to handle the calculated difference between historic flows and the anticipated post-development 100-year frequency storms for maximum period of intensity over the entire drainage basin which the subdivision serves. The “100-year storm” referred to herein shall mean that storm run-off is calculated on the basis of a fully developed watershed.

C.    Erosion

Where free fall of water occurs, satisfactory means shall be provided to prevent erosion of soil. Where required, culvers shall have concrete head walls and wing walls.

D.    Catch Basins

Catch basins shall be constructed in accordance with the San Juan County Code requirements.

E.    Engineered Design

All drainage shall be designed by a Utah licensed professional engineer and approved according to San Juan County Code requirements.

# Water Supply

# General

New development shall provide water supply that is sufficient in terms of quality, quantity and dependability for the proposed development. In making its determination as to whether the proposed water supply meets this standard, the decision-making body shall give substantial weight to the recommendations of State, County and applicable service district authorities and their associated standards. All water systems shall be provided by or through approved water and sewer service agencies and meet all applicable requirements of the San Juan County Code requirements.

# Municipal and District Water Systems

If all or part of a proposed development is within the jurisdiction of an approved public water system, then the applicant must obtain a written certification from the public water service provider stating that it is able to provide an adequate supply of drinking water with adequate quantity, quality and sufficient pressure to meet the needs of the proposed development based on the projected water usage of the development. Individual or common wells or other private water systems shall be permitted only when the subdivision boundary is outside the jurisdiction of an approved public water system able to serve the development.

Section 4.	Spanish Valley Water Efficient Landscape Ordinance

An Ordinance Establishing Minimum Water Efficient Landscape Requirements for the non-federal lands in the Spanish Valley within San Juan County. See Land Use Plan on page 28 of the San Juan County Spanish Valley Area Plan (adopted April 17, 2018) for a map and general description.

Purpose

Definitions

Applicability of Water Efficient Landscape Ordinance

Landscape Design Standards

Irrigation Design Standards

Landscapes in New Single-family Residential Developments

Prohibition on Restrictive Covenants Requiring Turf

Landscapes in Commercial, Flex and Civic/Institutional Developments

Projects

Plan Review and Construction Inspection for Commercial, Industrial, and Institutional Projects

# Purpose

# The purpose of this ordinance is to protect and enhance the community's environmental, economic, recreational, and aesthetic resources by reducing water waste and establishing a structure for designing, installing and maintaining water efficient landscapes in the San Juan County Spanish Valley.

# Definitions

The following definitions shall apply to this ordinance:

Bubbler: An irrigation head that delivers water to the root zone by “flooding” the planted area, usually measured in gallons per minute. Bubblers exhibit a trickle, umbrella or short stream pattern.

Check Valve: A device used in sprinkler heads or pipe to prevent water from draining out of the pipe through gravity flow.

Controller: A device used in irrigation systems to automatically control when and how long sprinklers or drip systems operate.

Drip Emitter: Drip irrigation fittings that deliver water slowly at the root zone of the plant, usually measured in gallons per hour.

Grading Plan: The Grading Plan shows all finish grades, spot elevations as necessary and existing and new contours with the developed landscaped area.

Ground Cover: Material planted in such a way as to form a continuous cover over the ground that can be maintained at a height not more than twelve (12) inches.

Hardscape: Patios, decks and paths. Does not include driveways and sidewalks.

Irrigation Plan: The irrigation plan shows the components of the irrigation system with water meter size, backflow prevention, precipitation rates, flow rate and operating pressure for each irrigation circuit, and identification of all irrigation equipment.

Landscape Architect: A person who holds a professional license to practice landscape architecture in the state of Utah. Only a Landscape Architect can legally create commercial landscape plans.

Landscape Designer: A person who may or may not hold professional certificates for landscape design/architecture and cannot legally create commercial landscape plans. Landscape Designers generally focus on residential design and horticultural needs of home landscapes.

Landscape Plan Documentation Package: The preparation of a graphic and written criteria, specifications, and detailed plans to arrange and modify the effects of natural features such as plantings, ground and water forms, circulation, walks and other features to comply with the provisions of this ordinance. The Landscape Plan Documentation Package shall include a project data sheet, a Planting Plan, an Irrigation Plan, and a Grading Plan.

Landscape Zone: A portion of the landscaped area having plants with similar water needs, areas with similar microclimate (i.e., slope, exposure, wind, etc.) and soil conditions, and areas that will be similarly irrigated. A landscape zone can be served by one irrigation valve, or a set of valves with the same schedule.

Landscaping: Any combination of living plants, such as trees, shrubs, vines, ground covers, flowers, or grass; natural features such as rock, stone, or bark chips; and structural features, including but not limited to, fountains, reflecting pools, outdoor art work, screen walls, fences or benches.

Mulch: Any material such as rock, bark, wood chips or other materials left loose and applied to the soil.

Park Strip: A typically narrow landscaped area located between the back-of-curb and sidewalk.

Planting Plan: A Planting Plan shall clearly and accurately identify and locate new and existing trees, shrubs, ground covers, turf areas, driveways, sidewalks, hardscape features, and fences.

Pop-up Spray Head: A sprinkler head that sprays water through a nozzle in a fixed pattern with no rotation.

Precipitation Rate: The depth of water applied to a given area, usually measured in inches per hour.

Pressure Regulating Valve: A valve installed in an irrigation mainline that reduces a higher supply pressure at the inlet down to a regulated lower pressure at the outlet.

Pressure Compensating: A drip irrigation system that compensates for fluctuating water pressure by only allowing a fixed volume of water through drip emitters.

Rotor Spray Head: A sprinkler head that distributes water through a nozzle by the rotation of a gear or mechanical rotor.

Runoff: Irrigation water that is not absorbed by the soil or landscape area to which it is applied and which flows onto other areas.

Spray Sprinkler: An irrigation head that sprays water through a nozzle.

Stream Sprinkler: An irrigation head that projects water through a gear rotor in single or multiple streams.

Turf: A surface layer of earth containing mowed grass with its roots.

Water-Conserving Plant: A plant that can generally survive with available rainfall once established although supplemental irrigation may be needed or desirable during spring and summer months.

Applicability of Water Efficient Landscape Ordinance

The provisions of this ordinance shall apply to all new and rehabilitated landscapes for public agency projects, private development projects, developer-installed landscape projects in multi-family and single-family residential projects, and homeowner provided landscape improvements within the front, side, and rear yards of single and two-family dwellings.

Landscape Design Standards

- Plant Selection. Plants shall be well-suited to the microclimate and soil conditions at the project site. Both native and locally-adapted plants are acceptable. Plants with similar water needs shall be grouped together as much as possible.

- Areas with slopes greater than 30% shall be landscaped with deep-rooting, water- conserving plants for erosion control and soil stabilization.

- Park strips and other landscaped areas less than eight (8) feet wide shall be landscaped with water-conserving plants, that do not include turf.

- Mulch. After completion of all planting, all irrigated non-turf areas shall be covered with a minimum four (4) inch layer of mulch to retain water, inhibit weed growth, and moderate soil temperature. Non-porous material shall not be placed under the mulch.

- Soil Preparation. Soil preparation will be suitable to provide healthy growing conditions for the plants and to encourage water infiltration and penetration. Soil preparation shall include scarifying the soil to a minimum depth of six (6) inches and amending the soil with organic material as per specific recommendations of the Landscape Designer/Landscape Architect based on the soil conditions.

- Tree Selection. Tree species shall be selected based on growth characteristics and site conditions, including available space, overhead clearance, soil conditions, exposure, and desired color and appearance. Trees shall be selected as follows:

  - Broad canopy trees shall be selected where shade or screening of tall objects is desired;

  - Low-growing trees shall be selected for spaces under utility wires;

  - Select trees from which lower branches can be trimmed in order to maintain a healthy growth habit where vision clearance and natural surveillance is a concern;

  - Narrow or columnar trees shall be selected where awnings or other building features limit growth, or where greater visibility is desired between buildings and the street for natural surveillance;

  - Street trees shall be planted within existing and proposed park strips, and in sidewalk tree wells on streets without park strips. Tree placement shall provide canopy cover (shade) and avoid conflicts with existing trees, retaining walls, utilities, lighting, and other obstacles; and

  - Trees less than a two-inch caliper shall be double-staked until the trees mature to a two-inch caliper.

Irrigation Design Standards

- Pressure Regulation. A pressure regulating valve shall be installed and maintained by the consumer if the static service pressure exceeds 80 pounds per square inch (psi). The pressure-regulating valve shall be located between the meter and the first point of water use, or first point of division in the pipe, and shall be set at the manufacturer's recommended pressure for the sprinklers.

- Irrigation Controller. Landscaped areas shall utilize a WaterSense labeled smart irrigation controller which automatically adjusts the frequency and/or duration of irrigation events in response to changing weather conditions. All controllers shall be equipped with automatic rain delay or rain shut-off capabilities.

- Each valve shall irrigate a landscape with similar site, slope and soil conditions and plant materials with similar watering needs. Turf and non-turf areas shall be irrigated on separate valves. Drip emitters and sprinklers shall be placed on separate valves.

- Drip emitters or a bubbler shall be provided for each tree. Bubblers shall not exceed 1.5 gallons per minute per device. Bubblers for trees shall be placed on a separate valve unless specifically exempted by the County due to the limited number of trees on the project site.

- Drip irrigation or bubblers shall be used to irrigate plants in non-turf areas.

- Pop-up spray heads shall be at a minimum of four (4) inches in height to clear turf.

- Sprinklers shall have matched precipitation rates with each control valve circuit.

- Sprinkler heads shall be attached to rigid lateral lines with flexible material (swing joints) to reduce potential for breakage.

- Check valves shall be required where elevation differences cause low-head drainage. Pressure compensating valves and sprinklers shall be required where a significant variation in water pressure occurs within the irrigation system due to elevation differences.

- Filters and end flush valves shall be provided as necessary for drip irrigation lines.

- Valves with spray or stream sprinklers shall be scheduled to operate between 6 p.m. and 10 a.m. to reduce water loss from wind and evaporation.

- Program valves for multiple repeat cycles where necessary to reduce runoff, particularly on slopes and soils with slow infiltration rates.

Landscapes in New Single-family Residential Developments

- Homebuilders and/or developers subdividing lots and/or constructing new single-family residential homes shall offer a water-efficient landscaping option to prospective home buyers. The water-efficient landscaping option shall meet the Landscape Design Standards and Irrigation Design Standards of this ordinance, and the turf area shall not exceed 10% of the total landscaped area or 1,000 square feet, whichever is less.

- Homebuilders and/or developers who construct model homes for a designated subdivision shall have at least one model home with water-efficient landscaping. The water-efficient landscaping option shall meet the Landscape Design Standards and Irrigation Design Standards of this ordinance, and the turf area shall not exceed 10% of the total landscaped area or 1,000 square feet, whichever is less.

- Model homes shall include an informational brochure on water-efficient landscaping.

Prohibition on Restrictive Covenants Requiring Turf

- Any Homeowners Association governing documents, such as bylaws, operating rules, covenants, conditions, and restrictions that govern the operation of a common interest development, are void and unenforceable if they:

  - Require the use of turf in landscape areas less than 8 feet wide or require turf in other areas that exceed 10% of the landscaped area; or

  - Prohibit, or include conditions that have the effect of prohibiting, the use of water-conserving plants as a group; or

  - Have the effect of prohibiting or restricting compliance with this ordinance or other water conservation measures.

Landscapes in Commercial, Flex and Civic/Institutional Developments

Commercial, Flex and Civic/Institutional landscapes shall meet the Landscape Design Standards and Irrigation Design Standards of this ordinance, and the turf area shall not exceed 10% of the total landscaped area or 1,000 square feet, whichever is less, outside of active recreation areas such as playfields and sport fields.

Documentation for Commercial, Flex and Civic/Institutional Projects

Landscape Plan Documentation Package. A copy of a Landscape Plan Documentation Package shall be submitted to and approved by the County prior to the issue of any permit. A copy of the approved Landscape Plan Documentation Package shall be provided to the property owner or site manager and to the local retail water purveyor. The Landscape Plan Documentation Package shall be prepared by a registered landscape architect and shall consist of the following items:

- Project Data Sheet. The Project Data Sheet shall contain the following:

  - Project name and address;

  - Applicant or applicant agent's name, address, phone number, and email address;

  - Landscape architect's name, address, phone number, and email address; and

  - Landscape contractor's name, address, phone number and email address, if available at this time.

- Planting Plan. A detailed planting plan shall be drawn at a scale that clearly identifies the following:

  - Location of all plant materials, a legend with botanical and common names, and size of plant materials;

  - Property lines and street names;

  - Existing and proposed buildings, walls, fences, utilities, paved areas and other site improvements;

  - Existing trees and plant materials to be removed or retained;

  - Scale: graphic and written;

  - Date of design;

  - Designation of landscape zones, and

  - Details and specifications for tree staking, soil preparation, and other planting work.

- Irrigation Plan. A detailed irrigation plan shall be drawn at the same scale as the planting plan and shall contain the following information:

  - Layout of the irrigation system and a legend summarizing the type and size of all components of the system, including manufacturer name and model numbers;

  - Static water pressure in pounds per square inch (psi) at the point of connection to the public water supply;

  - Flow rate in gallons per minute and design operating pressure in psi for each valve and precipitation rate in inches per hour for each valve with sprinklers, and

  - Installation details for irrigation components.

- Grading Plan. A Grading Plan shall be drawn at the same scale as the Planting Plan and shall contain the following information:

  - Property lines and street names, existing and proposed buildings, walls, fences, utilities, paved areas and other site improvements, and

  - Existing and finished contour lines and spot elevations as necessary for the proposed site improvements.

Plan Review and Construction Inspection for Commercial, Industrial, and Institutional Projects

- As part of the Building Permit approval process, a copy of the Landscape Plan Documentation Package shall be submitted to San Juan County staff for review and approval before construction begins.

- All installers and designers shall meet state and local license, insurance, and bonding requirements, and be able to show proof of such.

- Following construction and prior to issuing the approval for occupancy, an inspection shall be scheduled with the San Juan County Building Inspector to verify compliance with the approved landscape plans. The Certificate of Substantial Completion shall be completed by the property owner, contractor or landscape architect and submitted to the County.

- San Juan County reserves the right to perform site inspections at any time before, during or after the irrigation system and landscape installation, and to require corrective measures if requirements of this ordinance are not satisfied.

APPENDIX A

Zoning Regulations for Frontage, Side, Width and Height Requirements for Unincorporated Areas of the County Outside Spanish Valley

| WIDTH REGULATIONS The minimum width in feet for any lot in the | MU-1 | A-1 | RR-1 |
| --- | --- | --- | --- |
| districts regulated by this chapter, except as |  |  |  |
| modified by planned unit developments or |  |  |  |
| cluster subdivisions, shall be: | 660 | 330 | 100 |
| FRONTAGE REGULATIONS The minimum frontage in feet for any lot |  |  |  |
| in the districts regulated by this chapter on a |  |  |  |
| public street or a private street approved |  |  |  |
| by the governing board shall be: | 25 | 25 | 25 |
| FRONT YARD REGULATIONS The minimum depth in feet for the |  |  |  |
| front yard for main buildings shall be: |  |  |  |
| On established street right-of-ways, or an |  |  |  |
| equivalent depth as determined by the |  |  |  |
| Planning Commission where there is no established right-of-way. Accessory |  |  |  |
| buildings may have the same minimum |  |  |  |
| front yard depth as main buildings, if they |  |  |  |
| have the same side yard as required for |  |  |  |
| main building, otherwise they shall be set back at least six (6) feet in the rear of the main | 25 | 25 | 25 |
| buildings. | A | A | A |
| REAR YARD REGULATIONS |  |  |  |
| The minimum side yard in feet for the rear yard in |  |  |  |
| the districts regulated by this chapter shall be: For main buildings | 25 | 25 | 25 |
| For accessory buildings | 5 | 5 | 5 |

SIDE YARD REGULATIONS

The minimum side yard in feet for any dwelling

Other main or accessory buildings in districts

Regulated by this chapter shall be:			   5		   5		   5

| HEIGHT REGULATIONS The maximum height for all buildings and |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| structures in districts regulated by this chapter |  |  |  |  |  |  |
| shall be: |  |  |  |  |  |  |
| In feet |  |  |  | 35 | 35 | 35 |
| In number of stories |  |  |  | 2.5 | 2.5 | 2.5 |

APPENDIX B

Public Street Design Standards

for Unincorporated Areas of the County Outside Spanish Valley

1.  	STREET TYPES

A. 	Residential Streets – Streets which primary function is to provide access to 			individual lots within the subdivision. This would include all streets except the 			ones designated as Collector Streets.

B. 	Collector Streets – The main streets in the subdivision. This would usually be 			the street that enters or exits the subdivision which serves as a collector of all the 		residential streets.

2. 	STREET WIDTHS

A. 	Unless deemed otherwise by the San Juan County Road Department, 				residential streets shall have a minimum right of way of fifty feet (50’).  The 			minimum surface width for gravel shall be twenty-six feet (26’). The minimum 			surface width for pavement shall be twenty-four feet (24’).

1.	Gravel streets in Spanish Valley are not permitted and must be paved.

B. 	Collector streets shall have a minimum right of way of sixty feet (60’). The 			minimum width for gravel shall be thirty-two feet (32’). The minimum 				surface width for pavement shall be thirty feet (30’).

3. 	STREET DESIGN STANDARDS

A. 	Before any street is accepted by San Juan County for maintenance, the street must 		be constructed to the width requirement. A minimum of nine inch (9”) compacted 			depth of base material must be placed on the street. Of this base material, the 			surface must consist of a minimum of three inches (3”) of one inch 	(1”) or three-			quarter inch (¾”) crushed gravel. This material must be accepted by the San Juan 			County Road Department and if deemed necessary, testing of the material and 			compaction may be required by the engineer. If such testing is required, this shall 			be done at the expense of the subdivider.

B. 	Asphalt Surfaces – If the street is constructed to an asphalt surface, the surface 			depth must be a minimum of three inches (3”) to be accepted for maintenance by 			San Juan County.  Asphalt and compaction must be accepted by the San Juan 			County Road Department and, if deemed necessary, testing of the material 			and compaction may be required by the engineer.  If such testing is required, this 			shall be done at the expense of the subdivider.

i.	All newly constructed subdivision roads in Spanish Valley shall have an 				asphalt surface.

C. 	Unless deemed otherwise by the San Juan County Road Department, the 				minimum grade for all streets shall be one-half percent (0.5%). The 				maximum grade allowed for residential streets is eight percent (8%) and for 			collector streets is six percent (6%).  Where the observance of this requirement is 			unfeasible, an exception may be granted.  Streets should be 	leveled, when 				possible, to a grade of less than four percent (4%) for a distance of at least fifty 			feet (50’) approaching all intersections.

D. 	Whenever possible, streets shall intersect at right angles. When streets meet at 			acute angles, a reasonable radius will be required.

E. 	Dead end streets will have a turn-around (cul-de-sac) with a minimum radius of 			fifty feet (50’). Dead end streets should not exceed five hundred feet (500’) in

length if possible.

F. 	No more than four (4) streets shall enter an intersection.

G. 	Vertical curves shall be used at all changes of grade exceeding one percent (1%). 			Horizontal curves shall be required if street lines deflect more than five degrees 			(5º). The minimum centerline radius for residential streets shall be one hundred 			fifty feet (150’). Collector streets shall be three hundred feet (300’).

H. 	Curb and gutter – The minimum widths of streets which have curb and gutter 			shall be forty feet (40’) on residential streets and fifty feet (50’) for collector 			streets.  All measurements are from the back of the curb to the back of the curb.

I.	Cattle guards – Any cattle guards required or installed, shall be in compliance 			with the County Cattle guard policy and shall be of a width and construction 			approved by the San Juan County Road Department.

J. 	Signs – The sub divider shall provide and install any required signs on roads or 			streets as required by the Manual of Uniform Traffic Control Devices and by the 			San Juan County Road Department.

K. 	Gates – No gates, whether locked or unlocked, shall be allowed on any roads or 			streets accepted by the County.

L. 	Public Streets – All roads or streets accepted by the County are considered public 			roads and access by the public cannot be limited by the subdivider or future 			owners of any of the lots within the subdivision.

M. 	Drainage/Curb and Gutter - In the absence of curb and gutter, the sub-divider 			shall provide a street drainage plan detailing potential impacts to county roads and 		streets. The sub-divider shall be required to provide and install culverts or other 			drainage structures as required by the county.

N. 	New Streets - When a subdivision is considered to be high density. San Juan

County may require the sub-divider to pave the road with a minimum of a two lift

armor coat consisting of one lift using a three-quarter inch (¾”) dirty gravel chip 			and the second lift using a one-half  inch (½”) clean gravel chip; or as determined 			by the County a compacted asphalt mat consisting of a minimum two inch (2”)  			depth when fully compacted may be required.

O. 	Existing Streets - San Juan County may consider on a case by case basis the 			upgrading of officially accepted roads that meet San Juan County standards in 			high density subdivisions with at least ten (10) or more lots, or when conditions in 		the subdivision may cause safety or health related issues.

4.	EASEMENTS

A. 	Easements for utilities such as poles, wires, conduits, gas lines, water lines, etc. 			shall be located at the rear of all lots whenever possible. The width shall be a 			minimum of fifteen feet (15’), which can be divided between adjoining lots.

B. 	If front line easements are required, a minimum of fifteen feet (15’) shall be 			allocated. All easements shall be designed so as to provide efficient installation of 		utilities.

C. 	If front line easements are required and are within the right-of-way of any road or 			street - sufficient and proper compaction of any underground lines shall be 			required. Testing of compaction shall be at the expense of the subdivider.

D. 	All utilities shall be provided in compliance with all of the required building 			codes covering such installation.