MINUTES

Antimony Town Board Meeting

Thursday September 5, 2019

7:00 p.m.  Community Center

Mayor: Shannon Allen

Board Members:   Leon Twitchell,   Kasey King,  Becky Dean

Clerk:   Roma Henrie

Fire chief:

Public/visitors:      Richard Wilkey,  Doug and Alice Higgins

WELCOME & MINUTES:  Mayor Allen welcomed everyone to Board Meeting at 7:00.   Mayor then asked for the minutes from August to be read by Roma Henrie.  Becky Dean made a motion to accept the minutes from August meeting with no corrections.   Leon Twitchell seconded the motion.  The motion passed unanimously.

BUILDING PERMITS - Richard Wilkey.   Has  the new property all cleaned up and ready to build.  He provided a new map to the board with a change in house plans as well.   Richard Booth is ok with their plan.   Wilkey  is concerned with dry wash below bridge.   Garfield co is responsible but nothing is being done.   Mayor will call Brian Bremner again.  Board agreed to his plan.  He will pay for the water meter come spring when he is ready to get it installed.

Leon Twitchell made motion to approve building permit.  Seconded by Becky Dean.

Do they need to pay impact fees since they started the process before the fee was implemented.?  Board says “no” impact fee since building permit was approved a year ago before impact fee was implemented.

Water Meter - Doug and Alice Higgins - not on agenda but wanted to come and talk about their second meter and could they sell it back to town.  They were required to buy one for second house but others in town have not been required to do so.   He found an old line that works and he has been using it.  It is hooked up to original meter.   Mayor would like to have the whole board here to make a decision on what to do.  Doug would like to finish his plumbing problems before winter.    Mayor told him to go ahead and turn off meter and connect the two lines to old meter.  Town will buy back meter.   Marcus will have to disconnect and remove the meter.   Roma will write a check back to them for $2000.

Leon Twitchell made motion to approve removing and buying back the meter for $2000.  Becky Dean seconded the motion.

SIDEWALKS - contract signed and mailed in August.  Town needs to put in for a permit.  Mayor is working on it.

Mayor has UDOT property agreement on sidewalks.   They provide $15K and city provides $5K.  It says the city has 2 years to complete project.  They are ready to start right away, to be done by July 4.  Did not happen.  Start at Corner of school lot as far as it will go toward Montague’s.  Some of it will be above grade.  Marcus was concerned about how much and how high above grade.

Agreement came and was signed and returned.   Dip in sidewalk in front of Smith’s house needs to be filled in.

Water Meter Transfer - Jacob Montague bought milk barn property north of town from Tim Tennis and wants to transfer water meter.    He paid in cash $100 for the transfer.

Leon Twitchell made motion to transfer water meter from Tennis to Montague.  Becky Dean seconded motion.

Elections - two board members with 4 year terms are up for election this year,  Leon and Kasey.  Only the two of them filed, no election will be held for Antimony Town.   Board signed resolution form to cancel election.  Camille Moore called this morning to make sure we had no one on the ballet and that we were doing this form officially tonight.

Becky Dean made motion to cancel the election.  Leon Twitchell seconded the motion.

Forest Service application for renewal of Little Forest water line.   Mayor filled it out.  Roma and Raymond took  pictures and sent it all back on line.   She has not heard more   The fence was taken out by a flood and needs to be repaired before winter.

Park -

Storage building.  Cumberland delivered and set it up.  Entrance is higher than anticipated.  Marcus will build up a skirt around it.   Sprinklers not working and Marcus asked that we hire a landscape company to do the repair as he does not know how.   Roma will call someone.

Community Center/ Post Office

Michelle paid $200 on June 26, 2019 but was behind since September.  Paid October and November with this check.  She is behind since December 2018 now.  She definitely wants to continue renting.

Trees and shrubs are dead out in front.   What to do with them?   Dandelions on grass are getting bad.  Marcus will talk to Tim to see how to get it done.

Landfill –

Leon Twitchell worked  19 hours in August; Judy Green had  2 hours in August.

Leon is getting ready to call a recycle company to come and take metal.

Leon would like to acquire the East corner section from BLM.  He would like permission to call them.  Board gave him the go ahead.    He has tried to call but not been able to reach them.

SCHOOLS    now have to be fully enclosed and secure.   How to fence off from Community Center?    Has to be capable of total lock down.   Future Funding is based on Security at the  school.   Key will be available to City.  Community Center must always be locked to secure school.

Roads - Marcus is going to hold off getting asphalt since the town got CIB grant of $325K  to redo roads.  Mayor attended meeting on July 11 with Ensign engineering.   He gave report on meeting.

Pot holes getting bad by bridge going up Parker Mt road and along side road by post office.  Tim filled in the ones by post office

ROAD SIGN - Mike Gray wants his lane renamed from Aiken Lane to Gray Lane.  Mayor told him to go to County to register it under 911 system.   Freddy called and said it was approved and on Goggle map and 911 system. Roma has ordered sign;  it came and was installed by Marcus this month.

Mail -

Finances

Made checks to:  So Central Communication, Garkane power,   Roma Henrie clerk salary for August,  Marcus Gleave for town  maintenance in August, Marcus Gleave gas to take lawn mower to Richfield for repair,  Leon Twitchell landfill 19 hrs,  Judy Green landfill 2 hrs, Fullmer Geological for water testing.

Becky Dean  made a motion to approve the expenditures for August.    Seconded by Leon Twitchell.   Motion passed unanimously.

Board signed off on expenditures for August document as provided by clerk.

Public Comments - CIB funding meeting is October 3 in SL,  same day as scheduled board meeting.   Board agreed to move October board meeting to second thurs the 10th.   Roma will post notice.

ADJOURN:     Leon Twitchell made a motion to adjourn.  Becky Dean seconded it.  The motion passed unanimously.   Meeting adjourned at 8:10   PM.

LAST MONTH

Fire Department

Soffit is falling down and is full of birds and nests.

Marcus would like to build a closet across back of conference room to store things that need to be kept from freezing.

Water problems from other months

Meters Readings - problems with meters and/or leaks – see list.  Marcus is working on leaks first.

Max Ricketts meter is running fast.   Roma notifed family in September water bill of possible leak and suggested them come to Utah and check it out.

Wiley/Holt meter is broken,  needs to be replaced.  Seemed to be accurate on Sept 1 reading??

Nichols meter is broken and not turning over.

Black corral's is not working.   Gravel shuts line off, Jumps, and Needs to be moved.

Houston’s meter is in backwards.

Brian Stull #60  meter running backwards.

Leak by Roger Gleave’s house, line needs to be fixed.

Meters by Todd Hall basement are all filled with dirt

2 of the Meters at Bill Sellers are turned off, filled with water and dirt.

Gericke’s new meter is leaking.

Tom King meter by Gericke corrals is leaking.   Marcus was told to turn it off and lock it because it is not in any name and no one pays the bill for it.

New Meter Requests - from previous months

Marcus Gleave shop meters need to be put in.

When he pays, Alan Issacson needs new meter as well.

Todd Hall 2 by basement, need to notify him of start of billing.

FROM PREVIOUS MONTHS

New Water Meter charges - recommendation to raise fee higher than $2000.  Ensign said legislative will not allow a moratorium on water meters.  It is not a way to control growth.  There is a water funding program available right now.  Used in emergency to help communities find water under drought situation.   Cannot be used for water rights but can be used for construction; up to 1 mil.  They recommend an impact fee of $3500 on top of meter charge of $2000.   Roma needs to add to water meter application.   Ensign recommends that more than a typical single family dwelling, the town raise the impact fee proportionally. Roma needs to add it to the form.

Previously, Becky Dean made a motion that town starts charging a $3500 impact fee along with current $2000 fee, effective today’s date.   Kasey King seconded motion.   Motion passed unanimously.

Multi family dwelling on one meter on same property.

Situations currently - Kirk Smith, Jerry Argyle, Todd Hall basement/trailer, Paul Cobb, Kenneth Riddle trailer and log cabin, and Rockin R.

Snyder’s have already extended meter to second house.

Doug Higgins paid for extra meter for second house.  Doug now wonders if he can sell his meter back to town or to someone else that is on Garfield Co line and just use one meter for his house and barn.  Town cannot really pay back for the meter and disconnect the meter.   Can Tim buy it and run it to his stack yard?   He cannot move it over the county line,  he will have to run water line from where meter is currently sitting.  Board will think on the issue until next month.

Must sign an agreement that it will be approved but if they sell property to two different buyers, it will not be transferred to two owners.   Rural water is willing to help draft an agreement.  Rural water also has money to buy more water.  Mayor talked to Curtis Ludvigson.  Mayor will write up plan for multi family dwellings on one meter.

Mayor talked to new Garfield County planner at the Lieutenant Governor’s visit/breakfast.   He will write the ordinance for this multi family dwelling property meters

AGENDA

Antimony Town Board Meeting

Thursday, September 5, 2019

7:00 p.m.  Community Center

Town Board meeting with Welcome, read and approved minutes

Building permit - Richard Wilkey

Roads -  new sidewalks  contract

Elections Cancellation -

Water meter transfer - from Tennis to Jacob Montague

Park  	-    capitol fund money - storage unit - rented for summer,

Community Center/ Post Office - rental space

Landfill -

Fire department -

Water -   problems with meters –

Delinquent water users -

Future Water Decisions – Cost of new meters

Multi family dwellings on one meter

Mail –

Finances – Review and approve expenditures for month-

Public Comments

Adjourn