


Moroni City Special Council Meeting
November 23, 2020
7:00 p.m.

1. MOTION TO START MEETING
MOTION Councilmember Bevan Wulfenstein to begin the Moroni City Special Council meeting.  SECOND Councilmember Troy Prestwich.  All AYE.  MOTION carried.

ROLL CALL
Mayor Paul Bailey, Council members: Craig Draper, Thayne Atkinson, Troy Prestwich, Bevan Wulfenstein.  

2. DISCUSSION OF THE CULINARY WATER PROJECT AGREEMENT WITH SUNRISE ENGINEERING
Robert Worley, Sunrise Engineering Principal/Vice President and Trent Brown, Sunrise Engineering Technician/Project Manager was present to answer questions regarding the project agreement.

Mr. Worley reviewed the project agreement.  The following points were discussed:
· Scope of Engineer’s Services:  preparation of application for funding from the Drinking Water Board, attend meetings, coordinate development of the project with the funding agency.  All has taken place over the past three (3) months.
· Environmental Study:  The study needs to be completed be “any rock is turned”
The project will need to be reviewed un the National Environmental Policy Act. 
Dao Yang, Hydrogeologist supports the project and the site of the well that the Council has chosen. 
· Survey Services:  Some of the surveying will need to be completed before the test well. Will need to identify where property lines are, where right of ways are.  To make sure the infrastructure in being built on city property. Staking all property. 
· Geotechnical Investigation:  City will provide and backhoe/excavator with operator to assist with 4 test pits 12 feet below grade.  Soil samples will be sent to Utah testing for gradation.  There will also be a chemical testing. If any special site-specific hazard studies and mitigation are required, a cost estimate with an associated scope of work will be provided to the city for approval before any further work is performed.
· Water Right Services: Council decided that Councilmember Troy Prestwich will complete the water right services. If needed Sunrise will be willing to do this task if necessary.
· Engineering Design Services: Will perform necessary design and accomplish detail design to show the character and scope of the work to be performed by contractors on the project. Assist with obtaining approvals by government agencies of the final design, prior to obtaining contractor bids.  Assist with obtaining clearance or permits from Government agencies.  Prepare completed contract documents, specifications, and detail drawings for all areas required to construct project.  Furnish a revised Engineer’s opinion of probable cost of project. Prepare preliminary evaluation report to DDW for review and approval before the well can be drilled. Well design plans and specification for construction. Prepare and submit the drinking water source protection plan.
· Construction Engineering Services:  Sunrise will provide assistance during the bidding and contractor selection phase of the project. Sunrise will administer the construction contract to ensure that the completed work complies with the contract documents. 
Engineers shall at all reasonable times be available personally, or have available, staff to make interpretations of the intent of the drawings.  Make sufficient periodic visits to the site.  Review contractor’s applications for progress.  Well design and pump testing observation. Engineering supervision and construction of the project
· Sunrise will advise Moroni City when approximately 30%, 60%, and 75% of the estimated compensation has been expended.

A copy of the complete agreement is attached to these minutes.


3. SCADA SYSTEM 
No Discussion

4. ADJOURN
MOTION Councilmember Jenifer Lamb to adjourn.  SECOND Councilmember Thayne Atkinson.  All AYE.  MOTION carried.  8:50 p.m.






_______________________________
Carol Haskins, Recorder/Clerk



