MINUTES OF THE EMERGENCY
CENTRAL VALLEY TOWN COUNCIL MEETING
July 12, 2021

A meeting was called for the Central Valley Town Council.  Meeting was held Monday, July 12, 2021 at the hour of 7:00 PM at the Central Valley Community Center, 50 W Center Street, Central Valley Utah. Notice given pursuant to:  
Utah Code Annotated Section 52-4-202(5)
	(5)
		[bookmark: 52-4-202(5)(a)](a)
	[bookmark: 52-4-202(5)(a)(i)]The notice requirement of Subsection (1) may be disregarded if:
	(i)
	because of unforeseen circumstances it is necessary for a public body (town council) or specified body to hold an emergency meeting to consider matters of an emergency or urgent nature; and


[bookmark: 52-4-202(5)(a)(ii)]
	(ii)
	[bookmark: 52-4-202(5)(a)(ii)(A)]the public body or specified body gives the best notice practicable of:
	(A)
	the time and place of the emergency meeting; and


[bookmark: 52-4-202(5)(a)(ii)(B)]
	(B)
	the topics to be considered at the emergency meeting.








[bookmark: 52-4-202(5)(b)]
	(b)
	[bookmark: 52-4-202(5)(b)(i)]An emergency meeting of a public body may not be held unless:
	(i)
	an attempt has been made to notify all the members of the public body; and


[bookmark: 52-4-202(5)(b)(ii)]
	(ii)
	a majority of the members of the public body approve the meeting.








  The Agenda:
1. Meeting called to order; Pledge of Allegiance; Opening Remarks
Mayor Outzen called the meeting to order. Gary Barney said the prayer.

Opening remarks were given by the Mayor Outzen. She reported that John Chartier at the Utah State Drinking Water stated that Central Valley does not have a drought contingency plan registered with the division. 

Mayor Outzen said “I am of the opinion it is better to be prepared than sorry. So, tonight we are going to draw up a plan of action that we can put into force and effect if it becomes necessary. It is not prudent or very wise to leave this until the last minute.”

Chartier had reported that outside watering is the big issue during a severe drought. If we find we are low in water our first step will be to prohibit outside watering entirely. Our Central Valley Town ordinance gives us the authority to ration usage: Section 4, paragraph f: in case of an emergency concerning water quality or water supply, the Central Valley Town water department may adopt emergency measures, including limitations on water usage, without prior warning or notification. Such actions will be in effect for the shortest possible time to correct the problem. Customers violating such emergency orders may be subject to legal action.
2. Discussion and appointments of Temporary Water Department Supervisor and Parks Department Supervisor
Mayor Outzen appointed Gary Barney as a temporary supervisor over the water system until we can get Charlie back with us. Gary will be responsible to monitor the system as a whole and the monthly and routine testing.

Bill Davis reported that the splash pad is monitored daily. Gary reported that the splash pad needs tested 4x daily and a log must be kept. A log will be given to Davis with expectation it be filled out daily at the required intervals when the splash pad is operating.

Mayor Outzen appointed Kody Winkel over the parks department temporarily while Gary is supervising the water department. Kody and Gary can work together to monitor the splash pad and its maintenance.

Bill Davis’ Water Report, Concerns and Suggestions:
Bill Davis; Maintenance Supervisor, reported that the downtown well is not functional at this time. He believes it is a computer problem not a mechanical one. 
Repairs need to be done in the fall to Tunnel Springs.
Water Levels and residuals are good. Residuals are at .3-.4. 

3. [bookmark: _Hlk77085999]Develop Central Valley Town Water Department Plan of Action for 2021 regarding:
a. Water testing – Samples
b. Repairs
c. Splash Pad monitoring
d. Water storage monitoring – Tanks and static well levels

4. Central Valley Town Water Department Plan of Action for 2021
a. Water testing – Samples
i. Routine, monthly and residual testing will be completed by the Maintenance employee, Bill. He will take all samples until further notice.
ii. Peak flow by DEQ standards
b. Repairs
i. Repairs will be done by the Maintenance employee, Bill, and he will obtain help when needed.
c. Splash Pad monitoring
i. The splash pad is required to be tested 4x daily and a log must be kept every day it is in operation. Bill will be in charge of getting those samples and keeping that log. 
d. Water storage monitoring – Tanks and static well levels
i. Monitoring for SCADA will be done by the Maintenance employee, Bill.



5. Develop Central Valley Town Drought Contingency Plan 2021
Central Valley Town Drought Contingency Plan 2021

Reduction or loss of water in the well

	Assessment
	Operator will review well production and system trends in consultation with contract operator, if necessary, to determine if static water level measurements show declines in water levels in wells. If system is unable to measure static level, contact Rural Water Association of Utah for support or contact neighboring systems to determine trends.


	Immediate Actions
	1. Monitor well production and check for system leaks or increased demand on system that could cause well stress.
1. Check water level in well through air line and record measurement and trends.
1. Contact system engineer to determine severity of drought status 
1. Implement water conservation measures based on stage of drought impact to reduce demand 
3. Limit outside use to before 10 AM and after 6 PM 
3. Complete routine leak survey 
3. Reduce flushing of water mains  
1. Anticipate demand and identify alternate sources of water to minimize impact as needed


	Notifications
	1. Notify customers and staff of drought status and appropriate restrictions
2. Notify the Division of Drinking Water
3. Notify the Division of Water Resources

	Follow-up Actions
	1. Identify alternate sources of water and prepare to coordinate delivery as needed  
1. If funding is needed for well rehab or new source development, contact USDA or DDW  
1. System returns to normal by notifying customers and staff when drought ends  
1. Update ERP and Water Conservation Plan as needed  












Drought

	Assessment
	Operator will review well production and system trends in consultation with contract operator, if necessary, to determine if static water level measurements show declines in water levels in wells. If system is unable to measure static level, contact Rural Water Association of Utah for support or contact neighboring systems to determine trends.


	Immediate Actions
	1. Monitor well production and check for system leaks or increased demand on system that could cause well stress.
2. Check water level in well through air line and record measurement and trends.
3. Contact system engineer to determine severity of drought status 
4. Implement water conservation measures based on stage of drought impact to reduce demand 
4. Limit outside use to before 10 AM and after 6 PM 
4. Complete routine leak survey 
4. Reduce flushing of water mains  
1. Anticipate demand and identify alternate sources of water to minimize impact as needed


	Notifications
	1. Notify customers and staff of drought status and appropriate restrictions
2. Notify the Division of Drinking Water
3. Notify the Division of Water Resources

	Follow-up Actions
	1. Identify alternate sources of water and prepare to coordinate delivery as needed  
1. If funding is needed for well rehab or new source development, contact USDA or DDW  
1. System returns to normal by notifying customers and staff when drought ends  
1. Update ERP and Water Conservation Plan as needed  





6.  Adoption of Central Valley Town Drought Contingency Plan 2021
Motion was made by David Nielson to adopt the Central Valley Town Drought Contingency Plan 2021. Gary Barney second the motion. Dave Nielson voted yes, Gary Barney voted yes and Kody Winkel voted yes. Motion Carried. The Central Valley Town Drought Contingency Plan 2021 was adopted.


7. Adjournment
Motion to Adjourn was made by Gary Barney. Kody Winkel second the motion. Dave Nielson voted yes, Gary Barney voted yes and Kody Winkel voted yes. Motion Carried. Meeting Adjourned.
       
Posted this 22nd day of July, 2021. 

Sheyenne Tenney
Central Valley Town Clerk


Next town council meeting:  July 21, 2021.

Minutes prepared by Town Clerk; Sheyenne Tenney 
Minutes approved by town council: Yes or No (circle one)
Date minutes approved by town council:  ____________________________
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