Detached Accessory Dwelling Unit (ADU) Ordinance

- A detached accessory dwelling unit (Detached ADU)—also known as a mother-in-law apartment, accessory apartment, etc. is a structure that has its own eating, sleeping, and sanitation facilities which is located within a detached structure associated with a single-family residential building.

- Detached ADUs are a permitted use in all residential zones, provided the ADU meets all of the following criteria:

1. Is the only Detached ADU on the property.

2. All construction and remodeling shall comply with building codes and ordinance requirements in effect at the time of construction or remodeling—including Utah state code section 10-9a-511.5, changes to dwellings - egress windows;

3. Meet any other requirements of the residential zone;

4. Shall not be sold or detached by deed and may only be rented;

5. Provides areas for eating, sleeping and sanitation facilities separate from the principal dwelling unit;

6. Sufficient off-street parking is provided for all vehicles used by those residing in the primary structure and the ADU.

7. Detached ADUs shall be located in the side or back yard of the single-family residential building.

8. The maximum square footage of a detached ADU must be either 75% of the total square footage of the single-family residential dwelling OR 1500 square feet, whichever is larger.