Salina City
90 West Main
Salina City, 84654

INVITATATION TO BID - COMPETITIVE SEALED PROPOSALS (CSP) 
FOR A PROCUREMENT TO CONSTRUCT A NEW SALINA CITY PARK.

DOCUMENT SUMMARY: 
The City of Salina is seeking Competitive Sealed Proposals (CSP) for a procurement of constructing a new Salina City Park.  The project is funded through a Community Development Block Grant (CDBG). The City will select one (1) Supplier to provide equipment, materials and labor for the project as outlined in this request.

SCOPE OF WORK: 
Salina City is seeking to construct a new City Park, which is located at the South East corner adjacent to the North Sevier Community Center located at 329 W 400 N. Salina City, UT 84654. 
This project will include: A sprinkler system, new grass, Playground Equipment, Concrete pad for pump track, block wall, pavilion, pickle ball courts, Restrooms and park amenities.  

● Sprinkling System: 
32,000 square feet of sprinkling system and new grass to be installed. 

● Playground Equipment: 
To be installed in a 1,000 sq. ft. area. This should include new playground
equipment and safety surface material. The new equipment should not change
square footage after the project is completed. 

● Concrete Pad
70x80 sq. Ft. cement pad 6 inches deep, which should not change in size after the project is completed.  

● Block Wall
225 feet in length, 7-feet in height. Which should not change in size after the project is completed. 

● Pavilion 
40X80 sq. FT. installation and assembly. Which should not change in size after the project is completed. 

● Pickleball Courts:
(2) court 60x60 sq. FT. which will not change in size after the project is completed. Pickleball Courts should include sports flooring, nets and poles.

● Restrooms
New construction of (1) restroom building of 160 square feet.

● Park amenities
(5) five standard picnic tables, (4) four 33-gallon trash receptacles, (1) one bike rack, (10) ten 
6-foot benches. 
 
Additional items that may be out for bid that are not included in this scope of work are
NOT considered part of this CSP, but rather may be noted for information purposes.
Salina City requires suppliers to provide a park system that meets or exceeds
all current federal standards and ADA requirements.

The CSP shall include all costs associated with proposed park improvements and
upgrades.
QUESTIONS CONCERNING THE CSP SHOULD BE DIRECTED TO:
Salina City 
Attn: Riley Tidlund NS Rec. Director 
373 W 400 N,
Salina City, UT 84654
Tel: (435) 979-7778
nsrecreation@salinacity.org
ashlee@salinacity.org

DESIGN ELEMENT GUIDELINES & PLAY SYSTEM SPECIFICATIONS:
Suppliers should base their playground equipment designs on meeting all accessibility
and safety standards as well as the guidelines & specifications listed in this CSP.
Quality of equipment components, quality of design, play value, handicapped
accessibility, inclusiveness, cost, appropriateness to location and target demographic
must be taken into consideration in the design of the play system (Contact the above
listed number or address for further demographic information).

The total dollar amount allocated to complete the full project has a target amount of
$350,000. Please provide proposals that fit within this budget amount. Any proposal
exceeding $10,000 beyond the budgeted amount will automatically be rejected.


In your proposal provide a list of the designed components being proposed for the new Salina City park, as well as a time frame for product delivery once notified of
award. Please include structure and component model numbers, materials, color
choices and recommendations, protective area requirements, target age ranges and
developmental levels, target play type or activity, number of children park systems
support, estimated lifetime of equipment including manufacturers’ warrantee and any
other relevant descriptive information.

Play system design shall safely fit in the playground area as described above. Suppliers
are encouraged to take accessibility into account in their designs. Suppliers may
submit proposals from non-traditional type playground structures, if desired, in whole or
as components of any overall park improvements and upgrades.

Required Items:
1. All park system elements must meet and/or exceed all federal guidelines.
2. Park system must include engineered rubber mulch fall zone material to required
minimum depth over play area with subsurface drainage system (washed sand),
drainage fabric and all concrete footings installed per all federal standards.
3. All equipment must be of a commercial grade and quality. Post diameters must be
appropriate for public use. Minimum post diameter is required to be followed on all post
and platform equipment. No residential grade equipment will be accepted.
4. Play system must include landing pads or wear mats for all equipment as
appropriate.

Preferred Play System Qualities:

1. All play system elements must demonstrate the highest level of durability in materials
and finishes selected in consideration of child health and safety.
2. "Green" construction practices and materials are highly desired.
3. Structures and elements should be unique to the park so as not to duplicate other
equipment in the greater area.
4. Structures should provide a variety of built-in activities.
5. Play systems that are designed to accommodate and encourage “inclusive play” for
children of all abilities may receive higher scores than those that do not.
6. Play systems should have elements that are designed to encourage open-ended,
imaginative, and social play.
ASSEMBLY/INSTALLATION, INSPECTION AND WARRANTEE:
Assembly/Installation: The play system assembly and installation will be provided and
managed by the Supplier. The Supplier must provide direct supervision from
manufacturer or provide qualified and certified representative familiar with playground
installation. All tools and equipment required to install play equipment shall be provided
by the Supplier for this project. The Supplier will be given 365 calendar days to
complete the proposed work including product manufacture, delivery and installation.
Calendar days will begin as outlined in the awarding of the bid/contract. The Supplier
will certify installation is in accordance with all manufacturers’ requirements including,
but not limited to warrantee and fall zone requirements.

Inspection: A certified representative of the Supplier is required to conduct a post
installation inspection of all park improvements and upgrades upon completion to insure
proper installation. If not properly installed, modifications must be submitted in writing to
the City and remedied immediately. Co-inspection with the Supplier's representative of
assembly and installation work will be conducted by the City following installation. The
City will supply the punch list for final completion generated by this co-inspection. The
Supplier shall submit to the City the manufacturer's certification of compliance and
warrantee following punch list completion.

Warrantee: Upon completion of installation, the Supplier must provide documentation
attesting the equipment has been installed meeting all specifications required to be
warranted by manufacturer. Additionally, it is the Supplier's responsibility to provide to
the City the manufacturer's warrantee of installed equipment.

COMPLIANCE:
All equipment must meet and/or exceed all federal guidelines. Documentation of
compliance must be provided to the City with the Supplier's proposal.
All equipment must comply with Americans with Disabilities Act (ADA). The designs
submitted by the Supplier must incorporate either a transfer platform or ramp in each
design when necessary.
The selected Supplier will be required to comply with the requirements of the CDBG
funding source. These requirements will be made part of the installation contract that
will be entered into following Supplier selection. The CDBG requirements include
compliance with 4010 Federal Labor Standards, the CDBG Supplemental Conditions
and Davis-Bacon Building Wage Rates, all of which are attached below for reference as
Attachments B.

The Supplier will ensure that hiring is made on the basis of merit and qualifications and
that there will be no discrimination in employment on the basis race, ancestry, color,
physical or mental disability, religion, national origin, sex, age, marital or familial status,
creed, ex-offender status, physical condition, political belief, public assistance status or
sexual orientation, gender identity or expression, except where these criteria are
reasonable bona fide occupational qualifications.
The Supplier and any persons doing work on this project will be required to obtain
business registration with Salina City.
All laborers and mechanics employed by Supplier in performance of this
construction work shall be paid wages at rates as may be required by law.
The Supplier shall utilize the Utah Davis-Bacon Wage Rates for Heavy Construction
effective to the most recent date posted prior to bidding.
The Supplier must provide an original Certificate of Product Liability Insurance.

DISCLAIMER:
Salina City shall be exempt from any liability for costs incurred by
unsuccessful suppliers in the preparation of a CSP.

PROPOSAL SUBMITTAL DATE & TIME:
All CSP must be submitted to Ashlee Larsen at Salina City Office by
2:00 pm MST on 12/06/2022
The Salina City Office is located at 90 West main St. Salina City, UT
84654.
All submitted CSP must be addressed as follows:
Proposal for Salina City Park Project
Attn: Salina City Mayor Jed Maxwell
PO Box 69 Salina City, UT 84654

PROPOSAL FORMAT:
Proposals shall be submitted in the following format:
● Project Name
● Supplier Name
● Statement that CSP meets CDBG Guidelines
● The project's proposed description, photos, plans, etc.
● Designs showing all safety precautions necessary for this park project
● Warrantee and insurance capabilities
● Statement of understanding of Davis-Bacon and non-discrimination requirement
● Project Cost Proposal & Timeline
● Any additional information relating to scoring criteria as listed below
● References
Proposals must include complete drawings for each design, specifications and pictures
for each component in designs and colors available. Proposals must include a bid price
for each design presented. Bids must list the cost of the equipment, fall zone material,
drainage material and labor separately. The City reserves the right to reject any and all
proposals with or without cause, and to accept proposals which it considers most
favorable. Proposals should include a minimum of two references of installations similar
to that proposed for Salina City. References shall include name of project,
location, contact information including phone number and general cost of installation.

All delivery, assembly, installation and supervision costs must be included in the
proposal. Payment for the project will be sent within sixty (60) days after delivery and
assembly/installation and invoicing of the park upgrades and improvements.
All proposal amounts shall be guaranteed for not less than sixty (60) days after the
proposal submittal deadline date.

Each proposal must be accompanied by a Certified Check, Cashier’s Check, or Bid
Bond payable to Salina City in an amount not less than ten percent (10%) of
the total bid amount. The successful Supplier shall furnish approved Performance and
Payment Bonds, each in the amount of one hundred percent (100%) of the bid amount.
Workmen’s Compensation, Comprehensive General Liability, and Transportation
insurance and insurance certificates shall be provided by the successful Supplier.
Successful Suppliers are required to comply with Salina City Business
Licensing requirements. Following execution of proposal receipt, proposals will be
available to the public upon specific request.

No proposal may be withdrawn within a period of sixty (60) days after the bid opening
date.

Prices shall include delivery f.o.b., freight paid by the bidder to the jobsite.
The Supplier must submit two (2) hard copies of the proposal to the address listed
above. All Proposals must comply with the specifications and guidelines provided in this
document.

This solicitation is being offered in accordance with state statutes governing
procurement. Accordingly, Salina City reserves the right to
negotiate an agreement based on fair and reasonable compensation for the scope of
work and services proposed, as well as the right to reject any and all responses
deemed unqualified, unsatisfactory or inappropriate at the sole discretion of Salina City.

CIVIL RIGHTS STATEMENT:
Salina City is an Equal Employment Opportunity Entity. Qualified women,
veterans, minority and handicapped individuals are strongly encouraged to submit
proposals.
EVALUATION AND SELECTION PROCESS:
Proposals will be evaluated by a selection committee based on the following criteria:

Criteria & Points:
1. CSP Proposed Cost & Timeline (20 Points)
2. CSP addresses design guidelines and specifications (20 Points)
3. CSP Statement to meet CDBG guidelines (20 Points)
4. CSP Safety precautions, warrantee and insurance capabilities (20 Points)
5. Overall Quality of CSP and references (20 Points)
Maximum Points: 100

Following the submission of all CSP submittals, a Selection Meeting, made up of the
Mayor will be held at 2:00p.m. on 12/06/2022, in the Salina City Town Hall located at 90 West Main Salina, UT 84654. This meeting will be open to the public. All sealed bids shall be opened by the Mayor or designated representative in the above listed open public meeting, before one or more witnesses, at the time and place indicated in this bid packet. The name of the bidder and the amount of each bid shall be recorded and made available to the public. Bids shall not be accepted after the time for submission of a bid has expired.
The City Council shall award the bid/contract to the lowest qualified bidder or the bidder
who best satisfies the objective criteria described in the invitation for bids which may
include: Experience, performance ratings, inspection of workmanship, suitability, quality,
likely compatibility with existing assets or practices, availability, warrantee, references,
licensure, proximity or other criteria reasonably specified in the invitation to bid.
Tied bids may be resolved using any reasonable criteria and at the sole discretion of the
City Council.
Please refer to Appendix A for further information on the procurement policy of Salina City.
CREDIT FOR FUNDING OF PROJECT:
Credit for funding is given to the Department of Housing and Urban Development
[bookmark: _GoBack]through the Community Development Block Grant (CDBG) funding.
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