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80 W Center St Loa, UT 84747

INVITATATION TO BID - COMPETITIVE SEALED PROPOSALS (CSP) FOR A PROCUREMENT OF UPGRADES AND IMPROVEMENTS
TO THE LOA TOWN MAIN STREET.

DOCUMENT SUMMARY:
The Town of Loa is seeking Competitive Sealed Proposals (CSP) for a procurement of upgrades and improvements to the Loa Town Main Street. The project is funded through a Community Development Block Grant (CDBG). The Town will select one (1) Supplier to provide equipment, materials and labor for the project as outlined in this request.


SCOPE OF WORK:
Loa Town is seeking to make upgrades and improvements to the Loa Town Main Street, which is located at Main Street, Loa, UT 84747.
This project will include: The addition of new sidewalks and lighting for the street and sidewalks.

· Sidewalks:
Installation of sidewalks approximately 9 feet in width on both sides of Loa Town main street, starting from 400 North and extending to 200 South. This includes all necessary corner work located at the corner of each town block. This also includes any curb and gutter not already in place.

· Lighting:
A total of seven (7) lighting poles on the west side of Loa Town main street, starting from 400 North and extending to 200 South, with even and sufficient spacing through the length of the above listed main street length. This lighting should be commercial grade and sufficiently light sidewalks and the road on main street to ensure safety for those using the area.

· Note: Please include the costs for the above items as separate cost line items.

Additional items that may be out for bid that are not included in this scope of work are NOT considered part of this CSP, but rather may be noted for information purposes.

Loa Town requires suppliers to provide a main street system that meets or exceeds all current federal standards and ADA requirements.

The CSP shall include all costs associated with proposed main street improvements and upgrades.

QUESTIONS CONCERNING THE CSP SHOULD BE DIRECTED TO:
Loa Town
Attn: Mayor Cody Grundy
80 W Center Street. Loa, UT 84747
Tel: (435) 836-2160
loatown@scinternet.net

DESIGN ELEMENT GUIDELINES & SYSTEM SPECIFICATIONS:
Suppliers should base their main Street designs on meeting all accessibility and safety standards as well as the guidelines & specifications listed in this CSP. Quality of equipment components, quality of design, handicapped accessibility, inclusiveness, cost, appropriateness to location and target demographic must be taken into consideration in the design of the system (Contact the above listed number or address for further demographic information).

The total dollar amount allocated to complete the full project has a target amount of
$250,000.00 Please provide proposals that fit within this budget amount. Any proposal exceeding $5,000.00 beyond the budgeted amount will automatically be rejected.

In your proposal provide a list of the designed components being proposed for the main street improvements and updates, as well as a time frame for product delivery once notified of award. Please include structure and component model numbers, materials, color choices and recommendations, protective area requirements, estimated lifetime of equipment including manufacturers’ warranty and any other relevant descriptive information.

Main street design shall safely fit in the set area as described above. Suppliers are encouraged to take accessibility into account in their designs. Suppliers may submit proposals from non-traditional type, if desired, in whole or as components of any overall main street improvements and upgrades.

Required Items:

1. All main street system elements must meet and/or exceed all federal guidelines.

2. Main street system must contain minimum depth over all area with a subsurface drainage system, drainage fabric and all concrete footings installed per all federal standards.
3. All equipment must be of a commercial grade and quality. Post diameters must be appropriate for public use. Minimum post diameter is required to be followed on all post and platform equipment. No residential grade equipment will be accepted.




Preferred Main Street System Qualities:

1. All main street system elements must demonstrate the highest level of durability in materials and finishes selected in consideration of health and safety.
2. "Green" construction practices and materials are highly desired.
3. Structures and elements should be unique to the main street so as not to duplicate other equipment in the greater area.
4. Main street systems that are designed to accommodate and encourage “inclusive
travel” for those of all abilities.




ASSEMBLY/INSTALLATION, INSPECTION AND WARRANTY:

Assembly/Installation: The main street system assembly and installation will be provided and managed by the Supplier. The Supplier must provide direct supervision from a qualified and certified representative familiar with main street installation. All tools and equipment required to install equipment shall be provided by the Supplier for this project. The Supplier will be given 365 calendar days to complete the proposed work including product manufacture, delivery and installation. Calendar days will begin as outlined in the awarding of the bid/contract.
The Supplier will certify installation is in accordance with all manufacturers’ requirements including, but not limited to warranty and other installation fall zone requirements.

Inspection: A certified, qualified representative of the Supplier is required to conduct a post installation inspection of all main street improvements and upgrades upon completion to insure proper installation. If not properly installed, modifications must be submitted in writing to the Town and remedied immediately. Co-inspection with the Supplier's representative of assembly and installation work will be conducted by the Town following installation. The Town will supply the punch list for final completion generated by this co-inspection.

The Supplier shall submit to the Town the manufacturer's certification of compliance and warranty following punch list completion.

Warranty: Upon completion of installation, the Supplier must provide documentation attesting the equipment has been installed meeting all specifications required to be warranted by manufacturer. Additionally, it is the Supplier's responsibility to provide to the Town the manufacturer's warranty of installed equipment.

COMPLIANCE:
All equipment must meet and/or exceed all federal guidelines. Documentation of compliance must be provided to the Town with the Supplier's proposal.

All equipment must comply with Americans with Disabilities Act (ADA). The designs submitted by the Supplier must incorporate either a transfer platform or ramp in each design when necessary.

The selected Supplier will be required to comply with the requirements of the CDBG funding source. These requirements will be made part of the installation contract that will be entered into following Supplier selection. The CDBG requirements include compliance with 4010 Federal Labor Standards, the CDBG Supplemental Conditions and Davis-Bacon Building Wage Rates, all of which are attached below for reference as Attachments B.

The Supplier will ensure that hiring is made on the basis of merit and qualifications and that there will be no discrimination in employment on the basis race, ancestry, color, physical or mental disability, religion, national origin, sex, age, marital or familial status, creed, ex-offender status, physical condition, political belief, public assistance status or sexual orientation, gender identity or expression, except where these criteria are reasonable bona fide occupational qualifications.

The Supplier and any persons doing work on this project will be required to obtain business registration with Loa Town.

All laborers and mechanics employed by Supplier in performance of this construction work shall be paid wages at rates as may be required by law.

The Supplier shall utilize the Utah Davis-Bacon Wage Rates for Heavy Construction effective to the most recent date posted prior to bidding.

The Supplier must provide evidence, satisfactory to the Town, of insurance as follows:  
1.    Commercial General Liability - A minimum of Two Million Dollars ($1,500,000) combined single limit per occurrence for bodily injury, personal injury, and property damage, and not less than Three Million Dollars ($3,000,000) in the aggregate.  The general aggregate limit shall apply separately to the specific project, or the general aggregate limit shall be two (2) times the required occurrence limit.  The coverage shall be in the nature of Broad Form Commercial General Liability coverage, and shall specifically describe the included coverage.
2.  If the coverage described above is not in place at the time a Proposal is submitted, the Supplier should describe in detail what types and levels of coverage are in place currently, and clearly indicate the Supplier’s ability and willingness to obtain the above-listed coverage if required by the Town.
3.    The Supplier shall maintain all employee related insurance, in the statutory amounts, such as unemployment compensation, worker's compensation, and employer's liability, for its employees or volunteers involved in performing services pursuant to this Contract.
4.    The Supplier shall submit certificates of insurance as evidence of the above required coverage to the Town prior to the commencement of this Contract. Such certificates shall provide the Town with thirty (30) calendar day's written notice prior to the cancellation or material change of the applicable coverage, as evidenced by return receipt or certified mail, sent to the above address.
5.    The Town shall be listed as additional insured. 

INDEMNITY:
The Supplier , at its own expense, shall protect, indemnify, pay on behalf of, defend, and hold harmless the Town, its elected and appointed officials, employees and volunteers and their agents from all claims, demands, judgments, expenses, and all other damages of every kind and nature made, rendered, or incurred by or on behalf of any person or persons including the parties hereto and their employees, which may arise out of any act or failure to act, work or other activity related in any way to work performed under the contract by the by the Supplier, Supplier’s employees, subcontractors, or other agents during the performance of work under the contract. Loa Town shall be exempt from any liability for costs incurred by unsuccessful suppliers in the preparation of a CSP.

PROPOSAL SUBMITTAL DATE & TIME:
All CSP must be submitted to Michelle Brian at Loa Town Clerk's Office by 2:00 pm MST on December 8, 2022.

The Loa Town Clerk’s Office is located at 80 W Center Street, Loa, UT 84747.

All submitted CSP must be addressed as follows:
Proposal for Loa Town Main Street Project
Attn: Loa Town Mayor Cody Grundy 80 W Center Street
Loa, UT 84747.

PROPOSAL FORMAT:
Proposals shall be submitted in the following format:


· Project Name
· Supplier Name
· Statement that CSP meets CDBG Guidelines
· The project's proposed description, photos, plans, etc.
· Designs showing all safety precautions necessary for this	a n  treet project
· Warranty and insurance capabilities
· Statement of understanding of Davis-Bacon and non-discrimination requirement
· Project Cost Proposal & Timeline
· Any additional information relating to scoring criteria as listed below
· References

Proposals must include complete drawings for each design, specifications and pictures for each component in designs and colors available. Proposals must include a bid price for each design presented. Bids must list the cost of the equipment, material, drainage material and labor separately. The Town reserves the right to reject any and all proposals, or parts thereof, with or without cause; to negotiate and agree to contract terms with the successful Supplier; to disregard nonconforming, non-responsive, or conditional proposals, and to re-advertise this CRP; and/or to accept proposals which it considers most favorable.
Proposals should include a minimum of two references of installations similar to that proposed for Loa Town. References shall include name of project, location, contact information including phone number and general cost of installation.

All delivery, assembly, installation and supervision costs must be included in the proposal. Payment for the project will be sent within sixty (60) days after delivery and assembly/installation and invoicing of the main street upgrades and improvements.

All proposal amounts shall be guaranteed for not less than sixty (60) days after the proposal submittal deadline date.

Each proposal must be accompanied by a Certified Check, Cashier’s Check, or Bid Bond payable to Loa To n in an amount not less than ten percent (10%) of the total bid amount. The successful Supplier shall furnish approved Performance and Payment Bonds, each in the amount of one hundred percent (100%) of the bid amount.
Workmen’s Compensation, Comprehensive General Liability, and Transportation insurance and insurance certificates shall be provided by the successful Supplier. Successful Suppliers are required to comply with Loa Town Business Licensing requirements. Following execution of proposal receipt, proposals will be available to the public upon specific request.

No proposal may be withdrawn within a period of sixty (60) days after the bid opening date.

Prices shall include delivery f.o.b., freight paid by the bidder to the jobsite.

The Supplier must submit two (2) hard copies of the proposal to the address listed above. All Proposals must comply with the specifications and guidelines provided in this document.

This solicitation is being offered in accordance with state statutes governing procurement. Accordingly, Loa Town reserves the right to
negotiate an agreement based on fair and reasonable compensation for the scope of work and services proposed, as well as the right to reject any and all responses deemed unqualified, unsatisfactory or inappropriate at the sole discretion of Loa Town.

CIVIL RIGHTS STATEMENT: Qualified women, veterans, minority and handicapped individuals are strongly encouraged to submit proposals.

EVALUATION AND SELECTION PROCESS:
Proposals will be evaluated by a selection committee based on the following criteria:


Criteria & Points:
1. CSP Proposed Cost & Timeline (20 Points)
2. CSP addresses design guidelines and specifications (20 Points)
3. CSP Statement to meet CDBG guidelines (20 Points)
4. CSP Safety precautions, warranty and insurance capabilities (20 Points)
5. Overall Quality of CSP and references (20 Points)

Maximum Points: 100


Following the submission of all CSP submittals, a Selection Meeting, made up of the Town Council and the Mayor will be held at 6:30p.m. on December 8, 2022, in the Loa Town Hall located at 80 W Center Street, Loa, UT 84747. This meeting will be open to the public. All sealed bids shall be opened by the Mayor or designated representative in the above listed open public meeting, before one or more witnesses, at the time and place indicated in this bid packet. The name of the bidder and the amount of each bid shall be recorded and made available to the public. Bids shall not be accepted after the time for submission of a bid has expired.

The Town Council shall award the bid/contract to the lowest qualified bidder or the bidder who best satisfies the objective criteria described in the invitation for bids which may include: Experience, performance ratings, inspection of workmanship, suitability, quality, likely compatibility with existing assets or practices, availability, warranty, references, licensure, proximity or other criteria reasonably specified in the invitation to bid.

Tied bids may be resolved using any reasonable criteria and at the sole discretion of the Town Council.

Please refer to Utah State Code Title 63G Chapter 6a for further information on the procurement policy that Loa Town utilizes.

  

  PROTECTED INFORMATION/GRAMA:
All Proposals are subject to the Government Records Access and Management Act (GRAMA) Utah Code Ann., Subsection § 63G-2-101 et seq.
If Contractor believes any information should be held confidential for business reasons, Contractor must submit a written claim of business confidentiality for that particular information and include a specific statement of the reasons supporting the claim pursuant to Utah Code Ann. § 63G-2-305(2)(c).

