MINUTES OF THE WORK MEETING OF THE REDMOND TOWN COUNCIL

HELD June 21, 2023

Council Members attending included:  Mayor Kelly Johnson, Lyman Anderson, Char Smith, Burke Williams, and Kami Christensen.  Nancy Hampton took the minutes.

Others attending the meeting included:  Tyson Jewkes

Mayor Johnson called the meeting to order at 6:45 p.m.

Kami offered a prayer in opening remarks.

Mayor Johnson then turned the time over to Tyson to present the sewer master plan.  His firm surveyed everything in the system including manholes, lines. etc.  They looked at the projected growth rate of the town and planned for a .9% increase.

2023 – Population 762		2063 – Population 1049

This projection shows that in 2040 we will meet capacity in our 6 inch pipe and in 2050 we will meet capacity of our pumps.  According to this projection our system will be fine until approximately 2040.

There are two issues that may come up sooner:  a flow meter on the Lagoons and a screening system.

Mr. Jewkes explained that one lagoon should remain empty at all times as a backup.  Our total capacity is 13.7 million gallons.  We are required to hold 6 million gallons (average 120 day flow).  We have 5.7 million gallons more capacity than we are using.

Lyman is concerned about the smell of a garbage screen placed close to homes.  Mr. Jewkes said he thinks the smell is mostly contained in the building.  They need to get prices of screening systems for us.

Mr. Jewkes and the Council also discussed the rule to make sure homeowners fill out a survey about their service lines.  We may have to pothole some of the older homes to check the water lines.

Burke reminded Mr. Jewkes to show that we will purchase the SCADA system as part of our share of the total cost of the project.

Burke made the motion to adjourn the meeting at 7:45. Lyman seconded the motion with all voting in favor.